## R1
This document contains supplementary material for the article, “End-user feedback on a low-cost portable air quality sensor system – are we there yet?”, by Robinson, J. A., Kocman, D., Horvat, M., & Bartonova, A., published in Sensors
LEGEND: R1= Round 1, R2=round 2, strikethrough=not included in R2
Table S1: CODING ROUND 1
Main codes | f categories | Round 1 (R1) | R2
Expectations | R1:7 | 1Expectations: insights of air pollution | 1
| R2:4 | 72Expectations: other people: Asked about the device, thought it might be a GPS tracking or daily steps device etc. | 2
|  | 95Hardware: - expected to detect a difference in driving 1 km on a motorway, but it did not | 3
|  | 96General user experience: disappointed that the user could see or smell pollution but the device could not detect it | 3
|  | 142LEO: expectations: - shows same reading regardless of changing into expected higher concentration area | 3
|  | 169 Expectations: LEO: expected it to be more user friendly | 4
|  | 243LEO: Expectations: General user experience:- disappointed to see only one number. | 3
Motivation | R1:22 | 2motivation: test emerging technologies | 5
| R2:14 | 24motivation: +interesting to see spatial differences | 6
|  | 25Hardware: motivation: -long stabilization time of the sensor measurements lowered the trust in the measurements | 7
|  | 38Motivation:+ “I would be very pleased if my comments could help on improve the project and in the end help to deploy such devices and solutions in the wider public” | 8
|  | 39Motivation: important to give feedback on usefulness of such devices | 8
|  | 40motivation: technology geek interested in new gadgets | 6
|  | 73Motivation: “The fact is that I like to collect data while I do something every day” | 9
|  | 93LEO: motivation: Quitting: length of use:-no motivation to use it even 1 week, since mostly stayed indoors and the numbers did not change enough | 10, 11
|  | 94Motivation: to experiment and see under which conditions the numbers would change | 7
|  | 119care that one’s children have safe living environment | 12
|  | 136 Motivation: Quitting: Length of use: -Used only 4 days, then had enough fort it not functioning. | 13
|  | 171Motivation: I wanted to test how it works and to see what kind of results does it provide | 6, 7
|  | 172 Motivation: Barriers for further action: Time: -Didn’t see an added value to go check the results online. No time -> needs instant feedback | 14
|  | 208Motivation: Quitting - “I stopped using it after it took me 20 minutes to set it up. It is too much.” | 13
|  | 223 Barriers for further action: time: Motivation: “If I were in high school and had a lot of time I would try it out more… in real life you try couple of times.” | 15
|  | 257Motivation: “I would like to know the individual exposure from health perspective” | 13
|  | 294Possibility (not) motivation: -Personally I would not want this device | 16
|  | 298 Barriers for further action: Motivation (not): No added value: the common sense tells you not to go out during the rush hour, or those times when it is really bad and you can smell and see it. | 17
|  | 301Motivation: Quitting: - gave up after several attempts to fix a problem failed. | 13
|  | 314 General user experience: LEO: motivation: - really disappointed. Wanted to know what kind of air quality near home has | 4, 7
|  | 320Motivation: “to explore the place where I live” | 7
|  | 324Motivation: Barriers for further action: -“I do not see the point why would I be carrying this and measuring continuously. It is a bit burdensome.” | 18
|  | 326Motivation: Interested to participate again | 8
Hardware | R1:24 | 3Hardware: -“bulky” | 19
| REC: 17 | 25Hardware: -long stabilization time of the sensor measurements lowered the trust in the measurements | 20
| R2: 16 | 44Hardware: Positive about the general idea: very interesting and nice | 21
|  | 52Hardware: General user experience: - frustrating that it takes a long time to stabilize | 20
|  | 53 Barriers for further action: Hardware: - modern people do not stay long enough in one location for the device to stabilize to that environment. | 20
|  | 54 Barriers for further action Hardware: - In practice the data is not useful. It is never representative when changing environments. I have to stay in one location very long. | 20
|  | 70Hardware: - long stabilization is an issue | 20
|  | 80App: - stabilizing issue “Meaning that the data is not usable if it is not recorded for more than half an hour.” | 20
|  | 81.5Hardware: The arm band is a good solution | 22
|  | 95Hardware: - expected to detect a difference in driving 1 km on a motorway, but it did not | 23
|  | 120 Data loss: Hardware/App: -not sure if the device is collecting data or not | 24
|  | 126Hardware: no need to measure other air pollutants: “For me it would be enough if this current one would work properly.” | 25
|  | 132Harware: - did not want to carry as armband but in a backpack. | 26
|  | 140Hardware: -clumsy to carry around, even if it is quite small. | 27
|  | 156Hardware: -difficult to find an optimal carrying place for the device | 26
|  | 167Harware: - big, need to remember to take it with you, difficult to carry. Wanted to attach it in a trolley. | 19, 26, 28
|  | 192Harware: very neat | 29
|  | 194Hardware: - not that portable | 30
|  | 196Harware: - Not convenient | 31
|  | 213 LEO: hardware: - since it uses Bluetooth one needs to remember to carry it close all the time | 28
|  | 224Harware: Battery:- runs out of battery too fast | 32
|  | 236Harware: -It its current form it is prone to fall all the time | 27
|  | 271 Hardware: I had to use the reset button quite often | 33
|  | 273Hardware: The clip attachment was not that easy to attach | 26
|  | 274Harware: bothered by the blinking led lights, especially in the evening when it is dark. | 34
Recommendation | R1:84 | 4REC: Hardware: make smaller | 35
| R2: 45 | 8REC: The app not ready for general public | 36
|  | 9REC: Optimal participation time: 1 month | 37
|  | 10 REC: App“phone app needs to be much more stable and reliable” | 38
|  | 14 Barriers for further action: REC: ”The device and mostly the phone app need to be very much improved, even if wider user trial would like to be carried out” | 36, 46
|  | 15REC:Privacy: “the data collected should somehow be anonymized” | 39
|  | 16REC:Privacy: “home location should be obfuscated in some way” | 39
|  | 22REC: suggestion to measure PM10 | 40
|  | 26REC: Web visualization: colours and icons on a map desired Dunavnet was created after the interview | 41
|  | 31REC: App: should be made much more stable and reliable | 38
|  | 32REC: App: more stable, more intuitive and simpler interface | 38, 42
|  | 32.1REC: App: add online cloud platform in the same sense as running apps do it ->Dunavnet was created after the interview | 41
|  | 42REC: App: make it much more stable and reliable, more user friendly, make available for other platforms (iOS) | 38, 43, 44
|  | 43REC: hardware: less bulky | 35
|  | 57REC: to measure PM10 | 40
|  | 58REC: to measure CO | 40
|  | 59REC: “You could have an application which would trigger and alarm when the CO is too high as it is dangerous in short term exposure” | 45
|  | 61REC: to have iOS application | 44
|  | 69 Barriers for further action: data loss: REC: App: Needs to be improved before wider testing amongst non technical users. Not ready for the public. (constants data loses, can be difficult to operate by non-tech users) | 36, 46, 47
|  | 71REC: App: more stable application needed | 38
|  | 74REC: Web visualization: air pollution map with indicative colours based on many people using the device (Dunavnet was created after the interview) | 41
|  | 76REC: Web visualization: link the collected data with weather data, temperature, population data, air pollution data as well as time of the day and date | 48
|  | 78 Barriers for further action: Data quality: REC:” But you have to have them deployed in a wider scale in order to have some sort of representative data” | 49
|  | 81REC: Hardware: downsize it, wear like a wrist watch, possibility to attach in a backpack, develop different mechanisms for attaching it | 35, 50, 51
|  | 82REC: Optimal participation time: in one month you could capture a daily behaviour of a user | 37
|  | 83REC: product price: Barriers for further action: less than 100€. 200€ might be too expensive | 52
|  | 84REC: App: add a tagging option to add locations. Could include most frequent tones e.g. home, work, exercise, and “other” | 53
|  | 85REC: App: App visualization: to be able to see historic data on air pollution and location combined. | 54
|  | 86REC: Web visualization: GPS: to see activity record and GPS data and add your own notes e.g. about your activities | 53, 54
|  | 87REC: Web visualization: GPS: map and graphs. User tracker with indicative colours of air pollution | 41
|  | 90REC: App: combine CityAir and Expo App | 55
|  | 91REC: App: App visualization: visualize the air pollution in the app and add a tagging option | 53, 56
|  | 100 REC: Data connection: send data to the server couple of times a day. If real time data is wanted, then it could be manually send immediately on request. | 57
|  | 102REC: not have Bluetooth and GPS running all the time | 58
|  | 103REC: the hardware could have the GPS instead | 59
|  | 105REC: access to historic data | 54
|  | 112REC: LEO: should be smaller, sure to work, able to detect differences in concentrations, simple as possible (on-off), ready to go, minimize Bluetooth and GPS issues | 35, 42, 60, 61, 62
|  | 121REC: Add more clear indication whether device collect data or not | 63
|  | 124REC: Hardware: smaller e.g. 1/3 of current size | 35
|  | 125REC: LEO: to measure air temperature and pressure and display it | 40
|  | 127REC: have it as a smartwatch | 51
|  | 129REC: maximise battery life | 64
|  | 139REC: App: simplify, as little clicking as possible: only have one big start/stop button | 42
|  | 143REC: more useful to see individual pollutant concentrations than just air pollution indication based on aggregated values of 3 pollutants | 65
|  | 144REC: to measure PM | 40
|  | 149REC: provide a silicone handle bar mounting accessory | 50
|  | 150REC: Turn on GPS, Bluetooth, 3G automatically when turning on the app, agree during first use | 66
|  | 165REC: it would be good to have monitoring in a long time period | 49
|  | 170REC: integrate it on the phone or similar to a smartwatch “or whatever similar device that the user is already carrying anyway.” | 51
|  | 182REC: add on city bikes | 67
|  | 186REC: needs to be much more user friendly | 43
|  | 188REC: Data transfer should be done seamless | 38
|  | 189REC: App. Visualize in the app | 56
|  | 190REC:Battery: reminder to charge the device | 68
|  | 197REC: app: must work | 60
|  | 200REC:App: remove bugs | 69
|  | 201 Data loss: REC: There should be an option to have same userID. I was afraid I will lose the data. | 47, 70
|  | 202 REC: Hardware battery: needs to last longer than a day | 64
|  | 204REC: to have hardware control in the device more than just a reset button | 71
|  | 207REC: improve Bluetooth connection | 62
|  | 212REC: visualization: show different pollutants. More granularity between the indication numbers e.g. from 1-100 | 72, 73
|  | 214REC: data connection type could be wifi | 74
|  | 215REC: use low energy Bluetooth | 64
|  | 216REC: add a stand-by mode when the device is not moving anywhere | 58
|  | 217REC: Perhaps also to have the data frequency set on lower sampling rate when the person is not moving | 75
|  | 225REC: App: should not be running on the background when not in use. | 58
|  | 226REC:” This should be really tested for user experience before its release”” There should be automatic data on why did the user quit” | 46, 76
|  | 230REC:”It could work similar to a fire detector and start peeping in case of danger” | 45
|  | 232 REC: product price: 150 | 52
|  | 235REC: integrate into a phone | 51
|  | 237REC: Optimal participation time: 1 m” Then the interest will gradually disappear.” | 37
|  | 240 REC: The best way would be to make it part of something else people use. Like a smartphone | 51
|  | 242LEO: REC: wants to have graphs and numbers of different pollutants | 72
|  | 253REC: Web visualization: “it would be good to have for each individual parameter limit values for public to know which pollutant responses to which AQ APIN” | 77
|  | 263REC: Make the device and app self-explanatory. I.e. no need for written instructions. | 42
|  | 264REC:Instructions: needs to be clear, simple, short and accurate | 78
|  | 265 LEO: -> REC: some instructions are misleading. | 78
|  | 283 Uncategorized: Support: ->REC “I like that you took the time to come to assist me when I had technical issues, as well as thru email.” | 79
|  | 284REC: App: Data loss: whether the data has been sent should be made more obvious | 63
|  | 285REC: as few steps/clicking as possible, automatically connect and send data, confirmation on measuring successfully. | 63, 42
|  | 286LEO: difficult to remember which web page to find the data. -> REC: visualize directly on phone | 56
|  | 292REC: Smaller, unnoticeable, minimum effort form the user, integrate into a phone, similar to radiation exposure devices | 35, 42, 51
|  | 315REC: Web visualization: want to have interval of the APIN values | 73
|  | 319REC: combine LEO and CityAir | 55
App | R1:50 | 5App: -“not working” | 80
| REC:35 | 6App: -“freezing constantly” | 81
| R2: 27 | 7App: -“unstable” | 82
|  | 11General user experience: App: -”instability of the app was the worst part of the user experience” | 82
|  | 12App: -“very unstable” | 82
|  | 13App: -“crash constantly without any obvious cause” | 83
|  | 21App: -“unstable and unreliable” | 82
|  | 32App: -crashing issues | 83
|  | 33App: -crashed constantly without any real cause | 83
|  | 34App: - several steps needed to get the app working again | 84
|  | 36App:+Measuring air pollution is more useful than subjective reporting of perceived air quality | 85
|  | 43 App: -very buggy | 86
|  | 45App: - freezes often | 81
|  | 46App: - needs constant re-starting | 87
|  | 47 Data loss: App: - needed to re-install the application multiple times, which is also when all data was erased leading to data gaps | 88
|  | 48App: Time: Barriers for further action: - freezing while not attending the phone e.g. while sleeping or working intensively. | 81
|  | 49App: - it crashed very often | 83
|  | 50App: changing location between wifi connection areas lead to app crashing | 83
|  | 51General user experience: App: Data loss: -disappointed at loosing data due to reinstalling the app | 88
|  | 55App: -not usable | 89
|  | 62App: “this is an ultra alfa phase, not even a prototype yet” | 90
|  | 63App: - “buggy” | 86
|  | 64App: - crashed repeatedly | 83
|  | 65 Barriers for further action: App: Time: General user experience: -frustrating to record data: can take a lot of effort timewise | 91
|  | 66App: -needed to restart and stop several times | 87
|  | 67App: -Needed to reinstall several times | 88
|  | 68App: - If the app is promised to work on Android 2.0 (for example) and upwards, then it should work regardless of the phone or type of data collected. | 92
|  | 79App: - bugginess | 86
|  | 88App: - crashed: “I had to insert a new user ID every time the app crashed, as it notified me that the user ID already exists” | 83, 93
|  | 98App: + easy to use | 94
|  | 99App: - Need to use force stop function after crashing | 83, 95
|  | 120 Data loss: Hardware/App: -not sure if the device is collecting data or not | 96
|  | 133App: - user interface quite complicated | 97
|  | 193App: -“the app leaves a bad taste in one’s mouth. It’s a shame no more time and effort was invested” | 98
|  | 195App: -software is bad | 99
|  | 198 App:-”I had to reset it all times” | 89
|  | 199App: - the software needs to work | 82
|  | 205App: Data connection: - Bluetooth connection issue | 100
|  | 206App: - had to reinstall | 90
|  | 227App: - “It looks like this software was done to meet the minimum” | 101
|  | 228App: - is not self-explanatory enough | 102
|  | 244App: - stopped working almost immediately” Even we, who have a PhD have issues with it. The app is clunky.” | 82, 103
|  | 245 App: - simply stopped working | 82
|  | 246App: - expect to work on phones with Android 2.5 or higher, but it doesn’t | 94
|  | 247App: - responds very slowly on pressing buttons. “3 second response time for pressing a button is too much.” | 104
|  | 248LEO: App: -non useful | 91
|  | 249App: -Could not participate, because have a Windows phone | 105
|  | 266 App: - “It was also not clear to me when I have to insert a new user ID. Does every new start require a new ID?” | 95
|  | 275App: - it is not self-explanatory that one needs to refresh the interface to check the data transmission | 106
|  | 281LEO: App: “Those times, when I actually got the data running I actually did not experience any problems.” | 82
Length of use | R1:4 | 8.5Length of use: little less than 14 days | 107
| R2:4 | 93LEO: motivation: Quitting: length of use:-no motivation to use it even 1 week, since mostly stayed indoors and the numbers did not change enough | 108
|  | 136 Motivation: Quitting: Length of use: -Used only 4 days, then had enough fort it not functioning. | 109
|  | 209LEO: length of use: Data loss: tried it couple of times.. 4 days, 3 days, 3 days, with 2 days no data | 109, 110
Optimal participation time | R1:4 | 9REC: Optimal participation time: 1 month | 111
| REC: 3 | 82REC: Optimal participation time: in one month you could capture a daily behaviour of a user | 111
| R2: 1 | 237Optimal participation time: 1 m” Then the interest will gradually disappear.” | 111
General user experience | R1:13 | 11General user experience: App: -”instability of the app was the worst part of the user experience” | 112
| R2: 9 | 35General user experience: -“It was really annoying” | 113
|  | 37General user experience: App: ”The only problem was the unstable device and app” | 112
|  | 44General user experience: “I had lot of problems” | 114
|  | 51General user experience: App: Data loss: -disappointed at loosing data due to reinstalling the app | 115
|  | 52Hardware: General user experience: - frustrating that it takes a long time to stabilize | 116
|  | 65 Barriers for further action: App: Time: General user experience: -frustrating to record data: can take a lot of effort timewise | 117
|  | 96General user experience: disappointed that the user could see or smell pollution but the device could not detect it | 117
|  | 261 General user experience: As new smartphone user I got to learn what are Bluetooth, 3G and Wifi. I was happy to learn many new things. Not just about the device | 118
|  | 262LEO: General user experience: - it was complicated to use, it was tiredsome | 119
|  | 268 General user experience: Time: Frustrating to loose time on trying to figure out why something does not work, or trying to fix it. | 116
|  | 272 General user experience: “In generally, I am very inpatient. I do not have the patient to wait for 1 minute… And then I made too fast conclusion that the device was not collecting any data. I understand that in this case the fault was not in the sensor but on me.” | 116
|  | 314 General user experience: LEO: motivation: - really disappointed. Wanted to know what kind of air quality near home has | 120
Barriers for further action | R1:43 | 14 Barriers for further action: REC: ”The device and mostly the phone app need to be very much improved, even if wider user trial would like to be carried out” | 121
| REC:3 | 23Barriers for further action: Time: time | 122
| R2: 15 | 28Barriers for further action: -“Currently I wouldn’t recommend it to anyone as it is too unreliable and buggious” | 121
|  | 29Barriers for further action: Time: -“it takes a lot of time for someone to include it in his/her daily routines” | 122
|  | 30Barriers for further action: -not ready for general public in its current form | 121
|  | 48App: Time: Barriers for further action: - freezing while not attending the phone e.g. while sleeping or working intensively. | 123
|  | 53 Barriers for further action: Hardware: - modern people do not stay long enough in one location for the device to stabilize to that environment. | 124
|  | 54 Barriers for further action Hardware: - In practice the data is not useful. It is never representative when changing environments. I have to stay in one location very long. | 124
|  | 56Hardware: Barriers for further action: - “I wouldn’t mind if the device was bulky as it is as long as the app would work properly” | 125
|  | 60 Barriers for further action: “At the end, if the device would work OK, it would be very nice to carry it around.” | 125
|  | 65 Barriers for further action: App: Time: General user experience: -frustrating to record data: can take a lot of effort timewise | 122
|  | 69 Barriers for further action: data loss: REC: App: Needs to be improved before wider testing amongst non technical users. Not ready for the public. (constants data loses, can be difficult to operate by non-tech users) | 121
|  | 78 Barriers for further action: Data quality: REC:” But you have to have them deployed in a wider scale in order to have some sort of representative data” | 126
|  | 83REC: product price: Barriers for further action: less than 100€. 200€ might be too expensive | 127
|  | 92 Barriers for further action: Time: no time to deal with the crashing app when the whole family is waiting in their winter clothes ready to go to school/work | 122
|  | 109 Barriers for further action: LEO: - no applicability in everyday use | 128
|  | 111LEO: Barriers for further action: Clear that this is not a final product | 121
|  | 131LEO: Barriers for further action: -difficult and unpractical to use | 129
|  | 135 Possibilities: Barriers for further action: one can do a lot if it actually would measure nicely | 125
|  | 146 Barriers for further action: Need to become more user friendly in order to affect ones quality of life | 121
|  | 160 Uncategorized: -> Barriers for further action: The municipality talks a lot, but not much happens, they want good results and do not want to hear about bad ones. | 130
|  | 163 Barriers for further action: not certain that a pedestrian or a cyclist would choose a “greener” route, as the habit is already established | 131
|  | 168 Barriers for further action: “It is not practical at the moment in its current form” | 121, 129
|  | 172 Motivation: Barriers for further action: Time: -Didn’t see an added value to go check the results online. No time -> needs instant feedback | 122, 128
|  | 180Barriers for further action: “I would not personally buy such device to measure air quality. I do not see the added value for myself” | 128
|  | 184 Uncategorized: Before starting a public discussion, people need to have their personal interest. | 132
|  | 219 Barriers for further action: “It could be useful if it measured more stuff.” | 121
|  | 221 LEO: Barriers for further action: It’s obvious it is a work in progress” | 121
|  | 222 Barriers for further action: data connection: In order for the device to be usable for the general public, the Bluetooth issue and constant app crashing needs to be solved, as they prevent the easy everyday use of the tool. | 121
|  | 223 Barriers for further action: time: Motivation: “If I were in high school and had a lot of time I would try it out more… in real life you try couple of times.” | 122
|  | 239 Barriers for further action: “I do not see people buying these.” | 128
|  | 252 REC: Barriers for further action: ”In such big EU projects these matters should be taken more seriously and products built with the best knowledge available, e.g. if you want to create a software, you need to hire a professional in order for the software to be user friendly” | 133
|  | 259LEO: Barriers for further action: “Any device I get into my hands, I take sceptically” | 134
|  | 265.5 Barriers for further action: time: no time to read user manual | 122
|  | 269 Barriers for further action: as one is always hurry to go | 122
|  | 277 Barriers for further action: Time: Not time to use the device all the time | 122
|  | 279 Barriers for further action: Time: “I can not invest too much time on this” | 122
|  | 287 Barriers for further action: Time: In these days everyone is in a hurry and all this takes extra time | 122
|  | 294 Barriers for further action: motivation: -Personally I would not want this device | 128
|  | 295Possibilities: Barriers for further action: could be good tool to combine environmental and health data, but the current one needs to be improved regarding data traceability and accuracy | 121
|  | 298 Barriers for further action: Motivation (not): No added value: the common sense tells you not to go out during the rush hour, or those times when it is really bad and you can smell and see it. | 128
|  | 323 Uncategorised: -> Barriers for further action: In order to see big changes in air pollution map, big interventions are needed | 135
|  | 324Motivation: Barriers for further action: -“I do not see the point why would I be carrying this and measuring continuously. It is a bit burdensome.” | 128
Privacy | R1:7 | 15REC:Privacy: “the data collected should somehow be anonymized” | 135
| REC: 2 | 16REC:Privacy: “home location should be obfuscated in some way” | 135
| R2: 2 | 104Privacy: not concerned | 136
|  | 147Privacy: not an issue: one agrees to participate and being followed | 136
148Privacy: not an issue: no-one knows it is you
185Privacy: not an issue
322Privacy: - issue: I do not want to be followed
Behaviour | R1:3 | 17Behaviour: made to think how air pollution differs spatially | 138
Possibilities (if improved) |  | 18Behaviour: Possibilities: Reliable measurements would affect preferred routes
19Behaviour: Possibilities: spatial awareness of air pollution would affect people’s commuting choices
Possibilities (if improved) | R1:37 | 18Behaviour: Possibilities: Reliable measurements would affect preferred routes | 139
| R2: 21 | 19Behaviour: Possibilities: spatial awareness of air pollution would affect people’s commuting choices | 138, 139
|  | 41Possibilities: Technology can help to improve your life. Outsiders were fascinated what the device can measure | 140, 141
|  | 72Expectations: external people: possibilities: Asked about the device, thought it might be a GPS tracking or daily steps device etc. | 141
|  | 75LEO: Positive about the general idea: Possibilities:+ crowd sensing is a good way to measure air quality in more detail compared to AQMS, as one can also cover indoor conditions e.g. home and car | 142, 144
|  | 77Possibilities:LEO: Positive about the general idea: +the whole idea is very beneficial | 143
|  | 108 External people: Possibilities: suggested to go measure something specific | 141
|  | 110Possibilities: +Good for projects | 144
|  | 113Possibilities: choose to spend more time in less polluted environments | 139
|  | 114Possibilities: to use the device to monitor industrial pollution | 145
|  | 115Possibilities: could discuss the results with a polluting factory. | 146
|  | 116Possibilities: for experiments, but not for everyday use | 147
|  | 117 Possibilities: to estimate property values | 148
|  | 118Possibilities: for those with sick children e.g. asthma | 149
|  | 128REC: integrate on a bike with GPS and solar panels | 150
|  | 135 Possibilities: Barriers for further action: one can do a lot if it actually would measure nicely | 143
|  | 158Possibilities: The city environmental department could use the device to monitor the air in neighbourhoods. And NGOs and schools and kindergartens | 151
|  | 159Possibilities: install the device on busses and provide real-time data | 152
|  | 164 Possibilities: During winter months, when air pollution exeeds the limit values, information coming from these devices would be useful. | 153
|  | 166Possibilities: use the device to find out where the air quality is bad and why in order to improve it, and approach the authorities with this information. | 146, 154
|  | 178Possibilities: LEO: to know where the most polluted areas are. | 154
|  | 179 Possibilities: Authorities could make the data accessible to the public online | 155
|  | 181Possibilities: Could be used for crowdsourcing by cities or research institutes. | 144
|  | 183Possibilities: everyone could benefit from the research devices | 143
|  | 229Possibilities: “I think it could help anyone looking for a house, with children as it tells you about micro location of air” | 148
|  | 231Possibilities: in industry to detect leaks. | 145
|  | 238Possibilities: Companies could rent it | 156
|  | 241 Possibilities: You could insert these devices into Google street view cars and cover the whole world | 157
|  | 255Possibilities (not): -LEO can not be used to sue anyone | 158
|  | 258Possibilities: strategic screening of the whole city | 154
|  | 293Possibility: for sick people to get exposure estimation | 149
|  | 295Possibilities: Barriers for further action: could be good tool to combine environmental and health data, but the current one needs to be improved regarding data traceability and accuracy | 149
|  | 296 Possibilities: for lower quality data: some kind of very rough score combined with the GPS and time stamps one can get an overview what time some locations should be avoided so that individuals could choose to go a bit earlier or later than the peak concentration appears. | 139, 154
|  | 297 Possibilities: “This would be helpful for example to asthmatics. If an individual gets feedback thru this kind of device that she/he happens to go to a highly polluted place at the worse time i.e. at rush our while grocery shopping, she can decide to adjust her/his schedule.” | 139, 149
|  | 299 Possibilities: On the other hand it would be interesting to know that what are the concentrations when one can start to see negative health effects. How much time one needs to spend in a polluted environment that such health effects occur, and if the symptoms are reversible by going to a clean environment. An interesting fact would be to know that how much time one can be in a polluted environment without feeling the effects | 149
|  | 321Possibilities: Web visualization could function as indication on quality of life in different parts of the cities | 140, 148, 155
Time | R1:10 | 23Barriers for further action: Time: time
R2: mostly covered by "Barriers for further action" |  | 29Barriers for further action: Time: -“it takes a lot of time for someone to include it in his/her daily routines”
48App: Time: Barriers for further action: - freezing while not attending the phone e.g. while sleeping or working intensively.
172 Motivation: Barriers for further action: Time: -Didn’t see an added value to go check the results online. No time -> needs instant feedback
223 Barriers for further action: time: Motivation: “If I were in high school and had a lot of time I would try it out more… in real life you try couple of times.”
265.5 Barriers for further action: time: no time to read user manual
268 General user experience: Time: Frustrating to loose time on trying to figure out why something does not work, or trying to fix it.
277 Barriers for further action: Time: Not time to use the device all the time
287 Barriers for further action: Time: In these days everyone is in a hurry and all this takes extra time
Web visualization | R1:13 | 130 Web visualization: +no need for improvements. It was OK and interesting | 159, 160
| REC:5 | 154 Web visualization: -Data visualisation portal did not work all the time | 161
| R2: 9 | 157Web visualization: no need for improvements: “It is easy to use and navigate” | 160, 162
|  | 210Web visualization: The visualization is good | 159
|  | 211Web visualization The visualization is nice | 159
|  | 242LEO: REC: wants to have graphs and numbers of different pollutants | 163
|  | 250 Web visualisation: - did not know to insert user ID, but tried inserting hardware ID to see data. | 164
|  | 251Web visualization: App visualization: - instead of index value wants to see individual pollutants | 163
|  | 256Web visualisation: “5 APIN values is OK” | 165
|  | 276Web visualisation: did not know one can display many user tracks at ones. | 166
|  | 302Web visualisation: Positive about the general idea: interesting | 159
|  | 309Web visualization: + interesting to see results online and to see both subjective and objective air quality displayed in the same map. | 159, 167
|  | 317Web visualisation: Positive about the general idea: interesting to combine subjective and objective data | 167
App visualization | R1:3 | 27App visualization: Graphs are better than nothing | 168
| REC: 2 | 85REC: App: App visualization: to be able to see historic data on air pollution and location combined. | 169
| R2: 4 | 91REC: App: App visualization: visualize the air pollution in the app and add a tagging option | 170, 171
|  | 251Web visualization: App visualization: - instead of index value wants to see individual pollutants | 163
Positive about the general idea | R1:18 | 44Hardware: Positive about the general idea: very interesting and nice | 172
| R2: 8 | 75LEO: Positive about the general idea: Possibilities:+ crowd sensing is a good way to measure air quality in more detail compared to AQMS, as one can also cover indoor conditions e.g. home and car | 173
|  | 77Possibilities:LEO: Positive about the general idea: +the whole idea is very beneficial | 172
|  | 97 Positive about the general idea:”I am glad such projects exist and such research is being made. That is great!” | 174
|  | 141 Positive about the general idea: ”I did not know earlier that one can measure air quality in such small devices. I am interested in this kind of data” | 175, 176
|  | 144.5: Positive about the general idea: Did not feel that the device had helped to achieve something. Yet, he wish it had. | 177
|  | 145 Positive about the general idea: Happy such things are being developed | 174
|  | 161 Uncategorized: -> Positive about the general idea: The citizens need to know about the impact of bad air quality and demand the decision makers to do something | 172
|  | 162 Positive about the general idea”It would be nice to have a follow up study. That this would not be just a one time activity.. to be able to compare how things have changed” | 178
|  | 218 Positive about the general idea: ”It was interesting to see the data” | 176
|  | 220 Positive about the general idea: “Idea behind it is very interesting.” | 172
|  | 260 Positive about the general idea: “I like the idea of LEO, how it enables someone who is interested in these issues” | 172
|  | 300LEO: Positive about the general idea: The idea that all individuals can measure air where they are | 172
|  | 302Web visualisation: Positive about the general idea: interesting | 172
|  | 303LEO: Positive about the general idea: it’s a pity it did not work | 179
|  | 314.5 Positive about the general idea: “I think this is interesting” | 172
|  | 317Web visualisation: Positive about the general idea: interesting to combine subjective and objective data | 172
|  | 318LEO: Positive about the general idea: -Unfortunately the LEO did not work as it should have | 179
|  | 325LEO: Positive about the general idea: “unfortunately it did not work. Perhaps another time it will be better” | 179
Data loss | R1:14 | 47 Data loss: App: - needed to re-install the application multiple times, which is also when all data was erased leading to data gaps | 180
| REC:3 | 51General user experience: App: Data loss: -disappointed at loosing data due to reinstalling the app | 180, 181
| R2:5 | 69 Barriers for further action: data loss: REC: App: Needs to be improved before wider testing amongst non technical users. Not ready for the public. (constants data loses, can be difficult to operate by non-tech users) | 181, 182
|  | 120 Data loss: Hardware/App: -not sure if the device is collecting data or not | 183
|  | 134 Data loss: LEO: expected to have collected data, but nothing was collected. Disappointment | 181, 183
|  | 138Data Loss: LEO: -not easy to know when the data connection works, when it doesn’t | 183
|  | 187Data connection: Data loss: issues with uploading the data. App needed to be reinstalled. Do not know whether it worked or not. | 180, 183
|  | 201 Data loss: REC: There should be an option to have same userID. I was afraid I will lose the data. | 184
|  | 209LEO: length of use: Data loss: tried it couple of times.. 4 days, 3 days, 3 days, with 2 days no data | 181
|  | 267 Data loss: Data lost due to device not measuring, but the user thinking it was. | 183
|  | 278 LEO: data loss: It is not obvious that the device is tracking also when not connected to internet. | 183
|  | 280Data loss: data gaps | 183
|  | 284REC: App: Data loss: whether the data has been sent should be made more obvious | 183
|  | 313 Data loss: LEO: thought it was measuring, but it didn’t, which lead in “data loss” in participants point of view | 183
External people | R1:2 | 72Expectations: external people: possibilities: Asked about the device, thought it might be a GPS tracking or daily steps device etc. | 135
R2: under "Possibilities" |  | 108 External people: suggested to go measure something specific | 135
LEO | R1:26 | 75LEO: Positive about the general idea: Possibilities:+ crowd sensing is a good way to measure air quality in more detail compared to AQMS, as one can also cover indoor conditions e.g. home and car
R2: covered by other categories | REC:3 | 77Possibilities:LEO: Positive about the general idea: +the whole idea is very beneficial
93LEO: motivation: Quitting: length of use:-no motivation to use it even 1 week, since mostly stayed indoors and the numbers did not change enough
109 Barriers for further action: LEO: - no applicability in everyday use
131LEO: Barriers for further action: -difficult and unpractical to use
138Data Loss: LEO: -not easy to know when the data connection works, when it doesn’t
142LEO: expectations: - shows same reading regardless of changing into expected higher concentration area
209LEO: length of use: Data loss: tried it couple of times.. 4 days, 3 days, 3 days, with 2 days no data
213 LEO: - since it uses Bluetooth one needs to remember to carry it close all the time
221 LEO: Barriers for further action: It’s obvious it is a work in progress”
242LEO: REC: wants to have graphs and numbers of different pollutants
243LEO: Expectations: General user experience:- disappointed to see only one number.
248LEO: App: -non useful
254LEO: Data quality: “if it is not calibrated, it does not make sense to calculate any APIN”
259LEO: Barriers for further action: “Any device I get into my hands, I take sceptically”
262LEO: General user experience: - it was complicated to use, it was tiredsome
265 LEO: -> REC: some instructions are misleading.
278 LEO: data loss: It is not obvious that the device is tracking also when not connected to internet.
281LEO: App: “Those times, when I actually got the data running I actually did not experience any problems.”
286LEO: difficult to remember which web page to find the data. -> REC: visualize directly on phone
300LEO: Positive about the general idea: The idea that all individuals can measure air where they are
303LEO: Positive about the general idea: it’s a pity it did not work
313 Data loss: LEO: thought it was measuring, but it didn’t, which lead in “data loss” in participants point of view
314 General user experience: LEO: motivation: - really disappointed. Wanted to know what kind of air quality near home has
318LEO: Positive about the general idea: -Unfortunately the LEO did not work as it should have
325LEO: Positive about the general idea: “unfortunately it did not work. Perhaps another time it will be better”
Data quality | R1:4 | 78 Barriers for further action: Data quality: REC:” But you have to have them deployed in a wider scale in order to have some sort of representative data” | 185
| REC: 1 | 251.5 Data quality: “We noticed that now with the rice of Internet of things, there are lots of people who do not directly deal with air quality measurements, easily miss thinks that if there are lots of data points quality will be gained. We know it does not work like this. The more there are issues at the measurements, the more they multiply at the data processing.” | 186
| R2: 4 | 254LEO: Data quality: “if it is not calibrated, it does not make sense to calculate any APIN” | 187
|  | 316Data quality: the data is not validated and there is deviation from the official data | 188
Product price | R1:2 | 83REC: product price: Barriers for further action: less than 100€. 200€ might be too expensive | 189, 190
| REC:2 | 232 REC: product price: 150 | 191
R2:3
CityAir | R1:25 | 89CityAir: - not useful: one can not rate air pollution accurately
90REC: App: combine CityAir and Expo App
151CityAir: nicer app design. Missing feedback information about air pollution concentrations to verify ones observations
152CityAir: difficult to choose which colour to use
153 CityAir: “It is also good to share why one thinks the air quality is good or bad”
173CityAir: +easy to use
174CityAir: REC: turn on GPS and 3G automatically” When you are mobile, every click matters. So it should be as automatic as possible”
175CityAir: +user friendly, nice and good design
176CityAir: REC: needs to be clear how to contribute. Reduce steps to contribute.
177CityAir: REC: the app could remind with a pop-up message when to contribute
233CityAir: “It seems simple to use. It does its job”
234CityAir: “I did not feel the need to use it.”
282CityAir: “I actually wanted to report on city air app, that I smelled sooth and I was glad to noticed, it is possible”
288CityAir: +very simple to use
289CityAir: -It is not obvious that the observation is saved and sent to the server.
290CityAir: -Did not know how to exit the application
291CityAir: +really sympathetic
304CityAir: “I think it is interesting that individuals can share their observations which then updates on a map”
305CityAir: Possibilities: “Such might be good for controlling complaints”
306CityAir: REC: “I think it would be good if one could use this for reporting also other than just air pollution i.e. some other smells.”
307CityAir: REC: use the open source to develop a similar app for noise
308CityAir: interesting that it is in multiple languages
310CityAir: not sure about the reliability of the data. People might not be that good detectors.
311CityAir: might also use in the future: “I do not see why not”
312CityAir: could recommend it to others
Quitting (reasons) | R1:6 | 93LEO: motivation: Quitting: length of use:-no motivation to use it even 1 week, since mostly stayed indoors and the numbers did not change enough | 192, 193
| R2: 4 | 136 Motivation: Quitting: Length of use: -Used only 4 days, then had enough fort it not functioning. | 194
|  | 208Motivation: Quitting - “I stopped using it after it took me 20 minutes to set it up. It is too much.” | 195
|  | 209.5Quitting: I tried it couple of times, but it did not work, so.. | 194
|  | 301Motivation: Quitting: - gave up after several attempts to fix a problem failed. | 194
|  | 313.5Quitting: “Well, first I needed to establish the connection, and then when I run into the error message I really couldn’t do any experiments, as no data was being sent” | 194
Battery | R1:7 | 101 Battery:GPS: Data connection: GPS and Bluetooth drain the phone battery too fast | 196
| REC: 5 | 107 Battery: - Phone battery drains too fast, especially when communicating with the network server constantly | 196
| R2: 2 | 122Battery: Data connection: Bluetooth drains the phone battery | 196
|  | 123Battery: GPS: GPS drains the phone battery | 196
|  | 191Battery: hard to remember to charge the device. Should not be peoples concern. | 197
|  | 203 Hardware battery: -forgot to charge | 197
|  | 270 Battery: runs out too quickly and without any warning | 196
GPS | R1:4 | 101 Battery:GPS: Data connection: GPS and Bluetooth drain the phone battery too fast | 198
| REC:6 | 106 GPS:- not accurate enough, especially indoors | 199
| R2: 3 | 123Battery: GPS: GPS drains the phone battery | 198
|  | 155 GPS: -GPS showing wrongly: middle of pacific ocean or the North pole | 200
Data connection | R1:6 | 101 Battery:GPS: Data connection: GPS and Bluetooth drain the phone battery too fast | 201
| REC:5 | 122Battery: Data connection: Bluetooth drains the phone battery | 201
| R2:2 | 137Data connection: - difficult to establish | 202
|  | 187Data connection: Data loss: issues with uploading the data. App needed to be reinstalled. Do not know whether it worked or not. | 202
|  | 205App: Data connection: Bluetooth connection issue | 202
|  | 222 Barriers for further action: data connection: In order for the device to be usable for the general public, the Bluetooth issue and constant app crashing needs to be solved, as they prevent the easy everyday use of the tool. | 202
Uncategorized | R1:5 | 160 Uncategorized: -> Barriers for further action: The municipality talks a lot, but not much happens, they want good results and do not want to hear about bad ones. | barriers..
R2: recategorised |  | 161 Uncategorized: -> Positive about the general idea: The citizens need to know about the impact of bad air quality and demand the decision makers to do something | positive..
|  | 184 Uncategorized: -> Barriers for further action: Before starting a public discussion, people need to have their personal interest. | barriers..
|  | 283 Uncategorized: Support: ->REC “I like that you took the time to come to assist me when I had technical issues, as well as thru email.” | REC
|  | 323 Uncategorised: -> Barriers for further action: In order to see big changes in air pollution map, big interventions are needed | barriers..

## R2
This document contains supplementary material for the article, “End-user feedback on a low-cost portable air quality sensor system – are we there yet?”, by Robinson, J. A., Kocman, D., Horvat, M., & Bartonova, A., published in Sensors
LEGEND: R1= Round 1, R2=round 2, strikethrough=not included in R2
Table S2: CODING ROUND 2
Main codes | f categories | Round 2 (R2) (num refers to R1 codes included in the new R2 codes) | frequency | new R2 code num | R2 f total
Expectations | R1:7 | 1, expected to gain insights of air pollution | 1 | 1
| R2:4 | 72, outsiders guess it's a tracking device or pedometer | 1 | 2
|  | 95,96, 142, 243, 314, expected it to detect a difference in concentration when moving between perceived lower and higher air pollution areas, but it did not (disappointment) | 5 | 3
|  | 169, expected it to be more user-friendly | 1 | 4 | 8
Motivation | R1:22 | 2, 40, 171 + to test emerging technologies | 3 | 5
| R2:14 | 24, 94, 171, 314, 320 + it is interesting to be able to experiment and see spatial differences especially near home | 5 | 6
|  | 25, - too long stabilization time of the sensor measurements lowered the trust in the measurements | 1 | 7
|  | 38, 39, 326 + wish to help the technology to develop in the right direction thru participation and feedback | 3 | 8
|  | 73, + like to collect data in everyday life | 1 | 9
|  | 93, - people spend too much time indoors for this to be useful | 1 | 10
|  | 93, - the APIN value does not change enough | 1 | 11
|  | 119 + care that one's children have safe living environment | 1 | 12
|  | 136,208, 223, 301 - quitted after several attempts to fix technical issues failed or took too much time | 4 | 13
|  | 172, - takes too much time and effort to additionally access a webpage for results | 1 | 14
|  | 223, + younger people might have more time to experiment with constantly failing technology | 1 | 15
|  | 294, - Personally I would not want this device | 1 | 16
|  | 298, - common sense already tells you the time and locations to avoid air pollution (no added value) | 1 | 17
|  | 324, - no point seen for continuous measurements as it is also burdensome | 1 | 18 | 25
Hardware | R1:24 | 3, 167 - bulky | 2 | 19
| REC: 17 | 25, 52, 53, 54,70, 80 - too long stabilization time: one needs to stay in one location for too long for the device to catch up, data not representative when changing environments | 6 | 20
| R2: 16 | 44, + very interesting and nice | 1 | 21
|  | 81.5, +The arm band is a good solution | 1 | 22
|  | 95, - the device does not detect differences in air pollution when difference is expected | 1 | 23
|  | 120, - not sure the device is collecting data | 1 | 24
|  | 126, + happy with the selected air pollutants | 1 | 25
|  | 132, 156, 167, 273 - does not find the current attachment options adequate | 4 | 26
|  | 140, 236, - clumsy to carry around, might fall | 2 | 27
|  | 167, 213 - need to remember to take it with you | 2 | 28
|  | 192, + very neat | 1 | 29
|  | 194, - not that portable | 1 | 30
|  | 196, - not convenient | 1 | 31
|  | 224, - the battery runs out too fast | 1 | 32
|  | 271, - need to use the reset button quite often | 1 | 33
|  | 274, - bothered by the blinking led lights, especially in the evening when it is dark | 1 | 34 | 27
Recommendation | R1:84 | 4, 43, 81, 112, 124, 292, make it smaller e.g. 1/3 | 6 | 35
| R2: 45 | 8, 35, 69, not ready for general public, especially non-technical oriented | 3 | 36
|  | 9, 82, 237, optimal participation time; 1 m, 1m, "Then the interest will gradually disappear" | 3 | 37
|  | 10, 31, 32, 71, 188, phone app needs to be much more stable and reliable | 5 | 38
|  | 15, 16, make sure the data is anonymized, e.g. obfuscate home location | 2 | 39
|  | 22, 57, 58, 125, 144, add sensors: PM, CO, temp, RH and display the results | 5 | 40
|  | 26, 32.1, 74, 87, visualize user tracks online with indicative colours of air pollution | 4 | 41
|  | 32, 112, 139, 263, 285, 292, app needs to be more intuitive, self-explanatory and simple (only on/off), as little clicking as possible, ready to go, similar to radiation exposure devices | 6 | 42
|  | 42, 186, make the app more user-friendly | 2 | 43
|  | 42, 61, make the app available in other operating systems | 2 | 44
|  | 59, 230, develop a function which would alarm you when the air pollution is too high in short term exposure | 2 | 45
|  | 14, 69, 226, needs another round of user trials | 3 | 46
|  | 69, 202, make sure data is not lost | 2 | 47
|  | 76, link the collected data with weather data, temperature, population data, air pollution data as well as time of the day and date | 1 | 48
|  | 78, 165, deploy in large scale and for a long time to have representative data | 2 | 49
|  | 81, 149, develop more attachment options | 2 | 50
|  | 81, 127, 170, 235, 240, 292, make similar to smart watches “or whatever similar device that the user is already carrying anyway.” integrate on phones | 6 | 51
|  | 83, 232, product price: less than 100€. 200€ might be too expensive, 150€ | 2 | 52
|  | 84, 86, 91, add a tagging option in the app to add locations or other notes. Could include most frequent tones e.g. home, work, exercise, and “other” | 3 | 53
|  | 85, 86, 105, to see historic data of the user tracks | 3 | 54
|  | 90, 319, combine objective and subjective air quality in one app | 2 | 55
|  | 91, 189, 286, visualize in the app in addition to web version | 3 | 56
|  | 100, send data to the server couple of times a day. If real time data is wanted, then it could be manually send immediately on request | 1 | 57
|  | 102, 216, 225, not to have GPS and Bluetooth running all the time e.g. add a stand-by mode when the device is not moving anywhere | 3 | 58
|  | 103, the hardware could have the GPS instead | 1 | 59
|  | 112, 197, needs to work flawlessly | 2 | 60
|  | 112, to be able to detect and display differences in air pollution concentrations | 1 | 61
|  | 112, 207, solve Bluetooth and GPS issues | 2 | 62
|  | 121, 284, 285, develop clear indication whether device collects and sends data | 3 | 63
|  | 129, 202, 215, maximise battery life, e.g. use low energy Bluetooth | 3 | 64
|  | 143, wants to see individual pollutant concentrations as ,g/m3 | 1 | 65
|  | 150, Turn on GPS, Bluetooth, 3G automatically when turning on the app, agree during first use | 1 | 66
|  | 182, add on city bikes | 1 | 67
|  | 190, add an indication to charge the device | 1 | 68
|  | 200, remove bugs | 1 | 69
|  | 201, There should be an option to use same user ID multiple times | 1 | 70
|  | 204, to have hardware control in the device more than just a reset button | 1 | 71
|  | 212, 242, to show APIN and graphs for individual pollutants | 2 | 72
|  | 212, 315, add more granularity between the indication numbers e.g. from 1-100 | 2 | 73
|  | 214, data connection type could be Wi-Fi | 1 | 74
|  | 217, to have the data frequency set on lower sampling rate when the person is not moving | 1 | 75
|  | 226, There should be automatic data on why did the user quit | 1 | 76
|  | 253, display limit values for each individual parameter for public to know which pollutant responses to which AQ APIN | 1 | 77
|  | 264, 265, instructions needs to be clear, simple, short and accurate | 2 | 78
|  | 283, to have technical assistance available | 1 | 79 | 103
App | R1:50 | 5, 199, 244, 245, 281, - not working, needs to work | 5 | 80
| REC:35 | 6, 45, 48, - freezing constantly also while not attending the phone e.g. while sleeping or working intensively | 3 | 81
| R2: 27 | 7, 11, 12, 21, - unstable and unreliable | 4 | 82
|  | 13, 32, 33, 49, 50, 64,88, 99, - crash constantly without any obvious cause, sometimes due to being disconnected from Wi-Fi | 8 | 83
|  | 34, - it takes several steps to get the app working again | 1 | 84
|  | 36, + Measuring air pollution is more useful than subjective reporting of perceived air quality | 1 | 85
|  | 43, 63, 79, - very buggy | 3 | 86
|  | 46, 66, 198, - needs constant re-starting | 3 | 87
|  | 47, 51, 67, 206, - needed to re-install the application multiple times, which is also when all data was erased leading to data gaps (disappointing) | 4 | 88
|  | 55, 248, -not usable | 2 | 89
|  | 62, - “this is an ultra-alfa phase, not even a prototype yet” | 1 | 90
|  | 65, - frustrating to record data: can take a lot of effort timewise | 1 | 91
|  | 68, 246, - If the app is promised to work on Android 2.0 (for example) and upwards, then it should work regardless of the phone or type of data collected. | 2 | 92
|  | 88, 266, - “I had to insert a new user ID every time the app crashed, as it notified me that the user ID already exists”. Not clear when new user ID is required. | 2 | 93
|  | 98, + easy to use | 1 | 94
|  | 99, - Need to use force stop function after crashing | 1 | 95
|  | 120, - not sure if the device is collecting data or not | 1 | 96
|  | 133, - user interface quite complicated | 1 | 97
|  | 193 -“the app leaves a bad taste in one’s mouth. It’s a shame no more time and effort was invested” | 1 | 98
|  | 195, -software is bad | 1 | 99
|  | 205, - Bluetooth connection issue | 1 | 100
|  | 227, - “It looks like this software was done to meet the minimum” | 1 | 101
|  | 228, - is not self-explanatory enough | 1 | 102
|  | 244, - the app is clunky | 1 | 103
|  | 247, - responds very slowly on pressing buttons. “3 second response time for pressing a button is too much.” | 1 | 104
|  | 249, - Could not participate, because have a Windows phone | 1 | 105
|  | 275, - it is not self-explanatory that one needs to refresh the interface to check the data transmission | 1 | 106 | 53
Length of use | R1:4 | 8.5, little less than 14 days | 1 | 107
| R2:4 | 93, less than a week | 1 | 108
|  | 136, 209, 4 days | 2 | 109
|  | 209, 3 days, 3 days | 2 | 110 | 6
Optimal participation time | R1:4 | 9, 82, 237, 1m | 3 | 111
REC: 3
| R2: 1 |  |  |  | 3
General user experience | R1:13 | 11, 37, - worst part of UX was the unstable app | 2 | 112
| R2: 9 | 35, - it was really annoying | 1 | 113
|  | 44, - I had a lot of problems | 1 | 114
|  | 51, - disappointment due to data loss | 1 | 115
|  | 52, 65, 268, 272, - frustrating how much effort timewise especially is needed to successfully record data | 4 | 116
|  | 96, - disappointed that the device could not detect what the user could smell or perceive | 1 | 117
|  | 261, + got to learn to work with the technology | 1 | 118
|  | 262, complicated and tiresome to use | 1 | 119
|  | 314, really disappointed that it did not work, and could not find out about the air quality near home | 1 | 120 | 13
Barriers for further action | R1:43 | 14, 28, 30, 69, 111, 146, 168, 219, 221, 222, 295, not ready for the general public in its current form (technical issues, data loss, disappointment, non-user-friendly, more relevant sensors, data quality) | 11 | 121
| REC:3 | 23, 29, 65, 92, 172, 223, 265.5, 269, 277, 279, 287, takes too much time to set up and operate successfully to integrate in everyday life | 11 | 122
| R2: 15 | 48, ones up and running, needs constant attendance due to frequent crashing and freezing which happens without a reason | 1 | 123
|  | 53, 54, sensors do not stabilize fast enough compared how fast people change their environment | 2 | 124
|  | 56, 60, 135, it needs to work flawlessly | 3 | 125
|  | 78, wide scale simultaneous deployment needed for data to be useful for others than the ones carrying the device | 1 | 126
|  | 83, should not be too expensive, e.g. 200€ is already too much | 1 | 127
|  | 109, 168, 180, 239, 294, 298, 324, no applicability or added value seen in everyday life | 7 | 128
|  | 131, 168, difficult and unpractical to use | 2 | 129
|  | 160, "The municipality talks a lot, but not much happens, they want good results and do not want to hear about bad ones." | 1 | 130
|  | 163, not sure the device can empower a user to change behaviour | 1 | 131
|  | 184, Before starting a public discussion, people need to have their personal interest. | 1 | 132
|  | 252, needs professional app developer | 1 | 133
|  | 259, - I take it sceptically | 1 | 134
|  | 323, believes that in order to see big changes in air pollution map, big interventions are needed | 1 | 135 | 45
Privacy | R1:7 | 15, 16, 322, concerned (does not want to be identified, nor anyone to know where he lives) | 3 | 136
| REC: 2 | 104, 147, 148, 185, not an issue (user knows what he agrees to) | 4 | 137
| R2: 2 |  |  |  | 7
Behaviour | R1:3 | 17, 19, can raise awareness on spatial distribution of air pollution | 2 | 138
Possibilities (if improved) |  | 18, 19, 113, 296, 297, could affect preferred routes and places to spend time | 5 | 139
|  | 41, 321, could improve one’s quality of life | 2 | 140
Possibilities (if improved) | R1:37 | 41, 72, 108, interest amongst third parties exists | 3 | 141
| R2: 21 | 75, could be used for indoor air quality also, e.g. home and car | 1 | 142
|  | 77, 135, 183, overall positivity about the general idea | 3 | 143
|  | 75, 110, 181, could be used in projects e.g. for crowdsourcing | 3 | 144
|  | 114, 231, could be used to monitor industrial pollution | 2 | 145
|  | 115, 166, could use the results for discussing with polluters and decision makers | 2 | 146
|  | 116, could be used for experiments (e.g. at schools) | 1 | 147
|  | 117, 229, 321, could be used to estimate property values and choose less polluted neighbourhoods to live in | 3 | 148
|  | 118, 293, 295, 297, 299, could be used for exposure estimation especially for vulnerable groups e.g. by those with sick children and asthmatics | 5 | 149
|  | 128, could integrate on a bike with GPS and solar panels | 1 | 150
|  | 158, could by used by the city/NGOs, Schools and kindergartens | 1 | 151
|  | 159, could be installed in city bussed and provide real time data | 1 | 152
|  | 164, could be used during winter time during high air pollution episodes to get more detailed info | 1 | 153
|  | 166, 178, 258, 296, could be used to find out where the air quality is bad and why in order to improve it | 4 | 154
|  | 179, 321, data could be made publicly available by the city authorities | 2 | 155
|  | 238, could be rented by companies | 1 | 156
|  | 241, could insert in Google street view cars, and cover the whole world | 1 | 157
|  | 255, - cannot be used to sue anyone | 1 | 158 | 45
Web visualization | R1:13 | 130, 210, 211, 302, 309, + OK, good, nice, interesting | 5 | 159
| REC:5 | 130, 157, + no need for improvements | 2 | 160
| R2: 9 | 154, - did not work all the time | 1 | 161
|  | 157, + easy to use and navigate | 1 | 162
|  | 242, 251, - instead of index value wants to see individual pollutants | 2 | 163
|  | 250, - not obvious that one needs to insert a user id, instead of a hardware id to see user tracks | 1 | 164
|  | 256, + “5 APIN values is OK” | 1 | 165
|  | 276, -did not know one can display many user tracks at ones | 1 | 166
|  | 309, 317, interesting to see both subjective and objective data in a same map | 2 | 167 | 16
App visualization | R1:3 | 27, wants to have more than just graphs in an app | 1 | 168
| REC: 2 | 85, wants to see historic data of the user tracks | 1 | 169
| R2: 4 | 91, it is not enough to visualize in a web portal, needs to be integrated in the app | 1 | 170
|  | 91, needs to have a tagging option to describe places and activities | 1 | 171 | 4
Positive about the general idea | R1:18 | 44, 77, 161, 167, 220, 260, 300, 302, 314.5, 317, interesting, nice, beneficial (see 260, 300) | 10 | 172
| R2: 8 | 75, + crowd sensing is a good way to measure air quality in more detail compared to AQMS, as one can also cover indoor conditions e.g. home and car | 1 | 173
|  | 97, 145, ”I am glad such projects exist and such research is being made. That is great!” | 2 | 174
|  | 141, ”I did not know earlier that one can measure air quality in such small devices.” | 1 | 175
|  | 141, 218, ”I am interested in this kind of data” | 2 | 176
|  | 144.5, Did not feel that the device had helped to achieve something. Yet, he wishes it had. | 1 | 177
|  | 162, ”It would be nice to have a follow up study. That this would not be just a one-time activity.. to be able to compare how things have changed” | 1 | 178
|  | 303, 318 , 325, Unfortunately the LEO did not work as it should have | 3 | 179 | 21
Data loss | R1:14 | 47, 51, 187, reinstallation erased data | 3 | 180
| REC:3 | 51, 69, 134, 209, disappointment due to data loss | 4 | 181
| R2:5 | 69, can be difficult to handle by less technical people | 1 | 182
|  | 120, 134, 138, 187, 267, 278, 280, 284, 313, data loss due to not certain data was being collected, thought it might be, yet it wasn't | 9 | 183
|  | 201, data loss due to not remembering various user IDs | 1 | 184 | 18
Data quality | R1:4 | 78, believes larger deployment would yield representative data | 1 | 185
| REC: 1 | 251.5, knows that with increase of quantity of measurements, the quality does not increase | 1 | 186
| R2: 4 | 254, “if it is not calibrated, it does not make sense to calculate any APIN” | 1 | 187
|  | 316, the data is not validated and there is deviation from the official data | 1 | 188 | 4
Product price | R1:2 | 83, less than 100€ | 1 | 189
| REC:2 | 83, 200 € might be too much | 1 | 190
| R2:3 | 232, 150€ | 1 | 191 | 3
Quitting (reasons) | R1:6 | 93, stayed mostly indoors | 1 | 192
| R2: 4 | 93, the APIN did not change enough | 1 | 193
|  | 136, 209.5, 301, 313.5, too many and frequent malfunctioning | 4 | 194
|  | 208, took too much time to operate | 1 | 195 | 7
Battery | R1:7 | 101, 107, 122, 123, 270, GPS, Bluetooth, and 3G drain the phone battery too fast | 5 | 196
| REC: 5 | 191, 203, hard to remember to charge the hardware | 2 | 197
| R2: 2 |  |  |  | 7
GPS | R1:4 | 101, 123, GPS drains the phone battery | 2 | 198
| REC:6 | 106, - not accurate enough, especially indoors | 1 | 199
| R2: 3 | 155, -GPS showing wrongly: middle of pacific ocean or the North pole | 1 | 200
4
Data connection | R1:6 | 101, 122, Bluetooth drains the batteries too fast | 2 | 201
| REC:5 | 137, 187, 205, 222, - difficult to establish and maintain | 4 | 202
| R2:2 |  |  |  | 6
|  |  | 425 |  | 425

## R1_REC_additional
This document contains supplementary material for the article, “End-user feedback on a low-cost portable air quality sensor system – are we there yet?”, by Robinson, J. A., Kocman, D., Horvat, M., & Bartonova, A., published in Sensors
Table S3: ADDITIONAL CODING ITERATIONS FOR "REC" in R1
Round 1 (R1) | R2 | R1 additional coding for REC | R1.5 extra categories for REC
4REC: Hardware: make smaller | 35 | hardware | improvement
8REC: The app not ready for general public | 36 | app | comment/suggestion
9REC: Optimal participation time: 1 month | 37 | Optimal participation time | comment/suggestion
10 REC: App“phone app needs to be much more stable and reliable” | 38 | app | improvement
14 Barriers for further action: REC: ”The device and mostly the phone app need to be very much improved, even if wider user trial would like to be carried out” | 36, 46 | app, hardware | improvement
15REC:Privacy: “the data collected should somehow be anonymized” | 39 | privacy | desired feature
16REC:Privacy: “home location should be obfuscated in some way” | 39 | privacy | desired feature
22REC: suggestion to measure PM10 | 40 | hardware | new functionality
26REC: Web visualization: colours and icons on a map desired Dunavnet was created after the interview | 41 | web visualization | desired feature
31REC: App: should be made much more stable and reliable | 38 | app | improvement
32REC: App: more stable, more intuitive and simpler interface | 38, 42 | app | improvement
32.1REC: App: add online cloud platform in the same sense as running apps do it ->Dunavnet was created after the interview | 41 | app | desired feature
42REC: App: make it much more stable and reliable, more user friendly, make available for other platforms (iOS) | 38, 43, 44 | app | improvement
43REC: hardware: less bulky | 35 | hardware | improvement
57REC: to measure PM10 | 40 | hardware | new functionality
58REC: to measure CO | 40 | hardware | new functionality
59REC: “You could have an application which would trigger and alarm when the CO is too high as it is dangerous in short term exposure” | 45 | app | new functionality
61REC: to have iOS application | 44 | app | new functionality
69 Barriers for further action: data loss: REC: App: Needs to be improved before wider testing amongst non technical users. Not ready for the public. (constants data loses, can be difficult to operate by non-tech users) | 36, 46, 47 | app,Barriers for further action, data loss | improvement
71REC: App: more stable application needed | 38 | app | improvement
74REC: Web visualization: air pollution map with indicative colours based on many people using the device (Dunavnet was created after the interview) | 41 | web visualization | desired feature
76REC: Web visualization: link the collected data with weather data, temperature, population data, air pollution data as well as time of the day and date | 48 | web visualization | new functionality
78 Barriers for further action: Data quality: REC:” But you have to have them deployed in a wider scale in order to have some sort of representative data” | 49 | data quality, Barriers for further action | comment/suggestion
81REC: Hardware: downsize it, wear like a wrist watch, possibility to attach in a backpack, develop different mechanisms for attaching it | 35, 50, 51 | hardware | improvement
82REC: Optimal participation time: in one month you could capture a daily behaviour of a user | 37 | Optimal participation time | comment/suggestion
83REC: product price: Barriers for further action: less than 100€. 200€ might be too expensive | 52 | product price, Barriers for further action | comment/suggestion
84REC: App: add a tagging option to add locations. Could include most frequent tones e.g. home, work, exercise, and “other” | 53 | app | new functionality
85REC: App: App visualization: to be able to see historic data on air pollution and location combined. | 54 | app, app visualization | desired feature
86REC: Web visualization: GPS: to see activity record and GPS data and add your own notes e.g. about your activities | 53, 54 | web visualization, GPS | new functionality
87REC: Web visualization: GPS: map and graphs. User tracker with indicative colours of air pollution | 41 | web visualization, GPS | desired feature
90REC: App: combine CityAir and Expo App | 55 | app | improvement
91REC: App: App visualization: visualize the air pollution in the app and add a tagging option | 53, 56 | app, app visualization | new functionality
100 REC: Data connection: send data to the server couple of times a day. If real time data is wanted, then it could be manually send immediately on request. | 57 | data connection | new functionality
102REC: not have Bluetooth and GPS running all the time | 58 | GPS, data connection | improvement
103REC: the hardware could have the GPS instead | 59 | hardware, GPS | new functionality
105REC: access to historic data | 54 | data visualization | desired feature
112REC: LEO: should be smaller, sure to work, able to detect differences in concentrations, simple as possible (on-off), ready to go, minimize Bluetooth and GPS issues | 35, 42, 60, 61, 62 | hardware, app, GPS | improvement
121REC: Add more clear indication whether device collect data or not | 63 | app | improvement
124REC: Hardware: smaller e.g. 1/3 of current size | 35 | hardware | improvement
125REC: LEO: to measure air temperature and pressure and display it | 40 | hardware, app | desired feature, new functionality
127REC: have it as a smartwatch | 51 |  | improvement
129REC: maximise battery life | 64 | hardware, app, battery | improvement
139REC: App: simplify, as little clicking as possible: only have one big start/stop button | 42 | app | improvement, new functionality
143REC: more useful to see individual pollutant concentrations than just air pollution indication based on aggregated values of 3 pollutants | 65 | data visualization | new functionality
144REC: to measure PM | 40 | hardware | new functionality
149REC: provide a silicone handle bar mounting accessory | 50 |  | comment/suggestion
150REC: Turn on GPS, Bluetooth, 3G automatically when turning on the app, agree during first use | 66 | app, GPS | new functionality
165REC: it would be good to have monitoring in a long time period | 49 |  | comment/suggestion
170REC: integrate it on the phone or similar to a smartwatch “or whatever similar device that the user is already carrying anyway.” | 51 |  | improvement
182REC: add on city bikes | 67 |  | suggestion
186REC: needs to be much more user friendly | 43 | app | improvement
188REC: Data transfer should be done seamless | 38 | app | improvement
189REC: App. Visualize in the app | 56 | data visualization | improvement
190REC:Battery: reminder to charge the device | 68 | battery | improvement
197REC: app: must work | 60 | app | improvement
200REC:App: remove bugs | 69 | app | improvement
201 Data loss: REC: There should be an option to have same userID. I was afraid I will lose the data. | 47, 70 | data loss, app | improvement
202 REC: Hardware battery: needs to last longer than a day | 64 | battery | improvement
204REC: to have hardware control in the device more than just a reset button | 71 | hardware | improvement, new functionality
207REC: improve Bluetooth connection | 62 | data connection | improvement
212REC: visualization: show different pollutants. More granularity between the indication numbers e.g. from 1-100 | 72, 73 | data visualization | improvement, new functionality
214REC: data connection type could be wifi | 74 | data connection | improvement, new functionality
215REC: use low energy Bluetooth | 64 | data connection | improvement
216REC: add a stand-by mode when the device is not moving anywhere | 58 | hardware, app, battery | improvement, new functionality
217REC: Perhaps also to have the data frequency set on lower sampling rate when the person is not moving | 75 | app, hardware, battery | new functionality
225REC: App: should not be running on the background when not in use. | 58 | app | new functionality
226REC:” This should be really tested for user experience before its release”” There should be automatic data on why did the user quit” | 46, 76 | app | comment/suggestion, new functionality
230REC:”It could work similar to a fire detector and start peeping in case of danger” | 45 | app | new functionality
232 REC: product price: 150 | 52 | product price | comment/suggestion
235REC: integrate into a phone | 51 | LEO | improvement
237REC: Optimal participation time: 1 m” Then the interest will gradually disappear.” | 37 | Optimal participation time | comment/suggestion
240 REC: The best way would be to make it part of something else people use. Like a smartphone | 51 | LEO | improvement
242LEO: REC: wants to have graphs and numbers of different pollutants | 72 | data visualization | new functionality
253REC: Web visualization: “it would be good to have for each individual parameter limit values for public to know which pollutant responses to which AQ APIN” | 77 | data visualization | new functionality
263REC: Make the device and app self-explanatory. I.e. no need for written instructions. | 42 | App, hardware | improvement
264REC:Instructions: needs to be clear, simple, short and accurate | 78 |  | improvemnt
265 LEO: -> REC: some instructions are misleading. | 78 |  | improvement
283 Uncategorized: Support: ->REC “I like that you took the time to come to assist me when I had technical issues, as well as thru email.” | 79
284REC: App: Data loss: whether the data has been sent should be made more obvious | 63 | data loss | improvement
285REC: as few steps/clicking as possible, automatically connect and send data, confirmation on measuring successfully. | 63, 42 | app | improvement, new functionality
286LEO: difficult to remember which web page to find the data. -> REC: visualize directly on phone | 56 | data visualization | improvement
292REC: Smaller, unnoticeable, minimum effort form the user, integrate into a phone, similar to radiation exposure devices | 35, 42, 51 | LEO | improvement, new functionality
315REC: Web visualization: want to have interval of the APIN values | 73 | data visualization | improvement
319REC: combine LEO and CityAir | 55 |  | improvement

## R2_REC_additional
This document contains supplementary material for the article, “End-user feedback on a low-cost portable air quality sensor system – are we there yet?”, by Robinson, J. A., Kocman, D., Horvat, M., & Bartonova, A., published in Sensors
Table S4: ADDITIONAL CODING ITERATIONS FOR "REC" in R2
Round 2 (R2) (num refers to R1 codes included in the new R2 codes) | f | new R2 code num | R1 additional coding for REC | R1.5 extra categories for REC
4, 43, 81, 112, 124, 292, make it smaller e.g. 1/3 | 6 | 35 | hardware | improvement
8, 35, 69, not ready for general public, especially non-technical oriented | 3 | 36 | app | comment/suggestion
9, 82, 237, optimal participation time; 1 m, 1m, "Then the interest will gradually disappear" | 3 | 37 | Optimal participation time | comment/suggestion
10, 31, 32, 71, 188, phone app needs to be much more stable and reliable | 5 | 38 | app | improvement
15, 16, make sure the data is anonymized, e.g. obfuscate home location | 2 | 39 | privacy | desired feature
22, 57, 58, 125, 144, add sensors: PM, CO, temp, RH and display the results | 5 | 40 | hardware | new functionality
26, 32.1, 74, 87, visualize user tracks online with indicative colours of air pollution | 4 | 41 | web visualization | desired feature
32, 112, 139, 263, 285, 292, app needs to be more intuitive, self-explanatory and simple (only on/off), as little clicking as possible, ready to go, similar to radiation exposure devices | 6 | 42 | app | improvement
42, 186, make the app more user-friendly | 2 | 43 | app | improvement
42, 61, make the app available in other operating systems | 2 | 44 | app | improvement, new functionality
59, 230, develop a function which would alarm you when the air pollution is too high in short term exposure | 2 | 45 | app | new functionality
14, 69, 226, needs another round of user trials | 3 | 46 | app, barriers for further action | improvement
69, 202, make sure data is not lost | 2 | 47 | app, data loss, | improvement
76, link the collected data with weather data, temperature, population data, air pollution data as well as time of the day and date | 1 | 48 | web visualization | new functionality
78, 165, deploy in large scale and for a long time to have representative data | 2 | 49 | data quality, barriers for further action | comment/suggestion
81, 149, develop more attachment options | 2 | 50 | hardware | improvement
81, 127, 170, 235, 240, 292, make similar to smart watches “or whatever similar device that the user is already carrying anyway.” integrate on phones | 6 | 51 | hardware | improvement
83, 232, product price: less than 100€. 200€ might be too expensive, 150€ | 2 | 52 | product price, Barriers for further action | comment/suggestion
84, 86, 91, add a tagging option in the app to add locations or other notes. Could include most frequent tones e.g. home, work, exercise, and “other” | 3 | 53 | app | new functionality
85, 86, 105, to see historic data of the user tracks | 3 | 54 | App, App visualization | desired feature
90, 319, combine objective and subjective air quality in one app | 2 | 55 | app | improvement
91, 189, 286, visualize in the app in addition to web version | 3 | 56 | app, app visualization | new functionality
100, send data to the server couple of times a day. If real time data is wanted, then it could be manually send immediately on request | 1 | 57 | data connection | new functionality
102, 216, 225, not to have GPS and Bluetooth running all the time e.g. add a stand-by mode when the device is not moving anywhere | 3 | 58 | data connection, GPS, battery | improvement
103, the hardware could have the GPS instead | 1 | 59 | hardware, GPS | new functionality
112, 197, needs to work flawlessly | 2 | 60 | hardware, app | improvement
112, to be able to detect and display differences in air pollution concentrations | 1 | 61 | hardware, app | improvement
112, 207, solve Bluetooth and GPS issues | 2 | 62 | data connection, GPS | improvement
121, 284, 285, develop clear indication whether device collects and sends data | 3 | 63 | app | improvement
129, 202, 215, maximise battery life, e.g. use low energy Bluetooth | 3 | 64 | hardware, app, battery | improvement
143, wants to see individual pollutant concentrations as ,g/m3 | 1 | 65 | data visualization | new functionality
150, Turn on GPS, Bluetooth, 3G automatically when turning on the app, agree during first use | 1 | 66 | app, GPS | new functionality
182, add on city bikes | 1 | 67 |  | suggestion
190, add an indication to charge the device | 1 | 68 | battery | improvement
200, remove bugs | 1 | 69 | app | improvement
201, There should be an option to use same user ID multiple times | 1 | 70 | app | improvement
204, to have hardware control in the device more than just a reset button | 1 | 71 | hardware | improvement, new functionality
212, 242, to show APIN and graphs for individual pollutants | 2 | 72 | data visualization | new functionality
212, 315, add more granularity between the indication numbers e.g. from 1-100 | 2 | 73 | data visualization | improvement, new functionality
214, data connection type could be Wi-Fi | 1 | 74 | data connection | new functionality
217, to have the data frequency set on lower sampling rate when the person is not moving | 1 | 75 | battery | new functionality
226, There should be automatic data on why did the user quit | 1 | 76 | app | new functionality
253, display limit values for each individual parameter for public to know which pollutant responses to which AQ APIN | 1 | 77 | data visualization | new functionality
264, 265, instructions needs to be clear, simple, short and accurate | 2 | 78 |  | improvement
283, to have technical assistance available | 1 | 79 |  | improvement

## REC_stats
This document contains supplementary material for the article, “End-user feedback on a low-cost portable air quality sensor system – are we there yet?”, by Robinson, J. A., Kocman, D., Horvat, M., & Bartonova, A., published in Sensors
Table S5: STATISTICS OF "REC"
R1.5 extra categories for REC
line num in R2 | R1 additional coding for REC | improvement | suggestion | desired feature | new functionality
41 | improvement | 1
42 | comment/suggestion |  | 1
43 | comment/suggestion |  | 1
44 | improvement | 1
45 | desired feature |  |  | 1
46 | new functionality |  |  |  | 1
47 | desired feature |  |  | 1
48 | improvement | 1
49 | improvement | 1
50 | improvement, new functionality | 1 |  |  | 1
51 | new functionality |  |  |  | 1
52 | improvement | 1
53 | improvement | 1
54 | new functionality |  |  |  | 1
55 | comment/suggestion |  | 1
56 | improvement | 1
57 | improvement | 1
58 | comment/suggestion |  | 1
59 | new functionality |  |  |  | 1
60 | desired feature |  |  | 1
61 | improvement | 1
62 | new functionality |  |  |  | 1
63 | new functionality |  |  |  | 1
64 | improvement | 1
65 | new functionality |  |  |  | 1
66 | improvement | 1
67 | improvement | 1
68 | improvement | 1
69 | improvement | 1
70 | improvement | 1
71 | new functionality |  |  |  | 1
72 | new functionality |  |  |  | 1
73 | suggestion |  | 1
74 | improvement | 1
75 | improvement | 1
76 | improvement | 1
77 | improvement, new functionality | 1 |  |  | 1
78 | new functionality |  |  |  | 1
79 | improvement, new functionality | 1 |  |  | 1
80 | new functionality |  |  |  | 1
81 | new functionality |  |  |  | 1
82 | new functionality |  |  |  | 1
83 | new functionality |  |  |  | 1
84 | improvement | 1
85 | improvement | 1
| Total | 23 | 5 | 3 | 17

## f statistics
This document contains supplementary material for the article, “End-user feedback on a low-cost portable air quality sensor system – are we there yet?”, by Robinson, J. A., Kocman, D., Horvat, M., & Bartonova, A., published in Sensors
Table S6: CODE FREQUENCY STATISTICS
Number and frequency of codes in each coding iteration (coding rounds R1 and R2)
| Main codes | R1/R1 f total | R1:REC | R2 | R2:REC | R2 f total
| Recommendation | 84 | 100 | 45 | 56 | 103
| App | 50 | 35 | 27 | 20 | 53
| Barriers for further action | 43 | 3 | 15 | 3 | 45
| Possibilities (if improved) | 37 |  | 21 |  | 45
| Hardware | 24 | 17 | 16 | 9 | 27
| Motivation | 22 |  | 14 |  | 25
| Positive about the general idea | 18 |  | 8 |  | 21
| Data loss | 14 | 3 | 5 | 1 | 18
| Web visualization | 13 | 5 | 9 | 2 | 16
| General user experience | 13 |  | 9 |  | 13
| Expectations | 7 |  | 4 |  | 8
| Privacy | 7 | 2 | 2 | 1 | 7
| Quitting (reasons) | 6 |  | 4 |  | 7
| Battery | 7 | 5 | 2 | 4 | 7
| Length of use | 4 |  | 4 |  | 6
| Data connection | 6 | 5 | 2 | 3 | 6
| App visualization | 3 | 2 | 4 | 2 | 4
| Data quality | 4 | 1 | 4 | 1 | 4
| GPS | 4 | 6 | 3 | 4 | 4
| Optimal participation time | 4 | 3 | 1 | 1 | 3
| Product price | 2 | 2 | 3 | 1 | 3
| Behaviour | 3 |  | R2: Covered in "Possibilities"
| Time | 10 |  | R2: Mostly covered by "Barriers for further action"
| data visualization |  | 8 |  | 4
| External people | 2 |  | R2: Under "Possibilities"
| LEO | 26 | 3 | R2: Covered by other categories
| CityAir | 25 |  | Excluded as it is outside the scope of this paper, pertaining to another data collection tool used in CITI-SENSE
| Uncategorized | 5 |  | R2: Categorized
total | 28 | 443 | 100 | 202 | 56 | 425

## volunteer statistics
This document contains supplementary material for the article, “End-user feedback on a low-cost portable air quality sensor system – are we there yet?”, by Robinson, J. A., Kocman, D., Horvat, M., & Bartonova, A., published in Sensors
Table S7: Volunteer statistics |  |  |  |  | EDUCATION LEVEL | f | % | x100
ID | gender | age | born | education level | Secondary school | 1 | 0.052632 | 5.2632
ID1 | male | 34 | 1982 | Doctorate degree | Undergraduate degree | 7 | 0.36842 | 36.8421
ID2 | male | 25 | 1991 | Undergraduate degree | Master degree | 1 | 0.052632 | 5.2632
ID3 | male | 32 | 1984 | Undergraduate degree | Doctorate degree | 10 | 0.52632 | 52.6316
ID4 | female | 36 | 1980 | Undergraduate degree | SUM | 19 | 1 | 100
ID5 | male | 38 | 1978 | Doctorate degree
ID6 | female | 32 | 1984 | Doctorate degree | GENDER | f | % | x100
ID7 | male | 34 | 1982 | Doctorate degree | male | 12 | 0.63158 | 63.1579
ID8 | male | 37 | 1979 | Secondary school | female | 7 | 0.36842 | 36.8421
ID9 | female | 29 | 1987 | Undergraduate degree | SUM | 19 | 1 | 100
ID10 | male | 30 | 1986 | Undergraduate degree
ID11 | male | 36 | 1980 | Master degree | age | f | Age groups | f | % | x100
ID12 | male | 57 | 1959 | Doctorate degree | 25 | 2
ID13 | male | 49 | 1967 | Doctorate degree | 27 | 1
ID14 | male | 39 | 1977 | Doctorate degree | 29 | 1
ID15 | female | 48 | 1968 | Doctorate degree | 30 | 1 | –30 | 5 | 0.26316 | 26.3158
ID16 | female | 40 | 1976 | Doctorate degree | 32 | 2
ID17 | female | 54 | 1962 | Doctorate degree | 34 | 2
ID18 | male | 25 | 1991 | Undergraduate degree | 36 | 2
ID19 | female | 27 | 1989 | Undergraduate degree | 37 | 1
[5 empty] | 38 | 1
[5 empty] | 39 | 1
[5 empty] | 40 | 1 | 31-40 | 10 | 0.52632 | 52.6316
[5 empty] | 48 | 1
[5 empty] | 49 | 1
[5 empty] | 54 | 1 |  | ̶
[5 empty] | 57 | 1 | 41– | 4 | 0.21053 | 21.0526
[6 empty] | 19 |  | 19 | 1 | 100