## IRT Table
Patient Selection (L:Low; U: Unknown; H: High | Index Test | Reference Standard | Flow and Timing | Overall Risk of Bias | Applicability Concerns | Year | Author | Scenario | Tool brand | Measurement Location | Measurement distance | Group size | Age(years) | Male | Female | Ambient temperature(°C) | Reference results distribution(°C) | Reference temperature | Reference tool | Correlation coefficient | Mean Absolute Error(MAE)(°C) | Mean Difference(MD) /Bias(°C) | standard deviation(SD) (°C) | Reference cut-off temperature (°C) | sensitivity | specificity | Area under curve(AUC) | positive prediction value (PPV) | negative predictive value(NPV)
L | U | U | U | U | U | 2010 | Matsui, Takemi [1] | hospital | NEC SANEI， IS7800, Tokyo | face | 200cm | 57 patients + 35 normal subjects | 26(range 20 to 35)(normal)/25(range 19 to 40)(influenza) | 49(influ)/30(normal) | 8(flu)/5 |  | 37.0±0.6(range 35.7 to 38.3)/36.6 ± 0.3(range 35.5 to 36.9) | axillary | [6 empty] | 88% | 89% |  | 93% | 82%
U | L | L | L | U | U | 2022 | Svantner, Michal [2] | room | FLIR Lepton | eye | 230cm | 50 to 100 | range 18 to 65 |  |  | 20 to 30 | 36.16 ± 0.38 | axillary | armpit thermometer(electronic thermometers Microlife MT850) |  |  | 0.01 | 0.4 | 36.5 | 70% | 69% | 0.72
L | L | L | L | U | U | 2022 | Unursaikhan, Batbayar [3] | hospital | FLIR Lepton 2.5 | face | 40 cm | 154(covid) +147(healthy) | 44.8±14.8 months (covid)/44.7±14.1 months(healthy) | 87(covid)+70(healthy) | 67(covid)+77(healthy) |  | 36.41±0.20(covid)/36.37±0.22(healthy) | axillary | mercury thermometer |  |  | 0 | 0.2
L | L | L | L | L | L | 2022 | Wang, Quanzeng [4] | room | A325sc, FLIR Systems Inc., Nashua, NH, USA | face |  | 1020 | >18 | 606 | 414 | 20 to 29 |  | oral | oral thermometer(SureTemp Plus 690) | 0.78 |  | -0.03 | 0.29 |  | 88% | 89% | 0.97
H | H | L | L | H | H | 2014 | James, C. A. [5] | room,rest | FLIR e40BX（Flir tools，Oregon，US） | skin | 1m | 14 | 38±11 | 14 | 0 | 31.9±1 | 35.25± 0.56 | skin | hard-wired thermistor system (HW) | 0.45 |  | -0.87
[20 empty] | 0.45 |  | -1.92
U | U | L | U | U | U | 2020 | Negishi, Toshiaki [6] | room | FLIR A315 | face | 1m | 22(healthy)+41(flu) | 23.4(healthy)/45.0(flu) |  |  |  |  | axillary | clinical thermometer (TERUMO electric thermometer C230, TERUMO Co., Tokyo, Japan) | 0.71 |  | 1.055 | 0.77
L | U | L | H | H | H | 2017 | Sun, Guanghao [7] | quarantine stations at airport | Infra-eye 2000 DM-IN2000-05, Fujitsu Tokki Systems Limited, Japan | face | 2 m | 617289 (391 febrile) |  |  |  |  | 37.8 | axillary | digital thermometer（Thermo Digital Thermometer C202，Terumo Corp.） | 0.6 |  | 2.7
H | L | L | L | H | L | 2016 | Fernandes, Alex Andrade [8] | room, 15 min before exercise | FLIR® ， T420 | inner canthus of the eye | 1m | 12 | 22.4±3.3 | 12 | 0 | 24.9±0.6 | 37.17±0.25 | gastrointestinal | thermal pill ,HQ CorTemp ® Inc |  |  | -0.613 | 0.689
[8 empty] | room, after 30 min of exercise | [8 empty] | 37.66±0.38 |  |  |  |  | -1.769 | 0.613
[8 empty] | room, 30 min after exercise | [8 empty] | 37.39±0.33 |  |  |  |  | -1.002 | 0.661
L | L | L | L | L | L | 2022 | Mah, Aaron James [9] | room | FLIR One | face | 10cm | 30 | 28.3 ± 9.4 | 14 | 16 | 23 |  | oral | oral temperature sensor, Welch-Allyn |  |  | 0.443 | 1.333
[11 empty] | 50cm | [10 empty] | 0.522 | 1.334
H | L | L | L | H | H | 2019 | Thomas, Jacob B. [10] | room | Fluke Corporation | face | 0.5 feet | 8 | 39 ±6.08 | 7 | 1 | 95.7 to 98.8°F |  | gastrointestinal | CorTemp® Ingestible Core Body Temperature Sensor | 0.611
H | L | L | L | H | H | 2012 | Bourlai, Thirimachos [11] | room | FLIR Systems | face | 1.5m | 6 | 34.5±9.1 | 6 | 0 | 38.8 ± 1.0 | 38.3 ±0.7 | gastrointestinal | CoreTemp, HQ Inc, Ingestible Core Body Temperature Sensor | 0.411 |  | -0.07 | 1.4
L | L | L | L | L | L | 2013 | Chan, L. S. [12] | hospital | FLIR Systems ThermaCAM S40 | frontal temperature | 1m to 5m | 1517 | 45.8 | 747 | 770 | 20 to 27 | 36.9 | core |  | 0.434 |  |  |  | 38 |  |  | 0.812
[10 empty] | forehead | [9 empty] | 0.361 | [6 empty] | 0.78
[10 empty] | lateral temperature | [9 empty] | 0.44 | [6 empty] | 0.815
L | L | L | L | L | L | 2021 | Adams, Scott [13] | room | IRT1:400×300 pixels | whole face | 1.5m | 107 | 35.66±10.09 | 77 | 30 |  | 36.37 ±0.452 | oral | oral thermometer, DT-01B | 0.333 |  | 0.255
[9 empty] | IRT2:464×348 pixels | inner canthus | 1.5m | [8 empty] | 0.407 |  | -1.902
[9 empty] | IRT3:640×480 pixels | inner canthus | 1.5m | [8 empty] | 0.491 |  | -1.311
H | L | L | L | H | H | 2019 | Fenemor, Stephen P. [14] | room | Infrared Cameras Incorporated | body skin | 1m | 11 | 27 ± 6 | 5 | 6 | 35 | 34.2 ± 1.0 | skin | Thermistor (data logger) | 0.61 |  | 0.6 | 0.765
H | L | L | L | H | L | 2016 | Holm, Clint A. [15] | room | Fluke Corporation，Everett，Washington | maximum frontal skin (MFSK) temperature |  | 10 | 40.7 ±9.9 | 10 | 0 |  |  | gastrointestinal(core) | Ingestible Core Body Temperature Sensor, HQ Inc., Palmetto, Florida | 0.074 |  | 1.491 | 0.984
[10 empty] | maximum side skin (MSSK) temperature | [9 empty] | 0.337 |  | 1.103 | 0.847
L | L | L | L | L | L | 2017 | Knobel-Dail, Robin B. [16] | hospital | FLIR corp | skin | 30 to 45cm | 20 | 26.9±1.15 weeks(gestational age) | 6 | 14 |  | 36.44 ±0.81(range 33.21 to 38.12) | skin | skin temperature probes, Steri-Probe |  |  | 0
H | L | L | L | H | H | 2003 | van den Heuvel, CJ [17] | hospital | MMS Med2000 camera | body skin |  | 4 | 26.8(range 22 to 31) | 1 | 3 |  | range 23.8 to 35.1 | skin | Skin thermistors (Steri-Probe type 499B | 0.92 to 0.99 varies with individuals |  | -2.3 | 0.545
L | L | L | L | L | L | 2005 | Ng, EYK [18] | hospital | IR ThermaCAM S60 FLIR system | face | 2m | 502(86 fever and 416 healthy) |  |  |  | 25±2 |  | ear | ear thermometer, Braun Thermoscan IRT | 0.63 |  |  |  | 34.6 | 90.7% | 75.8%
L | L | L | L | L | L | 2004 | Chan, LS [19] | hospital | FLIR thermovision | the front of the face | 1.5m | 176 in total (49 hospital inpatients,99 clinic attendees,and 28 healthy volunteers) | 51 (range 0.25 to 92) (hospital inpatients)/ 34 (range 2 to 70) (clinic attendees)/39 (range 12 to 56) (healthy volunteers) |  |  |  | 36.6± 0.0(oral) | oral | mercury thermometer | 0.8 |  |  |  | 37.5 | 15% | 98%
[10 empty] | the ear | 0.5m | [8 empty] | 0.79 |  |  |  |  | 83% | 88%
[10 empty] | the side of the face | 1.5m | [8 empty] | 0.76
U | L | L | L | L | L | 2022 | Chayabhan Limpabandhu [20] | room | FLIR C3，FLIR Systems, Inc | face | 0.6m | 119 |  |  |  | 19.6 to 21.9 |  | skin(core) | A 3M™ Bair Hugger™ temperature monitoring system 370 (SpotOn, 3 M Healthcare, St Paul, MN, USA) | 0.321 to 0.364 | 0.24 |  | 0.285
L | L | L | L | L | L | 2021 | Peter Y. Chan [21] | hospital | Thermal Experts TE-Q1 narrow-angle camera | skin | 2.2m | 61 | 67 ± 15.2 | 35 | 32 | 22 |  | bladder | Covidien Mon-A-Therm bladder catheter (Dublin, Ireland) |  |  | -7.6 | 1.77 | 37.5 | 25% | 89.2%
[18 empty] | axillary | Welch-Allyn Suretemp Plus non-invasive probe (New York, USA) |  |  | -7.52 | 2.31 | 37.5 | 27.3% | 95.6%
[18 empty] | oral | Welch-Allyn Suretemp Plus non-invasive probe (New York, USA) |  |  | -7.87 | 1.89 | 37.5 | 75% | 43.4%
[9 empty] | QE1PLUS wide-angle (Daejeon, Korea) camera | [8 empty] | bladder | Covidien Mon-A-Therm bladder catheter (Dublin, Ireland) |  |  | -11.1 | 1.826 | 37.5 | 26.8% | 83.2%
[18 empty] | axillary | Welch-Allyn Suretemp Plus non-invasive probe (New York, USA) |  |  | -11.1 | 1.632 | 37.5 | 90% | 35.4%
[18 empty] | oral | Welch-Allyn Suretemp Plus non-invasive probe (New York, USA) |  |  | -11.2 | 2.056 | 37.5 | 76.5% | 31.1%
U | U | H | L | H | H | 2020 | Armote Somboonkaew [22] | room | FLIR ONE | face | 1.5m | 1170 | [5 empty] | forehead skin | infrared-based digital thermometer (Microlife AG) | 0.731 |  |  |  | 37.5 | 100% | 92.6%
H | L | H | L | H | H | 2020 | Matthew J Maley [23] | climate controlled chamber(room) | A320G、FLIR Systems | Index finger skin temperature | 1 m | 52 | 20±2 | 52 | 0 | 30.3 ±0.9 |  | index finger skin | skin thermistor, Type EUS-U, Grant Instruments, UK |  |  | 1.8
H | L | H | L | H | H | 2015 | Aaron J E Bach [24] | room(rest) | A305sc Infared Camera, FLIR Systems, Wilsonville, Oregon, USA | skin temperature | 0.8 to 1.1m | 30 | 25.0±2.9 | 30 | 0 | 24.3 ± 2.5 |  | skin | two conductive devices (thermistors, iButtons)((EU-UU-VL5–0 Thermistors, Grant Instruments, Cambridge, UK; and DS1922L-F50 iButtons, Maxim Intergrated, Sunnyvale, California, USA)) |  |  | 0.83
[8 empty] | room(exercise) | [13 empty] | not recorded
L | L | L | L | L | L | 2023 | Thomas Holder [25] | room | the FLIR C3 Thermal Camera (IR camera) (FLIR, USA). | face | 0.6m | 119 | range 20 to 59 | 50 | 69 | 20 | 36.9 ±0.37 | skin(core) | SpotOn (3M, USA) |  |  | 0.5 | 0.556
L | L | L | L | L | L | 2010 | Line Kessel [26] | room | Fluke Ti25；Fluke，Everett，WA | corneal temperature |  | 3 | range 27 to 29 | 2 | 1 |  |  | distal nasal temperature(core) | LS-1400 D Temperature

## Reference
[1] | Matsui, T.; Hakozaki, Y.; Suzuki, S.; Usui, T.; Kato, T.; Hasegawa, K.; Sugiyama, Y.; Sugamata, M.; Abe, S. A novel screening method for influenza patients using a newly developed non-contact screening system. J Infect 2010, 60, 271-277, doi:10.1016/j.jinf.2010.01.005.
[2] | Svantner, M.; Lang, V.; Skala, J.; Kohlschutter, T.; Honner, M.; Muzika, L.; Kosova, E. Statistical Study on Human Temperature Measurement by Infrared Thermography. Sensors (Basel) 2022, 22, doi:10.3390/s22218395.
[3] | Unursaikhan, B.; Amarsanaa, G.; Sun, G.; Hashimoto, K.; Purevsuren, O.; Choimaa, L.; Matsui, T. Development of a Novel Vital-Signs-Based Infection Screening Composite-Type Camera With Truncus Motion Removal Algorithm to Detect COVID-19 Within 10 Seconds and Its Clinical Validation. Front Physiol 2022, 13, 905931, doi:10.3389/fphys.2022.905931.
[4] | Wang, Q.; Zhou, Y.; Ghassemi, P.; McBride, D.; Casamento, J.P.; Pfefer, T.J. Infrared Thermography for Measuring Elevated Body Temperature: Clinical Accuracy, Calibration, and Evaluation. Sensors (Basel) 2021, 22, doi:10.3390/s22010215.
[5] | James, C.A.; Richardson, A.J.; Watt, P.W.; Maxwell, N.S. Reliability and validity of skin temperature measurement by telemetry thermistors and a thermal camera during exercise in the heat. J Therm Biol 2014, 45, 141-149, doi:10.1016/j.jtherbio.2014.08.010.
[6] | Negishi, T.; Abe, S.; Matsui, T.; Liu, H.; Kurosawa, M.; Kirimoto, T.; Sun, G. Contactless Vital Signs Measurement System Using RGB-Thermal Image Sensors and Its Clinical Screening Test on Patients with Seasonal Influenza. Sensors (Basel) 2020, 20, doi:10.3390/s20082171.
[7] | Sun, G.; Matsui, T.; Kirimoto, T.; et al. Applications of Infrared Thermography for Noncontact and Noninvasive Mass Screening of Febrile International Travelers at Airport Quarantine Stations. In Application of Infrared to Biomedical Sciences, 2017, 347-358.
[8] | Fernandes, A.A.; Moreira, D.G.; Brito, C.J.; da Silva, C.D.; Sillero-Quintana, M.; Pimenta, E.M.; Bach, A.J.; Garcia, E.S.; Bouzas Marins, J.C. Validity of inner canthus temperature recorded by infrared thermography as a non-invasive surrogate measure for core temperature at rest, during exercise and recovery. J Therm Biol 2016, 62, 50-55, doi:10.1016/j.jtherbio.2016.09.010.
[9] | Mah, A.J.; Ghazi Zadeh, L.; Khoshnam Tehrani, M.; Askari, S.; Gandjbakhche, A.H.; Shadgan, B. Studying the Accuracy and Function of Different Thermometry Techniques for Measuring Body Temperature. Biology (Basel) 2021, 10, doi:10.3390/biology10121327.
[10] | Thomas, J.B.; Pahler, L.; Handy, R.; Thiese, M.S.; Schaefer, C. Pilot study predicting core body temperatures in hot work environments using thermal imagery. Journal of Chemical Health & Safety 2019, 26, 75-83, doi:10.1016/j.jchas.2019.08.001.
[11] | Bourlai, T.; Pryor, R.R.; Suyama, J.; Reis, S.E.; Hostler, D. Use of thermal imagery for estimation of core body temperature during precooling, exertion, and recovery in wildland firefighter protective clothing. Prehosp Emerg Care 2012, 16, 390-399, doi:10.3109/10903127.2012.670689.
[12] | Chan, L.S.; Lo, J.L.; Kumana, C.R.; et al. Utility of Infrared Thermography for Screening Febrile Subjects. Hong Kong Med. J. 2013, 19, 109–115.
[13] | Adams, S.; Bucknall, T.; Kouzani, A. An initial study on the agreement of body temperatures measured by infrared cameras and oral thermometry. Sci Rep 2021, 11, 11901, doi:10.1038/s41598-021-91361-6.
[14] | Fenemor, S.P.; Gill, N.D.; Sims, S.T.; Beaven, C.M.; Driller, M.W. Validity of a Tympanic Thermometer and Thermal Imaging Camera for Measuring Core and Skin Temperature during Exercise in the Heat. Measurement in Physical Education and Exercise Science 2019, 24, 49-55, doi:10.1080/1091367x.2019.1667361.
[15] | Holm, C.A.; Pahler, L.; Thiese, M.S.; Handy, R. Evaluation of physiological strain in hot work areas using thermal imagery. J Therm Biol 2016, 61, 8-15, doi:10.1016/j.jtherbio.2016.07.013.
[16] | Knobel-Dail, R.B.; Holditch-Davis, D.; Sloane, R.; Guenther, B.D.; Katz, L.M. Body temperature in premature infants during the first week of life: Exploration using infrared thermal imaging. J Therm Biol 2017, 69, 118-123, doi:10.1016/j.jtherbio.2017.06.005.
[17] | van den Heuvel, C.J.; Ferguson, S.A.; Dawson, D.; Gilbert, S.S. Comparison of digital infrared thermal imaging (DITI) with contact thermometry: pilot data from a sleep research laboratory. Physiol Meas 2003, 24, 717-725, doi:10.1088/0967-3334/24/3/308.
[18] | Ng, E.Y. Is thermal scanner losing its bite in mass screening of fever due to SARS? Med Phys 2005, 32, 93-97, doi:10.1118/1.1819532.
[19] | Chan, L.S.; Cheung, G.T.; Lauder, I.J.; Kumana, C.R.; Lauder, I.J. Screening for fever by remote-sensing infrared thermographic camera. J Travel Med 2004, 11, 273-279, doi:10.2310/7060.2004.19102.
[20] | Limpabandhu, C.; Hooper, F.S.W.; Li, R.; Tse, Z. Regression model for predicting core body temperature in infrared thermal mass screening. IPEM Transl 2022, 3, 100006, doi:10.1016/j.ipemt.2022.100006.
[21] | Chan, P.Y.; Tay, A.; Chen, D.; Vogrin, S.; McNeil, J.; Hopper, I. Comparison of cutaneous facial temperature using infrared thermography to standard temperature measurement in the critical care setting. J Clin Monit Comput 2022, 36, 1029-1036, doi:10.1007/s10877-021-00731-y.
[22] | Somboonkaew, A.; Vuttivong, S.; Prempree, P.; Amarit, R.; Chanhorm, S.; Chaitavon, K.; Porntheeraphat, S.; Sumriddetchkajorn, S. Temperature-compensated infrared-based low-cost mobile platform module for mass human temperature screening. Appl Opt 2020, 59, E112-E117, doi:10.1364/AO.388313.
[23] | Maley, M.J.; Hunt, A.P.; Bach, A.J.; Eglin, C.M.; Costello, J.T. Infrared cameras overestimate skin temperature during rewarming from cold exposure. J Therm Biol 2020, 91, 102614, doi:10.1016/j.jtherbio.2020.102614.
[24] | Bach, A.J.; Stewart, I.B.; Disher, A.E.; Costello, J.T. A comparison between conductive and infrared devices for measuring mean skin temperature at rest, during exercise in the heat, and recovery. PLoS One 2015, 10, e0117907, doi:10.1371/journal.pone.0117907.
[25] | Holder, T.; Hooper, F.S.W.; Yates, D.; Tse, Z.; Patil, S.; Moussa, A.; Batten, L.; Radhakrishnan, V.; Allison, M.; Hewitt, C.; et al. Clinical accuracy of infrared temperature measurement devices: a comparison against non-invasive core-body temperature. Clin Med (Lond) 2023, 23, 157-163, doi:10.7861/clinmed.2022-0252.
[26] | Kessel, L.; Johnson, L.; Arvidsson, H.; Larsen, M. The relationship between body and ambient temperature and corneal temperature. Invest Ophthalmol Vis Sci 2010, 51, 6593-6597, doi:10.1167/iovs.10-5659.