## CG300
Minimum valuation; GWP at current GWP tax rate 0,025€/kg | [10 empty] | Minimum valuation | [10 empty] | Medium valuation | [10 empty] | Maximum valuation | [10 empty] | Notes
Standard | [10 empty] | Standard | [10 empty] | Standard | [10 empty] | Standard
Variation name | eLCC noD | eLCC inclD | fLCC | ratio eLCC /fLCC noD | ratio eLCC /fLCC inclD | TOTAL no D | TOTAl incl. D | ranking based on fLCC | ranking based on fLCC+eLCC no D | ranking based on fLCC+eLCC incl D | Variation name | eLCC noD | eLCC inclD | fLCC | ratio eLCC /fLCC noD | ratio eLCC /fLCC inclD | TOTAL no D | TOTAl incl. D | ranking based on fLCC | ranking based on fLCC+eLCC no D | ranking based on fLCC+eLCC incl D | Variation name | eLCC noD | eLCC inclD | fLCC | ratio eLCC /fLCC noD | ratio eLCC /fLCC inclD | TOTAL no D | TOTAl incl. D | ranking based on fLCC | ranking based on fLCC+eLCC no D | ranking based on fLCC+eLCC incl D | Variation name | eLCC noD | eLCC inclD | fLCC | ratio eLCC /fLCC noD | ratio eLCC /fLCC inclD | TOTAL no D | TOTAl incl. D | ranking based on fLCC | ranking based on fLCC+eLCC no D | ranking based on fLCC+eLCC incl D
RCC_01_EIFS-EPS | 211024.5401 | 170407.7015 | 2098013.8528 | 10.06% | 8.122% | 2309038.3929 | 2268421.5543 | 10 | 9 | 10 | RCC_01_EIFS-EPS | 495960.4207 | 370388.0953 | 2098013.8528 | 23.64% | 17.65% | 2593974.2735 | 2468401.9481 | 10 | 8 | 9 | RCC_01_EIFS-EPS | 1454277.1207 | 1067346.16 | 2098013.8528 | 69.32% | 50.87% | 3552290.9735 | 3165360.0128 | 10 | 8 | 9 | RCC_01_EIFS-EPS | 1882559.3764 | 1380568.8295 | 2098013.8528 | 89.73% | 65.8% | 3980573.2292 | 3478582.6823 | 10 | 8 | 9
RCC_01A EIFS-MW | 207005.8512 | 171695.4164 | 2110476.8032 | 9.808% | 8.135% | 2317482.6544 | 2282172.2196 | 11 | 10 | 11 | RCC_01A EIFS-MW | 463722.6272 | 357684.0986 | 2110476.8032 | 21.97% | 16.95% | 2574199.4304 | 2468160.9018 | 11 | 7 | 8 | RCC_01A EIFS-MW | 1351859.4969 | 1026404.0657 | 2110476.8032 | 64.05% | 48.63% | 3462336.3001 | 3136880.8689 | 11 | 4 | 8 | RCC_01A EIFS-MW | 1750547.7685 | 1328353.9987 | 2110476.8032 | 82.95% | 62.94% | 3861024.5716 | 3438830.8019 | 11 | 4 | 8
RCC_02 B-EIFS-EPS | 198548.02 | 162465.612 | 2044960.2244 | 9.709% | 7.945% | 2243508.2444 | 2207425.8363 | 4 | 4 | 6 | RCC_02 B-EIFS-EPS | 454527.7662 | 344641.3881 | 2044960.2244 | 22.23% | 16.85% | 2499487.9906 | 2389601.6124 | 4 | 3 | 5 | RCC_02 B-EIFS-EPS | 1328615.0174 | 990596.7533 | 2044960.2244 | 64.97% | 48.44% | 3373575.2417 | 3035556.9776 | 4 | 2 | 5 | RCC_02 B-EIFS-EPS | 1720196.0886 | 1281661.3461 | 2044960.2244 | 84.12% | 62.67% | 3765156.3129 | 3326621.5705 | 4 | 2 | 5
RCC_02A B-EIFS-MW | 195659.1177 | 161440.8662 | 2049106.2408 | 9.549% | 7.879% | 2244765.3585 | 2210547.107 | 6 | 5 | 8 | RCC_02A B-EIFS-MW | 440118.3402 | 337094.1282 | 2049106.2408 | 21.48% | 16.45% | 2489224.581 | 2386200.369 | 6 | 1 | 4 | RCC_02A B-EIFS-MW | 1283670.4062 | 967248.28 | 2049106.2408 | 62.65% | 47.2% | 3332776.647 | 3016354.5208 | 6 | 1 | 4 | RCC_02A B-EIFS-MW | 1662192.7689 | 1251690.354 | 2049106.2408 | 81.12% | 61.08% | 3711299.0097 | 3300796.5948 | 6 | 1 | 4 | recommendation for fLCC+eLCC without D for regular GWP valuation
RCC_02B B-V | 201614.9014 | 156155.0197 | 2068703.3277 | 9.746% | 7.548% | 2270318.2291 | 2224858.3474 | 8 | 8 | 9 | RCC_02B B-V | 475179.288 | 325262.9955 | 2068703.3277 | 22.97% | 15.72% | 2543882.6157 | 2393966.3232 | 8 | 5 | 6 | RCC_02B B-V | 1398824.5338 | 932433.9769 | 2068703.3277 | 67.62% | 45.07% | 3467527.8615 | 3001137.3046 | 8 | 5 | 3 | RCC_02B B-V | 1811867.5711 | 1206535.2131 | 2068703.3277 | 87.58% | 58.32% | 3880570.8987 | 3275238.5407 | 8 | 5 | 3
RCC_03 SLB | 207569.2473 | 169322.5701 | 2020971.5917 | 10.27% | 8.378% | 2228540.8389 | 2190294.1617 | 1 | 2 | 5 | RCC_03 SLB | 493345.8133 | 374017.7891 | 2020971.5917 | 24.41% | 18.51% | 2514317.4049 | 2394989.3807 | 1 | 4 | 7 | RCC_03 SLB | 1448969.4581 | 1080746.018 | 2020971.5917 | 71.7% | 53.48% | 3469941.0498 | 3101717.6096 | 1 | 6 | 7 | RCC_03 SLB | 1875652.9834 | 1397899.3503 | 2020971.5917 | 92.81% | 69.17% | 3896624.5751 | 3418870.9419 | 1 | 6 | 7 | recommendation based on fLCC does not change as nothing changes regarding fLCC; fLCC recommendation never = fLCC+eLCC recommendation!
RCC_04 W-VM | 202426.4874 | 122890.8074 | 2059882.8627 | 9.827% | 5.966% | 2262309.3501 | 2182773.6701 | 7 | 7 | 4 | RCC_04 W-VM | 490752.4116 | 259972.2794 | 2059882.8627 | 23.82% | 12.62% | 2550635.2742 | 2319855.1421 | 7 | 6 | 2 | RCC_04 W-VM | 1450917.5653 | 744124.1655 | 2059882.8627 | 70.44% | 36.12% | 3510800.428 | 2804007.0281 | 7 | 7 | 2 | RCC_04 W-VM | 1879342.0699 | 962151.2201 | 2059882.8627 | 91.24% | 46.71% | 3939224.9325 | 3022034.0828 | 7 | 7 | 2
RCC_05 hybrid | 150093.1279 | 41095.3315 | 2038061.8652 | 7.365% | 2.016% | 2188154.9931 | 2079157.1967 | 3 | 1 | 2 | RCC_05 hybrid | 451450.1056 | 95880.5589 | 2038061.8652 | 22.15% | 4.704% | 2489511.9708 | 2133942.4241 | 3 | 2 | 1 | RCC_05 hybrid | 1386872.9247 | 279926.963 | 2038061.8652 | 68.05% | 13.73% | 3424934.7899 | 2317988.8282 | 3 | 3 | 1 | RCC_05 hybrid | 1799331.4126 | 362164.2045 | 2038061.8652 | 88.29% | 17.77% | 3837393.2778 | 2400226.0697 | 3 | 3 | 1 | changes from recommendation recommendation for fLCC+eLCC without D to recommendation with D at increasing monetary valuation
RCC_06 CW | 208229.4756 | 136262.1546 | 2717294.5194 | 7.663% | 5.015% | 2925523.9951 | 2853556.674 | 13 | 13 | 13 | RCC_06 CW | 498062.2483 | 305068.5503 | 2717294.5194 | 18.33% | 11.23% | 3215356.7677 | 3022363.0697 | 13 | 12 | 12 | RCC_06 CW | 1465022.0045 | 880698.1142 | 2717294.5194 | 53.91% | 32.41% | 4182316.5239 | 3597992.6337 | 13 | 9 | 11 | RCC_06 CW | 1896606.6912 | 1138517.922 | 2717294.5194 | 69.8% | 41.9% | 4613901.2106 | 3855812.4414 | 13 | 9 | 10
Wood_04 VM | 208822.9192 | 17361.9359 | 2027407.5501 | 10.3% | 0.8564% | 2236230.4693 | 2044769.486 | 2 | 3 | 1 | Wood_04 VM | 947111.0224 | 310174.7827 | 2027407.5501 | 46.72% | 15.3% | 2974518.5726 | 2337582.3328 | 2 | 9 | 3 | Wood_04 VM | 3043716.672 | 1058492.7664 | 2027407.5501 | 150.1% | 52.21% | 5071124.2221 | 3085900.3165 | 2 | 10 | 6 | Wood_04 VM | 3953048.9668 | 1375995.5511 | 2027407.5501 | 195% | 67.87% | 5980456.5169 | 3403403.1012 | 2 | 10 | 6 | recommendation for fLCC+eLCC with D only at minimum GWP valuation
Wood_04A EIFS-WF | 211802.5625 | 53110.7664 | 2048538.6886 | 10.34% | 2.593% | 2260341.2511 | 2101649.4551 | 5 | 6 | 3 | Wood_04A EIFS-WF | 984156.549 | 422510.7929 | 2048538.6886 | 48.04% | 20.62% | 3032695.2377 | 2471049.4816 | 5 | 10 | 10 | Wood_04A EIFS-WF | 3170601.9679 | 1408452.8569 | 2048538.6886 | 154.8% | 68.75% | 5219140.6565 | 3456991.5455 | 5 | 11 | 10 | Wood_04A EIFS-WF | 4118314.1771 | 1830723.6992 | 2048538.6886 | 201% | 89.37% | 6166852.8657 | 3879262.3879 | 5 | 11 | 11
Wood_05 hybrid | 264547.0623 | 129225.8474 | 2079617.3769 | 12.72% | 6.214% | 2344164.4392 | 2208843.2244 | 9 | 11 | 7 | Wood_05 hybrid | 1032026.3182 | 568851.3092 | 2079617.3769 | 49.63% | 27.35% | 3111643.6951 | 2648468.6861 | 9 | 11 | 11 | Wood_05 hybrid | 3266101.3635 | 1819585.1749 | 2079617.3769 | 157.1% | 87.5% | 5345718.7404 | 3899202.5518 | 9 | 12 | 12 | Wood_05 hybrid | 4239682.8527 | 2362241.9838 | 2079617.3769 | 203.9% | 113.6% | 6319300.2296 | 4441859.3607 | 9 | 12 | 13
Wood_06 CW | 242603.0767 | 57935.861 | 2651549.2619 | 9.149% | 2.185% | 2894152.3387 | 2709485.1229 | 12 | 12 | 12 | Wood_06 CW | 992526.9887 | 389240.5411 | 2651549.2619 | 37.43% | 14.68% | 3644076.2506 | 3040789.8031 | 12 | 13 | 13 | Wood_06 CW | 3159066.1955 | 1283054.2321 | 2651549.2619 | 119.1% | 48.39% | 5810615.4575 | 3934603.494 | 12 | 13 | 13 | Wood_06 CW | 4101857.2619 | 1666728.6384 | 2651549.2619 | 154.7% | 62.86% | 6753406.5238 | 4318277.9003 | 12 | 13 | 12
High TP | [10 empty] | High TP | [10 empty] | High TP | [10 empty] | High TP
RCC_01_EIFS-EPS | 74304.588 | 67121.167 | 1543833.1217 | 4.813% | 4.348% | 1618137.7097 | 1610954.2886 | 10 | 10 | 10 | RCC_01_EIFS-EPS | 188061.3476 | 162303.1119 | 1543833.1217 | 12.18% | 10.51% | 1731894.4693 | 1706136.2336 | 10 | 10 | 10 | RCC_01_EIFS-EPS | 542878.2494 | 463416.8792 | 1543833.1217 | 35.16% | 30.02% | 2086711.3711 | 2007250.0009 | 10 | 10 | 10 | RCC_01_EIFS-EPS | 702751.3324 | 599657.1039 | 1543833.1217 | 45.52% | 38.84% | 2246584.454 | 2143490.2256 | 10 | 10 | 11
RCC_01A EIFS-MW | 73191.0638 | 66993.244 | 1552989.6581 | 4.713% | 4.314% | 1626180.7219 | 1619982.9022 | 11 | 11 | 11 | RCC_01A EIFS-MW | 181371.0622 | 159708.6574 | 1552989.6581 | 11.68% | 10.28% | 1734360.7203 | 1712698.3155 | 11 | 11 | 11 | RCC_01A EIFS-MW | 522331.7352 | 455760.5047 | 1552989.6581 | 33.63% | 29.35% | 2075321.3933 | 2008750.1629 | 11 | 9 | 11 | RCC_01A EIFS-MW | 676433.4255 | 590070.9213 | 1552989.6581 | 43.56% | 38% | 2229423.0836 | 2143060.5794 | 11 | 9 | 10
RCC_02 B-EIFS-EPS | 69820.1291 | 63449.5233 | 1505893.0627 | 4.636% | 4.213% | 1575713.1917 | 1569342.586 | 4 | 5 | 6 | RCC_02 B-EIFS-EPS | 176585.9368 | 154032.3645 | 1505893.0627 | 11.73% | 10.23% | 1682478.9995 | 1659925.4271 | 4 | 6 | 6 | RCC_02 B-EIFS-EPS | 510346.1514 | 440888.0237 | 1505893.0627 | 33.89% | 29.28% | 2016239.2141 | 1946781.0864 | 4 | 4 | 9 | RCC_02 B-EIFS-EPS | 660831.3932 | 570715.4317 | 1505893.0627 | 43.88% | 37.9% | 2166724.4558 | 2076608.4944 | 4 | 4 | 9
RCC_02A B-EIFS-MW | 68807.9797 | 62783.5498 | 1508939.1432 | 4.56% | 4.161% | 1577747.123 | 1571722.693 | 6 | 6 | 7 | RCC_02A B-EIFS-MW | 172677.3242 | 151562.292 | 1508939.1432 | 11.44% | 10.04% | 1681616.4674 | 1660501.4352 | 6 | 5 | 8 | RCC_02A B-EIFS-MW | 498598.676 | 433667.8119 | 1508939.1432 | 33.04% | 28.74% | 2007537.8192 | 1942606.9551 | 6 | 2 | 7 | RCC_02A B-EIFS-MW | 645711.3441 | 561471.884 | 1508939.1432 | 42.79% | 37.21% | 2154650.4873 | 2070411.0272 | 6 | 2 | 7
RCC_02B B-V | 70043.9486 | 61914.1464 | 1523337.1336 | 4.598% | 4.064% | 1593381.0822 | 1585251.28 | 7 | 8 | 9 | RCC_02B B-V | 178179.2154 | 147232.2027 | 1523337.1336 | 11.7% | 9.665% | 1701516.349 | 1670569.3363 | 7 | 7 | 9 | RCC_02B B-V | 516114.2105 | 419739.0833 | 1523337.1336 | 33.88% | 27.55% | 2039451.3441 | 1943076.2169 | 7 | 7 | 8 | RCC_02B B-V | 668467.6259 | 543377.674 | 1523337.1336 | 43.88% | 35.67% | 2191804.7595 | 2066714.8076 | 7 | 7 | 6
RCC_03 SLB | 71909.0283 | 65092.691 | 1479056.7687 | 4.862% | 4.401% | 1550965.797 | 1544149.4597 | 1 | 2 | 4 | RCC_03 SLB | 185445.6125 | 160806.4564 | 1479056.7687 | 12.54% | 10.87% | 1664502.3812 | 1639863.2251 | 1 | 1 | 5 | RCC_03 SLB | 537319.3887 | 461208.466 | 1479056.7687 | 36.33% | 31.18% | 2016376.1574 | 1940265.2347 | 1 | 5 | 6 | RCC_03 SLB | 695565.3953 | 596811.7935 | 1479056.7687 | 47.03% | 40.35% | 2174622.164 | 2075868.5623 | 1 | 5 | 8 | recommendation based on fLCC does not change as nothing changes regarding fLCC; fLCC recommendation = fLCC+eLCC recommendation only at low valuation ! high TP recommendation = standard recommendation
RCC_04 W-VM | 71497.8369 | 58305.579 | 1523890.6117 | 4.692% | 3.826% | 1595388.4485 | 1582196.1907 | 8 | 9 | 8 | RCC_04 W-VM | 181595.5958 | 136528.0677 | 1523890.6117 | 11.92% | 8.959% | 1705486.2075 | 1660418.6793 | 8 | 9 | 7 | RCC_04 W-VM | 525496.3875 | 387226.2554 | 1523890.6117 | 34.48% | 25.41% | 2049386.9992 | 1911116.867 | 8 | 8 | 5 | RCC_04 W-VM | 680517.1407 | 501081.385 | 1523890.6117 | 44.66% | 32.88% | 2204407.7524 | 2024971.9967 | 8 | 8 | 5
RCC_05 hybrid | 51349.6881 | 32697.1199 | 1528473.2128 | 3.36% | 2.139% | 1579822.901 | 1561170.3327 | 9 | 7 | 5 | RCC_05 hybrid | 142910.601 | 71897.9399 | 1528473.2128 | 9.35% | 4.704% | 1671383.8139 | 1600371.1528 | 9 | 3 | 3 | RCC_05 hybrid | 422630.7195 | 201148.9945 | 1528473.2128 | 27.65% | 13.16% | 1951103.9324 | 1729622.2073 | 9 | 1 | 3 | RCC_05 hybrid | 547884.3196 | 260317.8946 | 1528473.2128 | 35.85% | 17.03% | 2076357.5324 | 1788791.1074 | 9 | 1 | 3 | recommendation for fLCC+eLCC without D; same as Standard at minimum valuation
RCC_06 CW | 75790.0994 | 62367.2416 | 1992431.5191 | 3.804% | 3.13% | 2068221.6185 | 2054798.7606 | 13 | 13 | 13 | RCC_06 CW | 202673.3535 | 160575.8367 | 1992431.5191 | 10.17% | 8.059% | 2195104.8726 | 2153007.3558 | 13 | 13 | 13 | RCC_06 CW | 591670.8467 | 464252.3108 | 1992431.5191 | 29.7% | 23.3% | 2584102.3657 | 2456683.8298 | 13 | 13 | 13 | RCC_06 CW | 766043.0392 | 600729.8649 | 1992431.5191 | 38.45% | 30.15% | 2758474.5583 | 2593161.3839 | 13 | 12 | 13
Wood_04 VM | 53049.1434 | 21259.1724 | 1507964.1121 | 3.518% | 1.41% | 1561013.2555 | 1529223.2845 | 5 | 3 | 2 | Wood_04 VM | 173207.5375 | 51088.9907 | 1507964.1121 | 11.49% | 3.388% | 1681171.6496 | 1559053.1029 | 5 | 4 | 1 | Wood_04 VM | 526261.6259 | 145253.2643 | 1507964.1121 | 34.9% | 9.632% | 2034225.738 | 1653217.3765 | 5 | 6 | 1 | Wood_04 VM | 682441.9758 | 187831.4507 | 1507964.1121 | 45.26% | 12.46% | 2190406.088 | 1695795.5628 | 5 | 6 | 1 | recommendation for fLCC+eLCC with D; same as Standard at minimum valuation
Wood_04A EIFS-WF | 50612.8736 | 24238.5435 | 1498082.425 | 3.379% | 1.618% | 1548695.2985 | 1522320.9685 | 3 | 1 | 1 | Wood_04A EIFS-WF | 168484.2906 | 61162.3342 | 1498082.425 | 11.25% | 4.083% | 1666566.7156 | 1559244.7591 | 3 | 2 | 2 | Wood_04A EIFS-WF | 513725.2808 | 176520.6017 | 1498082.425 | 34.29% | 11.78% | 2011807.7057 | 1674603.0266 | 3 | 3 | 2 | Wood_04A EIFS-WF | 666294.534 | 228523.951 | 1498082.425 | 44.48% | 15.25% | 2164376.959 | 1726606.376 | 3 | 3 | 2 | recommendation for fLCC+eLCC with and without D at low valuation (very close to other solutions)
Wood_05 hybrid | 70411.2561 | 48353.4738 | 1494949.8748 | 4.71% | 3.234% | 1565361.1309 | 1543303.3486 | 2 | 4 | 3 | Wood_05 hybrid | 206672.5504 | 119777.2498 | 1494949.8748 | 13.82% | 8.012% | 1701622.4252 | 1614727.1246 | 2 | 8 | 4 | Wood_05 hybrid | 615922.0466 | 344206.95 | 1494949.8748 | 41.2% | 23.02% | 2110871.9214 | 1839156.8248 | 2 | 11 | 4 | Wood_05 hybrid | 798219.0581 | 445550.7595 | 1494949.8748 | 53.39% | 29.8% | 2293168.9329 | 1940500.6344 | 2 | 11 | 4
Wood_06 CW | 67184.5476 | 34989.4427 | 1950872.7006 | 3.444% | 1.794% | 2018057.2482 | 1985862.1433 | 12 | 12 | 12 | Wood_06 CW | 209482.3121 | 89378.5001 | 1950872.7006 | 10.74% | 4.581% | 2160355.0127 | 2040251.2007 | 12 | 12 | 12 | Wood_06 CW | 631454.3288 | 258235.9922 | 1950872.7006 | 32.37% | 13.24% | 2582327.0294 | 2209108.6928 | 12 | 12 | 12 | Wood_06 CW | 818669.433 | 334214.7365 | 1950872.7006 | 41.96% | 17.13% | 2769542.1336 | 2285087.4371 | 12 | 13 | 12
Low TP | [10 empty] | Low TP | [10 empty] | Low TP | [10 empty] | Low TP
RCC_01_EIFS-EPS | 588896.1384 | 410046.9926 | 3473353.6072 | 16.95% | 11.81% | 4062249.7456 | 3883400.5998 | 9 | 8 | 9 | RCC_01_EIFS-EPS | 1770079.6034 | 1137331.0901 | 3473353.6072 | 50.96% | 32.74% | 5243433.2106 | 4610684.6973 | 9 | 7 | 8 | RCC_01_EIFS-EPS | 5273049.3679 | 3325160.5034 | 3473353.6072 | 151.8% | 95.73% | 8746402.9752 | 6798514.1106 | 9 | 6 | 9 | RCC_01_EIFS-EPS | 6827239.6903 | 4300195.8422 | 3473353.6072 | 196.6% | 123.8% | 10300593.2976 | 7773549.4494 | 9 | 6 | 8
RCC_01A EIFS-MW | 566119.2981 | 410160.2681 | 3494411.3017 | 16.2% | 11.74% | 4060530.5998 | 3904571.5699 | 10 | 7 | 11 | RCC_01A EIFS-MW | 1612417.7489 | 1074792.9404 | 3494411.3017 | 46.14% | 30.76% | 5106829.0506 | 4569204.2421 | 10 | 3 | 7 | RCC_01A EIFS-MW | 4765285.3383 | 3116763.7794 | 3494411.3017 | 136.4% | 89.19% | 8259696.64 | 6611175.0811 | 10 | 3 | 7 | RCC_01A EIFS-MW | 6171145.9336 | 4032688.3466 | 3494411.3017 | 176.6% | 115.4% | 9665557.2353 | 7527099.6483 | 10 | 3 | 7
RCC_02 B-EIFS-EPS | 546508.3041 | 387729.3159 | 3376264.5622 | 16.19% | 11.48% | 3922772.8663 | 3763993.8781 | 4 | 3 | 5 | RCC_02 B-EIFS-EPS | 1584543.0331 | 1029983.9412 | 3376264.5622 | 46.93% | 30.51% | 4960807.5954 | 4406248.5035 | 4 | 2 | 5 | RCC_02 B-EIFS-EPS | 4693824.4319 | 2989530.0754 | 3376264.5622 | 139% | 88.55% | 8070088.9942 | 6365794.6376 | 4 | 2 | 5 | RCC_02 B-EIFS-EPS | 6077670.3008 | 3866631.7241 | 3376264.5622 | 180% | 114.5% | 9453934.863 | 7242896.2863 | 4 | 2 | 6
RCC_02A B-EIFS-MW | 536081.4958 | 385344.5261 | 3383269.7693 | 15.85% | 11.39% | 3919351.2651 | 3768614.2954 | 6 | 2 | 6 | RCC_02A B-EIFS-MW | 1523065.7607 | 1001926.4199 | 3383269.7693 | 45.02% | 29.61% | 4906335.53 | 4385196.1892 | 6 | 1 | 4 | RCC_02A B-EIFS-MW | 4497741.1519 | 2898623.2483 | 3383269.7693 | 132.9% | 85.68% | 7881010.9212 | 6281893.0177 | 6 | 1 | 4 | RCC_02A B-EIFS-MW | 5824220.9107 | 3749704.0035 | 3383269.7693 | 172.1% | 110.8% | 9207490.68 | 7132973.7728 | 6 | 1 | 5 | fLCC+eLCC recommendation without D at low, medium, high valuation;
RCC_02B B-V | 562823.6269 | 363188.1463 | 3416381.4687 | 16.47% | 10.63% | 3979205.0956 | 3779569.615 | 7 | 6 | 8 | RCC_02B B-V | 1711705.7125 | 962212.9991 | 3416381.4687 | 50.1% | 28.16% | 5128087.1812 | 4378594.4678 | 7 | 5 | 3 | RCC_02B B-V | 5122728.4762 | 2793299.7331 | 3416381.4687 | 149.9% | 81.76% | 8539109.9449 | 6209681.2019 | 7 | 4 | 3 | RCC_02B B-V | 6636663.6782 | 3613370.9708 | 3416381.4687 | 194.3% | 105.8% | 10053045.147 | 7029752.4395 | 7 | 4 | 4
RCC_03 SLB | 586097.2351 | 418487.3303 | 3359262.4158 | 17.45% | 12.46% | 3945359.6509 | 3777749.7461 | 3 | 4 | 7 | RCC_03 SLB | 1768514.8737 | 1170233.2216 | 3359262.4158 | 52.65% | 34.84% | 5127777.2895 | 4529495.6374 | 3 | 4 | 6 | RCC_03 SLB | 5270709.2768 | 3426128.7316 | 3359262.4158 | 156.9% | 102% | 8629971.6926 | 6785391.1474 | 3 | 5 | 8 | RCC_03 SLB | 6823933.3551 | 4430735.1729 | 3359262.4158 | 203.1% | 131.9% | 10183195.7708 | 7789997.5887 | 3 | 5 | 9
RCC_04 W-VM | 568319.6272 | 208700.4237 | 3381828.1783 | 16.81% | 6.171% | 3950147.8055 | 3590528.602 | 5 | 5 | 3 | RCC_04 W-VM | 1812208.7932 | 608440.337 | 3381828.1783 | 53.59% | 17.99% | 5194036.9714 | 3990268.5152 | 5 | 6 | 2 | RCC_04 W-VM | 5466532.0662 | 1784771.6582 | 3381828.1783 | 161.6% | 52.78% | 8848360.2445 | 5166599.8364 | 5 | 7 | 2 | RCC_04 W-VM | 7083019.4197 | 2305399.5746 | 3381828.1783 | 209.4% | 68.17% | 10464847.5979 | 5687227.7529 | 5 | 7 | 2
RCC_05 hybrid | 467750.119 | -20726.1135 | 3331685.9912 | 14.04% | -0.6221% | 3799436.1103 | 3310959.8777 | 1 | 1 | 1 | RCC_05 hybrid | 1918793.9748 | 104060.4855 | 3331685.9912 | 57.59% | 3.123% | 5250479.9661 | 3435746.4768 | 1 | 8 | 1 | RCC_05 hybrid | 6030093.833 | 389459.4403 | 3331685.9912 | 181% | 11.69% | 9361779.8242 | 3721145.4315 | 1 | 9 | 1 | RCC_05 hybrid | 7827254.8173 | 504206.1692 | 3331685.9912 | 234.9% | 15.13% | 11158940.8085 | 3835892.1604 | 1 | 9 | 1 | recommendation based on fLCC does not change as nothing changes regarding fLCC; fLCC recommendation = fLCC+eLCC recommendation with D; fLCC recommendation = fLCC+eLCC recommendation without D at lowest GWP valuation; low TP recommendation only for fLCC
RCC_06 CW | 551265.3894 | 251662.4945 | 4408017.4406 | 12.51% | 5.709% | 4959282.83 | 4659679.9352 | 13 | 12 | 13 | RCC_06 CW | 1624054.4285 | 681350.9898 | 4408017.4406 | 36.84% | 15.46% | 6032071.8691 | 5089368.4304 | 13 | 9 | 10 | RCC_06 CW | 4820728.0977 | 1966445.6288 | 4408017.4406 | 109.4% | 44.61% | 9228745.5384 | 6374463.0694 | 13 | 8 | 6 | RCC_06 CW | 6241148.7823 | 2538127.6282 | 4408017.4406 | 141.6% | 57.58% | 10649166.2229 | 6946145.0688 | 13 | 8 | 3
Wood_04 VM | 854888.2428 | -29122.4861 | 3354515.1293 | 25.48% | -0.8682% | 4209403.3721 | 3325392.6432 | 2 | 9 | 2 | Wood_04 VM | 5008634.9673 | 1655352.6128 | 3354515.1293 | 149.3% | 49.35% | 8363150.0966 | 5009867.7421 | 2 | 10 | 9 | Wood_04 VM | 16343445.443 | 5900299.0676 | 3354515.1293 | 487.2% | 175.9% | 19697960.5723 | 9254814.1969 | 2 | 10 | 10 | Wood_04 VM | 21234448.3871 | 7678388.8118 | 3354515.1293 | 633% | 228.9% | 24588963.5164 | 11032903.9411 | 2 | 10 | 10
Wood_04A EIFS-WF | 888436.9065 | 149345.5342 | 3462527.625 | 25.66% | 4.313% | 4350964.5315 | 3611873.1592 | 8 | 10 | 4 | Wood_04A EIFS-WF | 5272244.5824 | 2317257.9816 | 3462527.625 | 152.3% | 66.92% | 8734772.2073 | 5779785.6066 | 8 | 11 | 11 | Wood_04A EIFS-WF | 17225915.0065 | 7963047.6763 | 3462527.625 | 497.5% | 230% | 20688442.6314 | 11425575.3013 | 8 | 13 | 12 | Wood_04A EIFS-WF | 22382595.6873 | 10358050.867 | 3462527.625 | 646.4% | 299.1% | 25845123.3123 | 13820578.492 | 8 | 13 | 12
Wood_05 hybrid | 994103.7507 | 357306.068 | 3546133.7712 | 28.03% | 10.08% | 4540237.5219 | 3903439.8392 | 11 | 11 | 10 | Wood_05 hybrid | 5229664.0952 | 2757478.5477 | 3546133.7712 | 147.5% | 77.76% | 8775797.8663 | 6303612.3189 | 11 | 12 | 13 | Wood_05 hybrid | 16886119.3778 | 9170540.8545 | 3546133.7712 | 476.2% | 258.6% | 20432253.149 | 12716674.6257 | 11 | 12 | 13 | Wood_05 hybrid | 21930913.6345 | 11916974.4391 | 3546133.7712 | 618.4% | 336.1% | 25477047.4056 | 15463108.2103 | 11 | 12 | 13
Wood_06 CW | 899598.4478 | 72036.6984 | 4331642.1138 | 20.77% | 1.663% | 5231240.5616 | 4403678.8121 | 12 | 13 | 12 | Wood_06 CW | 4941011.8504 | 1829268.9151 | 4331642.1138 | 114.1% | 42.23% | 9272653.9641 | 6160911.0289 | 12 | 13 | 12 | Wood_06 CW | 16030522.7957 | 6352276.4956 | 4331642.1138 | 370.1% | 146.6% | 20362164.9094 | 10683918.6094 | 12 | 11 | 11 | Wood_06 CW | 20825014.585 | 8262474.117 | 4331642.1138 | 480.8% | 190.7% | 25156656.6988 | 12594116.2307 | 12 | 11 | 11
standard scenario: valuation changes recommendations, eLCC changes recommendations at higher valuation; high TP scenario: eLCC change recommendations only at higher valuation; low TP scenario: valuation does not matter much, eLCC does not change recommendations (!win-win situation);

## CG400
Minimum valuation; GWP at current GWP tax rate 0,025€/kg | [10 empty] | Minimum valuation | [10 empty] | Medium valuation | [10 empty] | Maximum valuation
Standard | [10 empty] | Standard | [10 empty] | Standard | [10 empty] | Standard
Variation name | eLCC noD | eLCC inclD | fLCC | ratio eLCC /fLCC noD | ratio eLCC /fLCC inclD | TOTAL no D | TOTAl incl. D | ranking based on fLCC | ranking based on fLCC+eLCC no D | ranking based on fLCC+eLCC incl D | Variation name | eLCC noD | eLCC inclD | fLCC | ratio eLCC /fLCC noD | ratio eLCC /fLCC inclD | TOTAL no D | TOTAl incl. D | ranking based on fLCC | ranking based on fLCC+eLCC no D | ranking based on fLCC+eLCC incl D | Variation name | eLCC noD | eLCC inclD | fLCC | ratio eLCC /fLCC noD | ratio eLCC /fLCC inclD | TOTAL no D | TOTAl incl. D | ranking based on fLCC | ranking based on fLCC+eLCC no D | ranking based on fLCC+eLCC incl D | Variation name | eLCC noD | eLCC inclD | fLCC | ratio eLCC /fLCC noD | ratio eLCC /fLCC inclD | TOTAL no D | TOTAl incl. D | ranking based on fLCC | ranking based on fLCC+eLCC no D | ranking based on fLCC+eLCC incl D
MEP01 | 1589887.5896 | -139471.1481 | 1115159.1152 | 142.6% | -12.51% | 2705046.7048 | 975687.9671 | 1 | 2 | 1 | MEP01 | 2062771.0458 | 279060.5437 | 1115159.1152 | 185% | 25.02% | 3177930.161 | 1394219.6589 | 1 | 1 | 1 | MEP01 | 2981472.4634 | 1448856.2053 | 1115159.1152 | 267.4% | 129.9% | 4096631.5786 | 2564015.3205 | 1 | 3 | 3 | MEP01 | 3871440.7097 | 1879847.3011 | 1115159.1152 | 347.2% | 168.6% | 4986599.8249 | 2995006.4163 | 1 | 3 | 3
MEP02 | 1644655.4375 | -352.1934 | 1259251.5503 | 130.6% | -0.02797% | 2903906.9878 | 1258899.3569 | 2 | 5 | 4 | MEP02 | 2586905.7091 | 888759.6053 | 1259251.5503 | 205.4% | 70.58% | 3846157.2594 | 2148011.1556 | 2 | 6 | 5 | MEP02 | 4766964.0909 | 3303755.4626 | 1259251.5503 | 378.6% | 262.4% | 6026215.6412 | 4563007.0129 | 2 | 5 | 5 | MEP02 | 6190794.7009 | 4289406.2488 | 1259251.5503 | 491.6% | 340.6% | 7450046.2512 | 5548657.7991 | 2 | 5 | 5
MEP02A | 1199175.9294 | 56718.8421 | 1486969.2792 | 80.65% | 3.814% | 2686145.2086 | 1543688.1213 | 6 | 1 | 6 | MEP02A | 2303633.8287 | 1126260.5541 | 1486969.2792 | 154.9% | 75.74% | 3790603.1079 | 2613229.8333 | 6 | 5 | 6 | MEP02A | 5026849.7019 | 4018056.3276 | 1486969.2792 | 338.1% | 270.2% | 6513818.9811 | 5505025.6069 | 6 | 6 | 6 | MEP02A | 6527929.4165 | 5217009.8148 | 1486969.2792 | 439% | 350.8% | 8014898.6957 | 6703979.0941 | 6 | 6 | 6
MEP03 | 1594543.9726 | -40883.0442 | 1291475.7391 | 123.5% | -3.166% | 2886019.7116 | 1250592.6948 | 4 | 4 | 3 | MEP03 | 1877917.1564 | 191260.7397 | 1291475.7391 | 145.4% | 14.81% | 3169392.8954 | 1482736.4787 | 4 | 1 | 2 | MEP03 | 2288667.2752 | 839931.8235 | 1291475.7391 | 177.2% | 65.04% | 3580143.0143 | 2131407.5625 | 4 | 1 | 1 | MEP03 | 2961753.9336 | 1079156.9308 | 1291475.7391 | 229.3% | 83.56% | 4253229.6726 | 2370632.6698 | 4 | 1 | 1
MEP04 | 1632566.8754 | -4787.8782 | 1384924.7406 | 117.9% | -0.3457% | 3017491.616 | 1380136.8623 | 5 | 6 | 5 | MEP04 | 1975953.7142 | 283202.7586 | 1384924.7406 | 142.7% | 20.45% | 3360878.4548 | 1668127.4991 | 5 | 3 | 3 | MEP04 | 2540219.6664 | 1074498.082 | 1384924.7406 | 183.4% | 77.59% | 3925144.407 | 2459422.8226 | 5 | 2 | 2 | MEP04 | 3289328.8179 | 1384700.2237 | 1384924.7406 | 237.5% | 99.98% | 4674253.5584 | 2769624.9642 | 5 | 2 | 2
MEP05 | 1586278.6368 | -51076.1169 | 1259788.6378 | 125.9% | -4.054% | 2846067.2746 | 1208712.5209 | 3 | 3 | 2 | MEP05 | 2183659.4511 | 490908.4955 | 1259788.6378 | 173.3% | 38.97% | 3443448.089 | 1750697.1333 | 3 | 4 | 4 | MEP05 | 3441577.4898 | 1975855.9054 | 1259788.6378 | 273.2% | 156.8% | 4701366.1276 | 3235644.5432 | 3 | 4 | 4 | MEP05 | 4468502.667 | 2563874.0728 | 1259788.6378 | 354.7% | 203.5% | 5728291.3048 | 3823662.7106 | 3 | 4 | 4
High TP | [10 empty] | High TP | [10 empty] | High TP | [10 empty] | High TP
Variation name | eLCC noD | eLCC inclD | fLCC | ratio eLCC /fLCC noD | ratio eLCC /fLCC inclD | TOTAL no D | TOTAl incl. D |  |  |  | Variation name | eLCC noD | eLCC inclD | fLCC | ratio eLCC /fLCC noD | ratio eLCC /fLCC inclD | TOTAL no D | TOTAl incl. D |  |  |  | Variation name | eLCC noD | eLCC inclD | fLCC | ratio eLCC /fLCC noD | ratio eLCC /fLCC inclD | TOTAL no D | TOTAl incl. D |  |  |  | Variation name | eLCC noD | eLCC inclD | fLCC | ratio eLCC /fLCC noD | ratio eLCC /fLCC inclD | TOTAL no D | TOTAl incl. D
MEP01 | 340241.3036 | 107406.2672 | 694507.3445 | 48.99% | 15.47% | 1034748.6481 | 801913.6117 | 1 | 1 | 1 | MEP01 | 507551.2572 | 262035.067 | 694507.3445 | 73.08% | 37.73% | 1202058.6017 | 956542.4115 | 1 | 2 | 1 | MEP01 | 1088355.1082 | 710177.7865 | 694507.3445 | 156.7% | 102.3% | 1782862.4527 | 1404685.131 | 1 | 3 | 3 | MEP01 | 1413190.235 | 921752.7719 | 694507.3445 | 203.5% | 132.7% | 2107697.5795 | 1616260.1164 | 1 | 3 | 3
MEP02 | 360350.7075 | 138753.2895 | 735427.2787 | 49% | 18.87% | 1095777.9862 | 874180.5682 | 2 | 5 | 4 | MEP02 | 684315.3364 | 450336.1556 | 735427.2787 | 93.05% | 61.23% | 1419742.6151 | 1185763.4343 | 2 | 5 | 5 | MEP02 | 1682422.8617 | 1321372.5261 | 735427.2787 | 228.8% | 179.7% | 2417850.1404 | 2056799.8049 | 2 | 5 | 5 | MEP02 | 2184894.5268 | 1715715.986 | 735427.2787 | 297.1% | 233.3% | 2920321.8055 | 2451143.2648 | 2 | 5 | 5
MEP02A | 273175.5474 | 118761.0856 | 798742.8938 | 34.2% | 14.87% | 1071918.4412 | 917503.9794 | 6 | 2 | 5 | MEP02A | 657233.5899 | 494933.8859 | 798742.8938 | 82.28% | 61.96% | 1455976.4837 | 1293676.7797 | 6 | 6 | 6 | MEP02A | 1774693.8911 | 1525774.7981 | 798742.8938 | 222.2% | 191% | 2573436.7849 | 2324517.6919 | 6 | 6 | 6 | MEP02A | 2304580.9781 | 1981106.1859 | 798742.8938 | 288.5% | 248% | 3103323.872 | 2779849.0797 | 6 | 6 | 6
MEP03 | 339191.2825 | 118914.922 | 744455.1861 | 45.56% | 15.97% | 1083646.4685 | 863370.1081 | 3 | 3 | 2 | MEP03 | 440104.2573 | 207918.8483 | 744455.1861 | 59.12% | 27.93% | 1184559.4433 | 952374.0344 | 3 | 1 | 1 | MEP03 | 842553.0973 | 485090.0711 | 744455.1861 | 113.2% | 65.16% | 1587008.2833 | 1229545.2572 | 3 | 1 | 1 | MEP03 | 1090614.4375 | 626093.5347 | 744455.1861 | 146.5% | 84.1% | 1835069.6236 | 1370548.7207 | 3 | 1 | 1
MEP04 | 347589.4749 | 126960.8528 | 795999.8058 | 43.67% | 15.95% | 1143589.2806 | 922960.6586 | 5 | 6 | 6 | MEP04 | 469084.1169 | 235516.6162 | 795999.8058 | 58.93% | 29.59% | 1265083.9227 | 1031516.422 | 5 | 3 | 3 | MEP04 | 929199.314 | 567528.8829 | 795999.8058 | 116.7% | 71.3% | 1725199.1198 | 1363528.6886 | 5 | 2 | 2 | MEP04 | 1203438.9677 | 733460.8914 | 795999.8058 | 151.2% | 92.14% | 1999438.7734 | 1529460.6971 | 5 | 2 | 2
MEP05 | 343516.4594 | 122887.8374 | 748329.8655 | 45.9% | 16.42% | 1091846.3249 | 871217.7028 | 4 | 4 | 3 | MEP05 | 556994.0082 | 323426.5075 | 748329.8655 | 74.43% | 43.22% | 1305323.8736 | 1071756.3729 | 4 | 4 | 4 | MEP05 | 1259322.334 | 897651.9029 | 748329.8655 | 168.3% | 120% | 2007652.1995 | 1645981.7683 | 4 | 4 | 4 | MEP05 | 1635049.7933 | 1165071.717 | 748329.8655 | 218.5% | 155.7% | 2383379.6588 | 1913401.5825 | 4 | 4 | 4
LowTP | [10 empty] | LowTP | [10 empty] | LowTP | [10 empty] | LowTP
Variation name | eLCC noD | eLCC inclD | fLCC | ratio eLCC /fLCC noD | ratio eLCC /fLCC inclD | TOTAL no D | TOTAl incl. D |  |  |  | Variation name | eLCC noD | eLCC inclD | fLCC | ratio eLCC /fLCC noD | ratio eLCC /fLCC inclD | TOTAL no D | TOTAl incl. D |  |  |  | Variation name | eLCC noD | eLCC inclD | fLCC | ratio eLCC /fLCC noD | ratio eLCC /fLCC inclD | TOTAL no D | TOTAl incl. D |  |  |  | Variation name | eLCC noD | eLCC inclD | fLCC | ratio eLCC /fLCC noD | ratio eLCC /fLCC inclD | TOTAL no D | TOTAl incl. D
MEP01 | 3993038.9586 | -1988016.8567 | 2275465.9827 | 175.5% | -87.37% | 6268504.9413 | 287449.1261 | 1 | 1 | 1 | MEP01 | 4524719.1202 | 67104.0982 | 2275465.9827 | 198.8% | 2.949% | 6800185.103 | 2342570.081 | 1 | 1 | 1 | MEP01 | 10031652.1448 | 3109839.3981 | 2275465.9827 | 440.9% | 136.7% | 12307118.1275 | 5385305.3809 | 1 | 3 | 3 | MEP01 | 13026300.7372 | 4031679.633 | 2275465.9827 | 572.5% | 177.2% | 15301766.7199 | 6307145.6158 | 1 | 3 | 3
MEP02 | 4219106.5163 | -1469269.8145 | 2795096.8168 | 150.9% | -52.57% | 7014203.333 | 1325827.0023 | 2 | 5 | 4 | MEP02 | 6435852.8177 | 2188935.4675 | 2795096.8168 | 230.3% | 78.31% | 9230949.6345 | 4984032.2842 | 2 | 5 | 5 | MEP02 | 16407962.7813 | 9798936.129 | 2795096.8168 | 587% | 350.6% | 19203059.598 | 12594032.9458 | 2 | 5 | 5 | MEP02 | 21309061.7535 | 12720950.0796 | 2795096.8168 | 762.4% | 455.1% | 24104158.5702 | 15516046.8963 | 2 | 5 | 5
MEP02A | 3150406.8406 | -792122.0531 | 3623491.4353 | 86.94% | -21.86% | 6773898.2759 | 2831369.3822 | 6 | 3 | 6 | MEP02A | 6255074.7418 | 3317222.7098 | 3623491.4353 | 172.6% | 91.55% | 9878566.1772 | 6940714.1451 | 6 | 6 | 6 | MEP02A | 17328599.5475 | 12767399.2358 | 3623491.4353 | 478.2% | 352.4% | 20952090.9828 | 16390890.6711 | 6 | 6 | 6 | MEP02A | 22503476.4824 | 16576317.8785 | 3623491.4353 | 621% | 457.5% | 26126967.9178 | 20199809.3138 | 6 | 6 | 6
MEP03 | 4030494.6804 | -1624429.7323 | 2912464.8925 | 138.4% | -55.78% | 6942959.5729 | 1288035.1602 | 3 | 4 | 3 | MEP03 | 3899740.357 | -314693.5822 | 2912464.8925 | 133.9% | -10.81% | 6812205.2495 | 2597771.3103 | 3 | 1 | 2 | MEP03 | 7662783.7151 | 1118764.5996 | 2912464.8925 | 263.1% | 38.41% | 10575248.6076 | 4031229.4921 | 3 | 1 | 1 | MEP03 | 9914661.6925 | 1410953.3869 | 2912464.8925 | 340.4% | 48.45% | 12827126.585 | 4323418.2795 | 3 | 1 | 1
MEP04 | 4135422.8102 | -1526863.1954 | 3130727.7999 | 132.1% | -48.77% | 7266150.61 | 1603864.6045 | 5 | 6 | 5 | MEP04 | 4190474.6057 | -48924.3285 | 3130727.7999 | 133.8% | -1.563% | 7321202.4056 | 3081803.4713 | 5 | 3 | 3 | MEP04 | 8539928.5449 | 1919577.2338 | 3130727.7999 | 272.8% | 61.31% | 11670656.3448 | 5050305.0337 | 5 | 2 | 2 | MEP04 | 11056946.6503 | 2454233.2476 | 3130727.7999 | 353.2% | 78.39% | 14187674.4502 | 5584961.0474 | 5 | 2 | 2
MEP05 | 4003081.7439 | -1659204.2617 | 2741388.7668 | 146% | -60.52% | 6744470.5107 | 1082184.5051 | 4 | 2 | 2 | MEP05 | 4966130.453 | 726731.5188 | 2741388.7668 | 181.2% | 26.51% | 7707519.2198 | 3468120.2856 | 4 | 4 | 4 | MEP05 | 11558841.1292 | 4938489.8181 | 2741388.7668 | 421.6% | 180.1% | 14300229.8961 | 7679878.585 | 4 | 4 | 4 | MEP05 | 15008078.9432 | 6405365.5404 | 2741388.7668 | 547.5% | 233.7% | 17749467.71 | 9146754.3072 | 4 | 4 | 4