## OA
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
OA |  |  |  |  | N/A
[7 empty] | Specified | Calculated
Filename | Sample Type | Sample Name | Integ. Type | Area | ISTD Area | Area | Amount | Amount | %Diff | %RSD-AMT | Peak Status | Level | Units | RT | Sample ID
MIxLipoAgo14Nivel2_A | Std Bracket Sample |  | Method Settings | NF | NA | NF | 6.67 | NF | NF | NF | Not Found | std2 | ng/mL | NF | 1
MIxLipoAgo14Nivel2_B | Std Bracket Sample |  | Method Settings | NF | NA | NF | 6.67 | NF | NF | NF | Not Found | std2 | ng/mL | NF | 1
MIxLipoAgo14Nivel2_C | Std Bracket Sample |  | Method Settings | NF | NA | NF | 6.67 | NF | NF | NF | Not Found | std2 | ng/mL | NF | 1
MIxLipoAgo14Nivel3_A | Std Bracket Sample |  | Method Settings | NF | NA | NF | 2.22 | NF | NF | NF | Not Found | std3 | ng/mL | NF | 1
MIxLipoAgo14Nivel3_B | Std Bracket Sample |  | Method Settings | NF | NA | NF | 2.22 | NF | NF | NF | Not Found | std3 | ng/mL | NF | 1
MIxLipoAgo14Nivel3_C | Std Bracket Sample |  | Method Settings | NF | NA | NF | 2.22 | NF | NF | NF | Not Found | std3 | ng/mL | NF | 1
MIxLipoAgo14Nivel5_A | Std Bracket Sample |  | Method Settings | NF | NA | NF | 0.25 | NF | NF | NF | Not Found | std5 | ng/mL | NF | 1
MIxLipoAgo14Nivel5_B | Std Bracket Sample |  | Method Settings | NF | NA | NF | 0.25 | NF | NF | NF | Not Found | std5 | ng/mL | NF | 1
MIxLipoAgo14Nivel5_C | Std Bracket Sample |  | Method Settings | NF | NA | NF | 0.25 | NF | NF | NF | Not Found | std5 | ng/mL | NF | 1
GDMachaG1_010509_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG1_020909_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG1_030709_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG1_050509_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG1_050609_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG1_070110_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG1_070809_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG1_080709_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG1_110909_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG1_120210_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG1_120609_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG1_120809_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG1_130509_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG1_150709_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG1_160909_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG1_170310_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG1_170609_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG1_181109_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG1_190509_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG1_200110_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG1_200509_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG1_240609_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG1_240809_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG1_260509_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG1_260809_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG1_280809_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG1_290609_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG1_310709_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG1_310809_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG2_010509_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG2_020909_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG2_030709_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG2_050509_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG2_050609_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG2_070110_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG2_070809_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG2_080709_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG2_110909_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG2_120210_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG2_120609_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG2_120809_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG2_130509_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG2_160909_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG2_170310_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG2_170609_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG2_181109_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG2_190509_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG2_200110_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG2_200509_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG2_240609_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG2_240809_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG2_260509_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG2_260809_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG2_280809_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG2_290609_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG2_310709_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG2_310809_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG3_010509_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG3_020909_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG3_030709_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG3_050509_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG3_050609_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG3_070110_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG3_070809_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG3_080709_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG3_110909_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG3_120210_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG3_120609_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG3_120809_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG3_130509_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG3_160909_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG3_170310_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG3_170609_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG3_181109_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG3_190509_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG3_200110_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG3_200509_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG3_220709_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG3_240609_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG3_240809_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG3_260509_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG3_260809_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG3_280809_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG3_290609_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG3_310709_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG3_310809_A | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG1_090410 | Unknown Sample |  | User Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG1_200310 | Unknown Sample |  | User Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG1_240410 | Unknown Sample |  | User Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG1_280410 | Unknown Sample |  | User Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG1_310310 | Unknown Sample |  | User Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG2_090410 | Unknown Sample |  | User Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG2_200310 | Unknown Sample |  | User Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG2_240410 | Unknown Sample |  | User Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG2_280410 | Unknown Sample |  | User Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG2_310310 | Unknown Sample |  | User Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG3_090410 | Unknown Sample |  | User Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG3_200310 | Unknown Sample |  | User Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG3_240410 | Unknown Sample |  | User Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG3_280410 | Unknown Sample |  | User Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1
GDMachaG3_310310 | Unknown Sample |  | User Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/mL | NF | 1

## PTX2sa
Component Name
PTX2sa | ng/mL
Calculated
Filename | Amount
GDMachaG1_010509_A | 20.3757
GDMachaG1_020909_A | 1.1564
GDMachaG1_030709_A | 13.0225
GDMachaG1_050509_A | 4.5516
GDMachaG1_050609_A | 4.2867
GDMachaG1_070110_A | 1.3516
GDMachaG1_070809_A | 4.9769
GDMachaG1_080709_A | 21.5856
GDMachaG1_110909_A | 3.5342
GDMachaG1_120210_A | 8.1728
GDMachaG1_120609_A | 2.3879
GDMachaG1_120809_A | 50.7466
GDMachaG1_130509_A | 98.7459
GDMachaG1_150709_A | 15.4036
GDMachaG1_160909_A | 3.3925
GDMachaG1_170310_A | 20.8175
GDMachaG1_170609_A | 5.2975
GDMachaG1_181109_A | 0.34578
GDMachaG1_190509_A | 24.1204
GDMachaG1_200110_A | 4.9457
GDMachaG1_200509_A | 7.7837
GDMachaG1_240609_A | 8.7502
GDMachaG1_240809_A | 3.8675
GDMachaG1_260509_A | 2.2103
GDMachaG1_260809_A | 2.8041
GDMachaG1_280809_A | 0.30549
GDMachaG1_290609_A | 2.7148
GDMachaG1_310709_A | 11.2296
GDMachaG1_310809_A | 2.8286
GDMachaG2_010509_A | 11.895
GDMachaG2_020909_A | 1.5327
GDMachaG2_030709_A | 8.8168
GDMachaG2_050509_A | 1.882
GDMachaG2_050609_A | 0.98148
GDMachaG2_070110_A | 0.70909
GDMachaG2_070809_A | 4.9042
GDMachaG2_080709_A | 20.9147
GDMachaG2_110909_A | 6.8816
GDMachaG2_120210_A | 3.9092
GDMachaG2_120609_A | 1.4423
GDMachaG2_120809_A | 143.6963
GDMachaG2_130509_A | 122.3199
GDMachaG2_160909_A | 6.0615
GDMachaG2_170310_A | 11.5033
GDMachaG2_170609_A | 5.1328
GDMachaG2_181109_A | 1.6598
GDMachaG2_190509_A | 91.288
GDMachaG2_200110_A | 4.2725
GDMachaG2_200509_A | 6.1648
GDMachaG2_240609_A | 14.1207
GDMachaG2_240809_A | 4.8352
GDMachaG2_260509_A | 0.76866
GDMachaG2_260809_A | 0.9007
GDMachaG2_280809_A | 0.22389
GDMachaG2_290609_A | 1.426
GDMachaG2_310709_A | 19.5044
GDMachaG2_310809_A | 4.1696
GDMachaG3_010509_A | 8.8592
GDMachaG3_020909_A | 0.79047
GDMachaG3_030709_A | 14.3961
GDMachaG3_050509_A | 2.4622
GDMachaG3_050609_A | 2.8701
GDMachaG3_070110_A | 1.7483
GDMachaG3_070809_A | 4.1261
GDMachaG3_080709_A | 30.9985
GDMachaG3_110909_A | 5.7969
GDMachaG3_120210_A | 4.5723
GDMachaG3_120609_A | 2.6027
GDMachaG3_120809_A | 95.1822
GDMachaG3_130509_A | 83.3657
GDMachaG3_160909_A | 4.8926
GDMachaG3_170310_A | 20.1617
GDMachaG3_170609_A | 3.285
GDMachaG3_181109_A | 0.32678
GDMachaG3_190509_A | 20.0138
GDMachaG3_200110_A | 1.2582
GDMachaG3_200509_A | 4.1711
GDMachaG3_220709_A | 6.1549
GDMachaG3_240609_A | 5.471
GDMachaG3_240809_A | 9.0236
GDMachaG3_260509_A | 1.7827
GDMachaG3_260809_A | 3.7716
GDMachaG3_280809_A | 1.4123
GDMachaG3_290609_A | 5.0209
GDMachaG3_310709_A | 16.086
GDMachaG3_310809_A | 10.3616
GDMachaG1_090410 | 13.8794
GDMachaG1_200310 | 34.6739
GDMachaG1_240410 | 6.0101
GDMachaG1_280410 | 2.3537
GDMachaG1_310310 | 7.5169
GDMachaG2_090410 | 8.8882
GDMachaG2_200310 | 9.6764
GDMachaG2_240410 | 7.5984
GDMachaG2_280410 | 1.0601
GDMachaG2_310310 | 12.1127
GDMachaG3_090410 | 25.9236
GDMachaG3_200310 | 12.7719
GDMachaG3_240410 | 7.6051
GDMachaG3_280410 | 2.1597
GDMachaG3_310310 | 23.9947

## ptx2sa-C_16-c33,37
Component Name
ptx2sa-C:16-c33,37 | ng/mL
Calculated
Filename | Amount
GDMachaG1_010509_A | 3.0931
GDMachaG1_020909_A | 2.1744
GDMachaG1_030709_A | 3.0606
GDMachaG1_050509_A | 1.2462
GDMachaG1_050609_A | 1.4484
GDMachaG1_070110_A | 0.054799
GDMachaG1_070809_A | 0.35862
GDMachaG1_080709_A | 3.1747
GDMachaG1_110909_A | 1.3113
GDMachaG1_120210_A | 5.3719
GDMachaG1_120609_A | 0.35041
GDMachaG1_120809_A | 63.8186
GDMachaG1_130509_A | 16.2951
GDMachaG1_150709_A | 5.1345
GDMachaG1_160909_A | 1.8012
GDMachaG1_170310_A | 23.7699
GDMachaG1_170609_A | 1.4497
GDMachaG1_181109_A | 0.46111
GDMachaG1_190509_A | 7.9072
GDMachaG1_200110_A | 2.9648
GDMachaG1_200509_A | 0.91524
GDMachaG1_240609_A | 1.836
GDMachaG1_240809_A | 2.9897
GDMachaG1_260509_A | 3.1292
GDMachaG1_260809_A | 5.2065
GDMachaG1_280809_A | 0.19993
GDMachaG1_290609_A | 1.1454
GDMachaG1_310709_A | 3.3898
GDMachaG1_310809_A | 0.55865
GDMachaG2_010509_A | 4.9069
GDMachaG2_020909_A | 1.0887
GDMachaG2_030709_A | 3.3252
GDMachaG2_050509_A | 1.9077
GDMachaG2_050609_A | 0.59902
GDMachaG2_070110_A | 0.32999
GDMachaG2_070809_A | 1.5925
GDMachaG2_080709_A | 2.6775
GDMachaG2_110909_A | 2.4446
GDMachaG2_120210_A | 7.9015
GDMachaG2_120609_A | 0.94397
GDMachaG2_120809_A | 122.1917
GDMachaG2_130509_A | 23.8171
GDMachaG2_160909_A | 1.1112
GDMachaG2_170310_A | 12.0948
GDMachaG2_170609_A | 1.708
GDMachaG2_181109_A | NF
GDMachaG2_190509_A | 11.1964
GDMachaG2_200110_A | 1.2091
GDMachaG2_200509_A | 1.7303
GDMachaG2_240609_A | 2.4782
GDMachaG2_240809_A | 1.8451
GDMachaG2_260509_A | 1.6799
GDMachaG2_260809_A | 3.106
GDMachaG2_280809_A | 0.33021
GDMachaG2_290609_A | 1.5914
GDMachaG2_310709_A | 5.0701
GDMachaG2_310809_A | 0.37583
GDMachaG3_010509_A | 1.8191
GDMachaG3_020909_A | 1.8351
GDMachaG3_030709_A | 3.193
GDMachaG3_050509_A | 2.1366
GDMachaG3_050609_A | 1.2971
GDMachaG3_070110_A | 0.44361
GDMachaG3_070809_A | 2.3596
GDMachaG3_080709_A | 2.5943
GDMachaG3_110909_A | 1.0812
GDMachaG3_120210_A | 3.0896
GDMachaG3_120609_A | 1.7161
GDMachaG3_120809_A | 82.3244
GDMachaG3_130509_A | 18.0747
GDMachaG3_160909_A | 1.7972
GDMachaG3_170310_A | 21.9107
GDMachaG3_170609_A | 1.775
GDMachaG3_181109_A | 0.8083
GDMachaG3_190509_A | 8.8342
GDMachaG3_200110_A | 1.4523
GDMachaG3_200509_A | 1.0491
GDMachaG3_220709_A | 5.4955
GDMachaG3_240609_A | 1.8489
GDMachaG3_240809_A | 2.458
GDMachaG3_260509_A | 2.2461
GDMachaG3_260809_A | 2.8371
GDMachaG3_280809_A | 0.11457
GDMachaG3_290609_A | 1.4014
GDMachaG3_310709_A | 2.431
GDMachaG3_310809_A | 0.97166
GDMachaG1_090410 | 8.333
GDMachaG1_200310 | 23.9079
GDMachaG1_240410 | 12.4773
GDMachaG1_280410 | 9.4239
GDMachaG1_310310 | 18.1822
GDMachaG2_090410 | 5.8789
GDMachaG2_200310 | 30.8726
GDMachaG2_240410 | 8.6951
GDMachaG2_280410 | 6.9028
GDMachaG2_310310 | 12.624
GDMachaG3_090410 | 16.2447
GDMachaG3_200310 | 24.3382
GDMachaG3_240410 | 9.1727
GDMachaG3_280410 | 12.7831
GDMachaG3_310310 | 14.3692

## ptx2sa-c_16_c11
Component Name
ptx2sa-c:16_c11 | ng/mL
Calculated
Filename | Amount
GDMachaG1_010509_A | 7.1663
GDMachaG1_020909_A | 5.0178
GDMachaG1_030709_A | 7.4495
GDMachaG1_050509_A | 3.2767
GDMachaG1_050609_A | 3.8686
GDMachaG1_070110_A | 0.67077
GDMachaG1_070809_A | 1.225
GDMachaG1_080709_A | 8.8404
GDMachaG1_110909_A | 4.0633
GDMachaG1_120210_A | 15.0707
GDMachaG1_120609_A | 1.928
GDMachaG1_120809_A | 179.0532
GDMachaG1_130509_A | 40.6922
GDMachaG1_150709_A | 13.7037
GDMachaG1_160909_A | 5.872
GDMachaG1_170310_A | 60.8438
GDMachaG1_170609_A | 3.7353
GDMachaG1_181109_A | 1.8391
GDMachaG1_190509_A | 19.1792
GDMachaG1_200110_A | 9.6831
GDMachaG1_200509_A | 3.266
GDMachaG1_240609_A | 5.1117
GDMachaG1_240809_A | 7.9917
GDMachaG1_260509_A | 7.6608
GDMachaG1_260809_A | 12.9523
GDMachaG1_280809_A | 0.85631
GDMachaG1_290609_A | 3.3172
GDMachaG1_310709_A | 9.3876
GDMachaG1_310809_A | 2.1643
GDMachaG2_010509_A | 11.8858
GDMachaG2_020909_A | 2.3304
GDMachaG2_030709_A | 7.0594
GDMachaG2_050509_A | 5.1068
GDMachaG2_050609_A | 2.4403
GDMachaG2_070110_A | 0.79261
GDMachaG2_070809_A | 3.0983
GDMachaG2_080709_A | 6.8706
GDMachaG2_110909_A | 5.5082
GDMachaG2_120210_A | 18.4685
GDMachaG2_120609_A | 2.4799
GDMachaG2_120809_A | 339.5779
GDMachaG2_130509_A | 61.0332
GDMachaG2_160909_A | 4.8332
GDMachaG2_170310_A | 31.2701
GDMachaG2_170609_A | 4.2519
GDMachaG2_181109_A | 0.10173
GDMachaG2_190509_A | 30.5107
GDMachaG2_200110_A | 3.9291
GDMachaG2_200509_A | 4.5062
GDMachaG2_240609_A | 5.0868
GDMachaG2_240809_A | 4.6262
GDMachaG2_260509_A | 4.2487
GDMachaG2_260809_A | 6.7485
GDMachaG2_280809_A | 1.5565
GDMachaG2_290609_A | 5.3974
GDMachaG2_310709_A | 10.8666
GDMachaG2_310809_A | 1.2404
GDMachaG3_010509_A | 4.3055
GDMachaG3_020909_A | 4.2495
GDMachaG3_030709_A | 8.1711
GDMachaG3_050509_A | 4.085
GDMachaG3_050609_A | 4.3442
GDMachaG3_070110_A | 1.7566
GDMachaG3_070809_A | 6.0457
GDMachaG3_080709_A | 7.1921
GDMachaG3_110909_A | 3.7814
GDMachaG3_120210_A | 9.4469
GDMachaG3_120609_A | 3.3859
GDMachaG3_120809_A | 227.9158
GDMachaG3_130509_A | 52.3002
GDMachaG3_160909_A | 4.9368
GDMachaG3_170310_A | 58.6671
GDMachaG3_170609_A | 4.006
GDMachaG3_181109_A | 2.7076
GDMachaG3_190509_A | 21.2851
GDMachaG3_200110_A | 4.6937
GDMachaG3_200509_A | 2.5897
GDMachaG3_220709_A | 15.1806
GDMachaG3_240609_A | 4.4118
GDMachaG3_240809_A | 6.1091
GDMachaG3_260509_A | 6.266
GDMachaG3_260809_A | 6.4541
GDMachaG3_280809_A | 0.55919
GDMachaG3_290609_A | 3.6021
GDMachaG3_310709_A | 6.6105
GDMachaG3_310809_A | 2.332
GDMachaG1_090410 | 22.5666
GDMachaG1_200310 | 67.6828
GDMachaG1_240410 | 33.9265
GDMachaG1_280410 | 27.3968
GDMachaG1_310310 | 48.9522
GDMachaG2_090410 | 12.4716
GDMachaG2_200310 | 82.6763
GDMachaG2_240410 | 28.3106
GDMachaG2_280410 | 21.0919
GDMachaG2_310310 | 35.2
GDMachaG3_090410 | 43.6899
GDMachaG3_200310 | 66.8167
GDMachaG3_240410 | 26.3378
GDMachaG3_280410 | 36.1365
GDMachaG3_310310 | 38.7522

## PTX2
Component Name
PTX2 | ng/mL
Calculated
Filename | Amount
GDMachaG1_010509_A | 2.8178
GDMachaG1_020909_A | NF
GDMachaG1_030709_A | 2.2468
GDMachaG1_050509_A | 0.70369
GDMachaG1_050609_A | 1.1592
GDMachaG1_070110_A | 0.044642
GDMachaG1_070809_A | 0.77934
GDMachaG1_080709_A | 4.3025
GDMachaG1_110909_A | 0.28168
GDMachaG1_120210_A | 0.77668
GDMachaG1_120609_A | 0.20851
GDMachaG1_120809_A | 4.9821
GDMachaG1_130509_A | 30.1327
GDMachaG1_150709_A | 1.6225
GDMachaG1_160909_A | 0.20296
GDMachaG1_170310_A | 0.72345
GDMachaG1_170609_A | 1.9619
GDMachaG1_181109_A | NF
GDMachaG1_190509_A | 4.2177
GDMachaG1_200110_A | 0.55108
GDMachaG1_200509_A | 0.66605
GDMachaG1_240609_A | 2.4473
GDMachaG1_240809_A | 0.099513
GDMachaG1_260509_A | 0.43256
GDMachaG1_260809_A | 0.61984
GDMachaG1_280809_A | 0.010408
GDMachaG1_290609_A | 0.35276
GDMachaG1_310709_A | 2.4445
GDMachaG1_310809_A | 0.34954
GDMachaG2_010509_A | 1.4862
GDMachaG2_020909_A | 0.071737
GDMachaG2_030709_A | 1.8995
GDMachaG2_050509_A | 0.23146
GDMachaG2_050609_A | 0.13848
GDMachaG2_070110_A | 0.071471
GDMachaG2_070809_A | 0.48399
GDMachaG2_080709_A | 2.1462
GDMachaG2_110909_A | 0.53305
GDMachaG2_120210_A | 0.42377
GDMachaG2_120609_A | 0.069517
GDMachaG2_120809_A | 22.1065
GDMachaG2_130509_A | 34.2722
GDMachaG2_160909_A | 0.60387
GDMachaG2_170310_A | 0.38406
GDMachaG2_170609_A | 0.94221
GDMachaG2_181109_A | 0.3122
GDMachaG2_190509_A | 16.7591
GDMachaG2_200110_A | 1.084
GDMachaG2_200509_A | 0.40698
GDMachaG2_240609_A | 3.8939
GDMachaG2_240809_A | 0.3464
GDMachaG2_260509_A | 0.21374
GDMachaG2_260809_A | 0.076168
GDMachaG2_280809_A | 0.0097173
GDMachaG2_290609_A | 0.54715
GDMachaG2_310709_A | 2.9937
GDMachaG2_310809_A | 0.44185
GDMachaG3_010509_A | 1.4449
GDMachaG3_020909_A | 0.06756
GDMachaG3_030709_A | 2.9561
GDMachaG3_050509_A | 0.36119
GDMachaG3_050609_A | 0.94157
GDMachaG3_070110_A | 0.15282
GDMachaG3_070809_A | 0.46707
GDMachaG3_080709_A | 5.2324
GDMachaG3_110909_A | 0.62564
GDMachaG3_120210_A | 0.77353
GDMachaG3_120609_A | 0.43049
GDMachaG3_120809_A | 10.4394
GDMachaG3_130509_A | 21.8016
GDMachaG3_160909_A | 0.45287
GDMachaG3_170310_A | 0.73543
GDMachaG3_170609_A | 0.9444
GDMachaG3_181109_A | 0.0099082
GDMachaG3_190509_A | 3.5127
GDMachaG3_200110_A | 0.011678
GDMachaG3_200509_A | 0.3502
GDMachaG3_220709_A | 0.99681
GDMachaG3_240609_A | 2.0586
GDMachaG3_240809_A | 0.61682
GDMachaG3_260509_A | 0.27348
GDMachaG3_260809_A | 1.259
GDMachaG3_280809_A | 0.2318
GDMachaG3_290609_A | 1.0715
GDMachaG3_310709_A | 3.6229
GDMachaG3_310809_A | 0.97837
GDMachaG1_090410 | 4.5776
GDMachaG1_200310 | 5.4887
GDMachaG1_240410 | 0.69258
GDMachaG1_280410 | 0.23336
GDMachaG1_310310 | 1.7522
GDMachaG2_090410 | 2.3864
GDMachaG2_200310 | 0.81325
GDMachaG2_240410 | 0.78187
GDMachaG2_280410 | 0.2755
GDMachaG2_310310 | 3.5824
GDMachaG3_090410 | 6.5512
GDMachaG3_200310 | 4.3505
GDMachaG3_240410 | 0.61811
GDMachaG3_280410 | 0.18326
GDMachaG3_310310 | 7.4422

## Component (hidden)
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
[7 empty] | Specified | Calculated
Filename | Sample Type | Sample Name | Integ. Type | Area | ISTD Area | Area Ratio | Amount | Amount | %Diff | %RSD | Peak Status | Level | Units | RT | Sample ID | Excluded