## S1_datapool
Nr. | DOI or URL | Year | Title | 3D printing method | 3D printing material | 3D printer | Minimum printing time (hours) | Maximum printing time (hours) | Printing cost (estimated) | Minimal microfluidic channel dimension/feature size [µm] | Application category | Target of application (of biological/chemical analysis/detection/synthesis etc.) | Sensor/detection principle | LOD | Droplet generation - junction geometry | Droplet generation - continuous phase | Droplet generation - discontinuous phase | Droplet generation - surfactant | Droplet generation - flow rates (continuous phase, minimum) [µl/min] | Droplet generation - flow rates (continuous phase, maximum) [µl/min] | Droplet generation - flow rates (discontinuous phase, minimum) [µl/min] | Droplet generation - flow rates (discontinuous phase, maximum) [µl/min] | Droplet generation - droplet diameter (maximum) [µm] | Droplet generation - droplet diameter (minimum) [µm] | Droplet generation - CV (%) | Droplet generation - Generation rate (min.)[Hz] | Droplet generation - Generation rate (max.)[Hz] | Droplet generation - junction width (min.) [µm] | Droplet generation - junction width (max.) [µm]
1 | DOI:10.1039/c4lc00171k | 2014 | 3D Printed Microfluidic Devices with Integrated Versatile and Reusable Electrodes | Polyjet | VeroClear | Polyjet Objet Connex 350 | - | - | - | 500 | Bioanalysis | Dopamine; Nitric oxide; ATP | Electrochemical | Dopamine: 500nM; Nitricoxide: 1μM | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
2 | DOI.org/10.1021/acs.analchem.5b00903 | 2015 | 3D-Printed Fluidic Devices for Nanoparticle Preparation and FlowInjection Amperometry Using Integrated Prussian Blue NanoparticleModified Electrodes | FDM | PET; ABS | MakerBot Replicator 2X | 0.83333 | 0.83333 | 0.3-0.6 USD | 800 | Chemical synthesis | H2O2 | Electrochemical | 100 nM | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
3 | DOI: 10.1039/c2lc40761b | 2012 | Configurable 3D-Printed millifluidic and microfluidic ‘lab on a chip’ reactionware devices | FDM | PP | 3DTouchTM | 2 | 4 | 0.09-0.31 USD | 800 | Chemical synthesis | Organic synthesis (reductive amination and alkylation reactions), inorganic synthesis (large polyoxometalate synthesis) and gold nanoparticle synthesis | UV-Vis spectroscopy; DLS; mass spectrometry; TLC; ATR-IR spectroscopy | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
4 | DOI: 10.1016/j.bios.2013.10.031 | 2014 | 3D printed chip for electrochemical detection of influenza virus labeled with CdS quantum dots | FDM | PLA | Easy3DMaker | 1.5667 | 1.5667 | - | - | Diagnostics | Influenza virus | Electrochemical | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
5 | DOI: 10.1038/srep09701 | 2015 | 3D-Printed Microfluidic Device for the Detection of Pathogenic Bacteria Using Size-based Separation in Helical Channel with Trapezoid Cross-Section | SLA | Watershed 11122XC | 3D Systems Viper SL | - | - | - | 250 | Entrapment | E. coli | Bioluminescence | 10 cfu/mL in buffer solution; 100 cfu/mL in milk | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
6 | DOI.org/10.1117/12.2180743 | 2015 | Biological implications of lab-on-achip devices fabricated using multi-jet modelling and stereolithography processes | SLA; MJM | Watershed 11122XC; VisiJet Clear; Dreve Fototec 7150 Clear; Formlabs Clear | 3D Systems HD3500+; Viper Pro; ProJet 7000HD; Formlabs Form 1 | - | - | - | 443 | Biocompatibility analysis | Zebrafish embryo | Fluorescence | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
7 | DOI.org/10.1021/ac4009594 | 2013 | A 3D Printed Fluidic Device that Enables Integrated Features | Polyjet | Objet Vero White Plus | Polyjet Objet Connex 350 | 4 | 4 | - | 1500 | Cell culture | Bovine pulmonary artery endothelial cells (ECs) | Mass spectrometry; Fluorescence | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
8 | DOI:10.1021/acs.analchem.5b01202. | 2015 | Polymer Coatings in 3D-Printed Fluidic Device Channels for Improved Cellular Adherence Prior to Electrical Lysis | Polyjet | Objet Vero Clear | Polyjet Objet Connex 350 | - | - | - | 3800 | Entrapment | Bovine pulmonary artery endothelial cells | Microscopy | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
9 | DOI.org/10.1117/12.2033400 | 2013 | Additive manufacturing of lab-on-achip devices: promises and challenges | SLA; MJP | Watershed 11122XC; Dreve Fototec 7150 Clear; VisiJet Crystal + VisiJet S300 (support) | 3D Systems HD3500+; Viper Pro | - | - | - | 331 | Biocompatibility analysis | Zebrafish embryo | Fluorescence | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
10 | DOI: 10.3390/s150202438 | 2015 | A 3D Microfluidic Chip for Electrochemical Detection of Hydrolysed Nucleic Bases by a Modified Glassy Carbon Electrode | FDM | ABS | Profi3Dmaker | - | - | - | 8000 | Chemical analysis | miRNA | Electrochemical | 0.67 µM | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
11 | DOI 10.1002/pssa.201532053 | 2015 | Fabrication of biocompatiblelab-on-chip devices for biomedical applications by means of a 3D-printing process | SLA | Asiga PlasCLEAR | Asiga Pico+ 27 | 7 | 7 | - | 1000 | Cell culture | CHO-K1 cells | LAPS (light-addressable potentiometric sensor) | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
12 | DOI: 10.1002/elps.201400321 | 2015 | 3D-printed chip for detection of methicillin-resistant Staphylococcus aureus labeled with gold nanoparticles | FDM | ABS | Profi3Dmaker | - | - | - | - | Diagnostics | S. aureus, E. coli, S. typhimurium, L. rhamnosus, Methicillin resistant S. aureus | Colorimetry | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
13 | DOI: 10.1039/c4ra05072j | 2014 | 3D printed modules for integrated microfluidic devices | SLA | VisiJet M3 Crystal + S300 WAX (support) | 3D Systems HD3500+ | - | - | - | 5000 | Diagnostics | AFP biomarker | Fluorescence | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
14 | DOI: 10.1039/c6lc00562d | 2016 | Customisable 3D printed microfluidics for integrated analysis and optimisation | SLA | Accura 60 resin | 3D systems Viper Si2 | - | - | 7 GBP | 100 | Chemical analysis | Nicotinamide | UV-Vis spectroscopy | 9-47 µM | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
15 | DOI 10.1007/s10404-015-1688-8 | 2016 | Characterization and evaluation of 3D printed microfluidic chip for cell processing | FDM; Polyjet | ABS + P400SR (support); FullCure 720 + FullCure 750 (support) | Objet Eden 350V; Dimension Elite | - | - | - | 100 | Entrapment | C2C12 cells | Fluorescence | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
16 | DOI: 10.1039/C5LC01389E | 2016 | 3D printed microfluidic circuitry via multijet-based additive manufacturing | MJM | VisiJet M3 Crystal + S300 WAX (support) | 3D Systems ProJet 3000HD | 4 | 6 | - | - | Special | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
17 | DOI: 10.1109/JSEN.2016.2527921 | 2016 | Rapid and Automated Measurement of Milk Adulteration Using a 3D Printed Optofluidic Microviscometer (OMV) | SLA | MA-YG2005T | MiiCraft | 0.083333 | 0.083333 | - | 1000 | Bioanalysis | Milk | Viscometry | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
18 | DOI.org/10.1016/j.snb.2017.12.025 | 2017 | 3D-printed capillary circuits for rapid, low-cost, portable analysis ofblood viscosity | SLA | DWS DL370 | DWS SLA printer | - | - | - | 500 | Bioanalysis | Blood | Camera | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
19 | DOI.org/10.1063/1.4964499 | 2016 | 3D printed auto-mixing chip enables rapid smartphone diagnosis of anemia | DLP | VisiJet®FTX Clear resin | 3D Systems ProJet 1200 | 0.16667 | 0.16667 | < 0.5 USD | 500 | Bioanalysis | Hemoglobin | Camera | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
20 | DOI:10.1371/journal.pone.0143636 | 2015 | DNA Assembly in 3D Printed Fluidics | SLA | Clear resin; SW-FUD | Form 1+ | 3 | 240 | 1-6 USD | 300 | Special | DNA (Golden Gate DNA assembly) | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
21 | DOI.org/10.1016/j.microc.2019.02.043 | 2019 | 3D-printed microfluidic device for the synthesis of silver and gold nanoparticles | FDM | PLA | SethiS3 | - | - | - | 700 | Chemical synthesis | Ag; Au NPs | UV-Vis spectroscopy | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
22 | DOI:10.1088/0960-1317/25/12/124002. | 2015 | Sandwich-format 3D printed microfluidic mixers: a flexible platform for multi-probe analysis | FDM | PLA | Airwolf3D HD2x | - | - | 0.005 USD | 367.1 | Chemical analysis | fluorescein; dimethyl yellow; D2O | Fluorescence; UV-Vis spectroscopy; IR spectroscopy | - | FFD | Hexane | DI water/KI/fluorescein | - | 14 | 14 | 0.25 | 0.25 | - | - | - | - | - | - | -
23 | DOI.org/10.1016/j.bios.2018.03.009 | 2018 | Fully 3D printed integrated reactor array for point-of-care moleculardiagnostics | SLA | FLGPCL02 | Form 2 | 0.093333 | 0.093333 | ~1 USD | 1000 | Diagnostics | P. falciparum gDNA , N. meningitis DNA | Colorimetry; Fluorescence | P. falciparum: 100 fg ; N. meningitis: 50 CFU | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
24 | http://dx.DOI.org/10.1021/acs.analchem.6b01573 | 2016 | 3D Printed Micro Free-Flow Electrophoresis Device | FDM | ABS | Ultimaker 2 | 14 | 14 | 0.2 USD | 640 | Chemical analysis | rhodamine | Fluorescence | 2 nM | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
25 | DOI: 10.1007/s00216-018-1440-9 | 2018 | 3D Printed Microfluidic Devices with Immunoaffinity Monoliths for Extraction of Preterm Birth Biomarkers | SLA | Custom SLA resin | custom SLA | - | - | - | 45 | Diagnostics | PTB biomarkers (ferritin) | Fluorescence | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
26 | DOI.org/10.1021/acs.analchem.8b02356 | 2018 | FDM 3D Printing of High-Pressure, Heat-Resistant, Transparent Microfluidic Devices | FDM | PETg-XT | Prusa i3 MK32S | 0.75 | 0.75 | - | 400 | Fluid mechanics only | - | Camera | - | FFD | DI water | Mineral oil | 2% SDS | 50 | 150 | 1 | 1 | 385 | 385 | - | - | - | 400 | 400
27 | DOI.org/10.1088/1361-6439/ab2f26 | 2019 | Flexible, transparent, sub-100 µm microfluidic channels with fused deposition modeling 3D-printed thermoplastic polyurethane | FDM | TPU | Prusa i3 MK3 | 0.41667 | 0.41667 | ~0.01 USD | 40 | Entrapment | mIMCD3 cells (mouse inner medullary collecting duct cell line) | Phase contrast | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
28 | DOI: 10.1117/12.2179562 | 2015 | Creation of hydrophilic microfluidic devices for biomedical application through stereolithography | SLA | Formlabs Clear; EnvisionTec HTM140 | Form 1; EnvisionTec Perfactory Micro | - | - | - | - | Fluid mechanics only | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
29 | DOI: 10.1039/c8ay02092b | 2019 | A simple procedure to produce FDM-based 3Dprinted microfluidic devices with an integrated PMMA optical window | FDM | PLA; PMMA | SethiS3 | 1 | 3 | <0.5 USD | 200 | Chemical analysis | Nitrite, Protein, Nitric oxide, Saccharomyces cerevisiae | Colorimetry, Fluorescence | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
30 | DOI: 10.1039/c7lc00694b | 2017 | Stereolithographic printing of ionically-crosslinked alginate hydrogels for degradable biomaterials and microfluidics | SLA | custom SLA resin | 3D Systems SLA 250/50 | - | - | - | 350 | Entrapment | mammary epithelial cells (MCF-10A) | Fluorescence | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
31 | DOI.org/10.1016/j.proeng.2016.11.416 | 2016 | 3D Printed Electrophoretic Lab-on-chip for DNA Separation | MJP | VisiJet M3 Crystal + S300 WAX (support) | 3D Systems ProJet 3510 | 3 | 3 | < 1 EUR | 20000 | Bioanalysis | DNA | Fluorescence | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
32 | DOI: 10.1109/MIXDES.2016.7529795 | 2016 | Inkjet 3D printed microfluidic devices | MJP | VisiJet M3 Crystal | 3D Systems ProJet 3510 | - | - | - | 20000 | Bioanalysis | DNA | Fluorescence | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
33 | DOI:10.3390/nano9101451 | 2019 | 3D-Printed Concentration-Controlled Microfluidic Chip with Diffusion Mixing Pattern for the Synthesis of Alginate Drug Delivery Microgels | MJP | VisiJet M3 Crystal + S300 WAX (support) | 3D Systems ProJet 3500HD MAX | - | - | - | 200 | Chemical analysis | CaA microgels;MCF-7 , MC7-10A | Fluorescence | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
34 | DOI.org/10.1016/j.jcis.2018.12.010 | 2018 | Microfluidics-based self-assembly of peptide-loaded microgels: Effect ofthree dimensional (3D) printed micromixer design | FDM | PP | MakerBot Replicator 2 | - | - | - | - | Chemical analysis | Peptide-loaded microgels | Ellipsometry | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
35 | DOI.org/10.1088/1758-5090/8/2/025019 | 2016 | 3D-printed microfluidic chips with patterned, cell-laden hydrogel constructs | SLA; Polyjet | Formlabs V02 | Form 1+; Polyjet Objet30 Prime | 2 | 2 | 0.46-0.8 USD | 500 | Entrapment | mc-3T3 cells | Fluorescence | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
36 | DOI.org/10.1021/acs.analchem.7b00136 | 2017 | Comparing Microfluidic Performance of Three-Dimensional (3D) Printing Platforms | FDM; DLP-SLA; Polyjet | ABS; VeroClear + SUP707 | Felix v3.0; Eden 260V; MiiCraft+ | 0.1 | 0.5 | 0.1 USD (FDM); 2-4 USD (SLA, Polyjet) | 500 | Fluid mechanics only | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
37 | DOI.org/10.1021/acs.analchem.9b01395 | 2019 | 3D Printed Microfluidic Devices for Microchip Electrophoresis of Preterm Birth Biomarkers | SLA | PEGDA | custom DLP-SLA | - | - | - | 18 | Chemical analysis | P1; CRF; Ferritin | Fluorescence | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
38 | DOI: 10.1039/c8ay01271g | 2018 | Automated 4-sample protein immunoassays using 3D-printed microfluidics | SLA | PGS; GCPL02 | Form 1+ | 0.3 | 0.3 | < 1 USD | 500 | Diagnostics | PSA; PSMA | Electrochemiluminescence | 150 fg mL-1 for PSA and 230 fg mL-1 for PSMA, with dynamic ranges up to 5 ng mL-1 . | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
39 | DOI.org/10.1021/acs.analchem.9b01302 | 2019 | PolyJet 3D-Printed Enclosed Microfluidic Channels without Photocurable Supports | Polyjet | VeroClear; MED610 | PolyJet J750 | 2 | 2 | - | 54 | Bioanalysis | ATP | Chemiluminescence | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
40 | DOI.org/10.1021/acs.analchem.7b03228 | 2017 | Using Printing Orientation for Tuning Fluidic Behavior in Microfluidic Chips Made by Fused Deposition Modeling 3D Printing | FDM; DLP-SLA; Polyjet | ABS; VeroClear-RGD810+SUP707; BV-007 | ROVA 3D FDM; Objet Eden 260VS; MiiCraft+ | - | - | - | 500 | chemical analysis | FeCl3 solution | colorimetry | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
42 | DOI: 10.1039/c5ra23129a | 2016 | A simple and low-cost fully 3D-printed non-planar emulsion generator | SLA | Formlabs clear | Form 1+ | - | - | - | 600 | Chemical synthesis | Magnetically responsive microspheres | Camera | - | FFD | Silicone oil/water-glycerol | Silicone oil/water-glycerol | - | 200000 | 2000000 | 30000 | 30000 | - | - | - | - | - | - | -
43 | DOI:10.1038/s41598-018-22756-1 | 2018 | A Modular Microfuidic Device via Multimaterial 3D Printing for Emulsion Generation | Polyjet; SLA | VeroClear; TangoPlus FLX930; FLGPCL04 resin | Polyjet Objet Connex 350; Form 2 | 0.33333 | 0.33333 | - | 239 | Fluid mechanics only | - | Camera | - | T-junction | Silicone oil | Water-glycerol | RSN-749 with 0.25% (v/v) resin in oil phase; Tween-20 0.25% (w/v) in aqueous phase | 16 | 16 | 5 | 5 | - | - | - | - | - | - | -
44 | DOI: 10.1039/c6lc00133e | 2016 | A 3D printed microfluidic device for production of functionalized hydrogel microcapsules for culture and differentiation of human Neuronal Stem Cells (hNSC) | DLP | Asiga PlasCLEAR | Asiga Pico+ 27 | 0.66667 | 0.66667 | - | 200 | Entrapment | Human Neural Stem Cells (hNSC) derived from human Induced Pluripotent Stem Cells (hIPSC) | Fluorescence | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
45 | DOI.org/10.1021/acs.analchem.6b04413 | 2017 | Simple, Expendable, 3D-Printed Microfluidic Systems for Sample Preparation of Petroleum | FDM | PLA | Graber i3 | - | - | 0.5 USD | 10000 | chemical analysis | crude oil | Gas chromatography; Mass spectrometry | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
46 | DOI: 10.1039/c6lc00153j | 2016 | 3D-printing of transparent bio-microfluidic devices in PEG-DA | SLA | Custom SLA resin | Ilios HD | - | - | - | 1000 | Entrapment | Chinese hamster ovary (CHO) cells; mouse (embryonic day 18) hippocampal neurons | Phase contrast; Fluorescence | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
47 | DOI: 10.1021/acs.analchem.7b00828 | 2017 | Fused Deposition Modeling 3D Printing for (Bio)analytical Device Fabrication: Procedures, Materials, and Applications | FDM | PLA; ABS; PC; PVA; PS; PET | Felix v3.0 | - | - | - | 300 | Entrapment | Human umbilical vein endothelial cells (HUVECs)); rat tissue model (precision cut liver slices (PCLSs) | Fluorescence | 100 fg for P. falciparum and 50 colony-forming unit (CFU) for N. meningitidis per reaction, | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
48 | DOI:10.1021/ac501436d. | 2014 | Ultrarapid Detection of Pathogenic Bacteria Using a 3D Immunomagnetic Flow Assay | SLA | WaterShed XC 11122 | 3D Systems Viper | - | - | - | 500 | Entrapment | Salmonella bacteria | Bioluminescence | >10 cfu/mL | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
49 | DOI: 10.1109/JMEMS.2018.2869327 | 2018 | Monolithic, 3D-Printed Microfluidic Platform for Recapitulation of Dynamic Tumor Microenvironments | DLP-SLA; Polyjet | Asiga PlasCLEAR; Pro3dure GR-10; Watershed XC111122; Polyjet MED610 | Asiga Pico+ 27; 3D Systems Viper; Polyjet Objet 1000+ | - | - | - | 127 | Entrapment | tumor cells | Fluorescence | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
50 | DOI.org/10.1016/j.snb.2018.01.174 | 2018 | Inkjet 3D printed chip for capillary gel electrophoresis | MJP | VisiJet M3 Crystal + S300 WAX (support) | 3D Systems ProJet 3510 | - | - | - | 400 | Bioanalysis | DNA | Fluorescence | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
51 | http://dx.DOI.org/10.1021/acs.analchem.8b03772 | 2018 | Multimaterial 3D Printed Fluidic Device for Measuring Pharmaceuticals in Biological Fluids | FDM | ABS, PLA; Lay-Felt; Lay-Gel | ROVA 3D FDM | 0.26667 | 0.26667 | 0.2 USD | 500 | Diagnostics | ampicillin | Fluorescence | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
52 | DOI.org/10.3390/mi9100502 | 2018 | Fabrication of a Malaria-Ab ELISA Bioassay Platform with Utilization of Syringe-Based and 3D Printed Assay Automation | FDM; SLA | ABS; GPCL02 | AirWolf HD2x; Form 1+ | - | - | - | 700 | Diagnostics | P. falciparum, P. vivax, P. ovale, and P. malariae | Colorimetry | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
53 | DOI.org/10.1063/1.4938559 | 2015 | Adsorption and isolation of nucleic acids on cellulose magnetic beads using a three-dimensional printed microfluidic chip | SLA | Accura ClearVue | Quickparts (Atlanta, GA) | - | - | - | 1000 | Entrapment | Human Papillomavirus (HPV) | Fluorescence | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
54 | DOI: 10.1039/c7lc00644f | 2017 | Custom 3D printer and resin for 18 μm × 20 μm microfluidic flow channels | DLP-SLA | custom SLA | custom DLP-SLA | - | - | - | 18 | Fluid mechanics only | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
55 | DOI: 10.1039/c5ra23855b | 2015 | Optical approach to resin formulation for 3D printed microfluidics | SLA | custom SLA resin | Asiga Pico+ 27 | - | - | - | 60 | Fluid mechanics only | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
56 | DOI: 10.1039/c3an02357e | 2014 | 3D-printed fluidic devices enable quantitative evaluation of blood components in modified storage solutions for use in transfusion medicine† | Polyjet | VeroClear | Polyjet Objet Connex 350 | - | - | - | 1290 | Bioanalysis | ATP | Chemiluminescence | 150 nM | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
57 | DOI: 10.1039/c3lc51360b | 2014 | Mail-order microfluidics: evaluation of stereolithography for the production of microfluidic devices | SLA | WaterShed XC 11122 | 3D Systems Viper SL | - | - | - | 500 | Cell culture | CHO-K1 cells | Fluorescence | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
58 | DOI: 10.1039/c3lc50844g | 2013 | Design and additive manufacture for flow chemistry | SLM | Titanium, stainless steel | Renishaw AM250 | - | - | - | 100 | Fluid mechanics only | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
59 | DOI: 10.1039/c003994b | 2010 | ELISA-LOC: lab-on-a-chip for enzyme-linked immunodetection | LOM | PMMA; PC | Epilog Legend CO2 65W laser cutter | - | - | - | 200 | Diagnostics | Staphylococcal Enterotoxin B (SEB) | Electrochemiluminescence | 0.1 ng ml-1 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
60 | DOI: 10.1002/admt.201800395 | 2019 | High-Precision Stereolithography of Biomicrofluidic Devices | SLA | resin (containing PEG-DA-258 , photoinitator Irgacure-819, and a photosensitizer, ITX) | Ilios HD; Asiga Pico2 HD | 15 | 15 | - | 200 | Cell culture | Chinese hamster ovary (CHO-K1) cells | Fluorescence | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
61 | DOI:10.3390/mi5040839 | 2015 | 3D Microporous Scaffolds Manufactured via Combination of Fused Filament Fabrication and Direct Laser Writing Ablation | FDM | PLA | Ultimaker | - | - | - | 100 | Entrapment | Rabbit skeletal muscle-derived myogenic cells | Fluorescence | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
62 | DOI: 10.1039/c5lc01374g | 2015 | Assessment of biocompatibility of 3D printed photopolymers using zebrafish embryo toxicity assays | MJM; FDM; SLA | VisiJet Crystal; VisiJet S300; Watershed 11122XC; Dreve Fototec 7150 Clear; ABS | 3D Systems HD3500+; 3D Systems Viper Pro; DesignJet | - | - | - | 1000 | Entrapment | Zebrafish embryo | Fluorescence | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
63 | DOI.org/10.1063/1.4927379 | 2015 | Three-dimensional printed millifluidic devices for zebrafish embryo tests | SLA; MJM | VisiJet Crystal; VisiJet S300; Watershed 11122XC; Dreve Fototec 7150 Clear; Visijet clear | 3D Systems HD3500+; 3D Systems Viper Pro | - | - | - | 500 | Entrapment | Zebrafish embryo | Fluorescence | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
64 | DOI: 10.1117/12.2202392 | 2015 | 3D printed polymers toxicity profiling: a caution for biodevice applications | SLA; MJM; FDM | Watershed 11122XC; Dreve Fototec 7150 Clear; VisiJet SL Clear; VisiJet Crystal + VisiJet S300 Support Wax; PLA; ABS | 3D Systems Viper Pro; ProJet 7000HD; Form 1; 3D Systems HD3500+; MakerBot Replicator 2; Stratasys uPrint SE | - | - | - | - | Biocompatibility analysis | Aquatic plants (freshwater crustacean Daphnia magna); Zebrafish larvae | Standardized Duckweed Growth Inhibition Test (OECD 221) | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
65 | DOI.org/10.1021/acs.analchem.5b01599 | 2015 | Fully 3D-printed preconcentrator for selective extraction of trace elements in seawater | SLA | BV-001 | MiiCraft Desktop | 0.63333 | 0.63333 | 1.5 USD | 200 | Chemical analysis | Mn; Ni; Cu; Zn; Cd; Pb | Mass spectrometry | Mn: 3.1 ng L−1 Ni: 1.9 ng L−1 Cu: 0.5 ng L−1 Zn: 18.0 ng L−1 Cd: 0.9 ng L−1 Pb: 0.3 ng L−1 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
66 | DOI: 10.1039/c5an01956g | 2016 | Microchip-Based Electrochemical Detection using a 3-D Printed Wall-Jet Electrode Device | Polyjet | FullCure 720 + FullCure 705 | Objet Eden 260 V | - | - | - | 750 | Chemical analysis | Catechol | Electrochemical | 500 nM | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
67 | DOI:10.1021/acs.analchem.5b00903 | 2015 | 3D-printed fluidic devices for nanoparticle preparation and flow-injection amperometry using integrated prussian blue nanoparticle-modified electrodes | FDM | PET; ABS | MakerBot Replicator 2X | - | - | - | 250 | Chemical analysis | Hydrogen peroxide | Electrochemical | 100 nM | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
68 | DOI:10.1021/acssensors.5b00156 | 2016 | Electrochemiluminescence at bare and DNA-coated graphite electrodes in 3D-printed fluidic devices | SLA | Formlabs clear | Form1+ | 3.5 | 3.5 | 2.5 USD | 672 | Chemical analysis | [Ru(bpy)3]2+ | Electrochemiluminescence | 7μM | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
69 | DOI.org/10.1016/j.bios.2015.09.017 | 2015 | 3D-printed supercapacitor-powered electrochemiluminescent protein immunoarray | FDM | PLA | MakerBot Replicator 2X | - | - | 0.5 - 1.2 GBP | 26000 | Diagnostics | PSA; PSMA; PF-4 | Electrochemiluminescence | PSA:300 fg mL−1 PSMA: 535 fg mL−1 PF-4: 420 fg mL−1 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
70 | DOI.org/10.1021/acssensors.5b00100 | 2015 | Simple, cost-effective 3D printed microfluidic components for disposable, point-of-care colorimetric analysis | SLA | BV-003 | MiiCraft | - | - | 0.22 USD | 100 | Diagnostics | BSA in artificial urine | Colorimetry | 8.5 μg/mL | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
71 | DOI.org/10.1021/acsabm.0c00055 | 2020 | Biocompatible PEGDA Resin for 3D Printing | SLA | 2-nitrophenyl phenyl sulfide -(NPS-PEGDA); avobenzone-(A-PEGDA) | Custom SLA | - | - | - | 100 | Cell culture | Cytotoxicity test: endothelial cell line EA.hy926; spheroid growth: Lung epithelial carcinoma cell line A549; endothelial fusion cells EA.hy926; lung fibroblast HFL1; spheroid migration: epithelial cell line A549 | Fluorescence | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
72 | DOI: 10.1039/D0LC00114G | 2020 | Cell adhesion and proliferation on common 3D printing materials used in stereolithography of microfluidic devices | SLA | Formlabs Clear; High Temp; Dental SG; Dental LT Clear | Form 2 | - | - | - | 150 | Cell culture | 3T3 culture, Huh7 culture, hiPSC culture | Fluorescence | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
73 | DOI.org/10.1088/1758-5090/aa8858 | 2017 | A 3D printed microfluidic perfusion device for multicellular spheroid cultures | SLA; Polyjet | VeroClear; Accura 60 | Objet260 Connex3 | 5 | 5 | - | 130 | Entrapment | Oral squamous cell carcinoma tumor, Liver cells | Fluorescence | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
74 | DOI.org/10.1039/C7LC00202E | 2017 | Mimicking Arterial Thrombosis in a 3D-Printed Microfluidic In Vitro Vascular Model Based on Computed Tomography | SLA | PIC100 | EnvisionTec Perfactory 3 Mini | - | - | - | 180 | Cell culture | Human umbilical vein endothelial cells | Fluorescence | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
75 | DOI: 10.1039/c7lc00468k | 2017 | 3D Printed Conformal Microfluidics for Isolation and Profiling of Biomarkers from Whole Organs | FDM | Silicone; sodium polyacrylate hydrogel | Printrbot Simple Metal | - | - | - | 600 | Bioanalysis | HSP-70; KIM-1 | Raman spectroscopy | HSP-70 = 409 pg mL−1; KIM-1= 12 pg mL−1 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
76 | DOI: 10.1109/MEMSYS.2019.8870612 | 2019 | Entirely-3D Printed Microfluidic Platform For On-site Detection of Drinking Waterborne Pathogens | Polyjet | VisiJet EX200 + Wax; VeroClear + FullCure720 (support) | ProJet 3000UHD; Objet250 Connex3 | - | - | - | 600 | Diagnostics | E. coli | Colorimetry | 1e6 cfu/mL | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
77 | digitalcommons.library.umaine.edu/etd/2560/ | 2016 | A Multi-Channel 3D-Printed Bioreactor for Evaluation of Growth and Production in the microalga Dunaliella sp. | Polyjet | VeroBlack | Objet30 Pro | 1.8167 | 1.8167 | 47.30 USD | 1000 | Cell culture | D. tertiolecta | Fluorescence | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
78 | DOI: 10.1016/j.mimet.2016.12.001 | 2017 | 3D-printed Microfluidic Magnetic Preconcentrator for the Detection of Bacterial Pathogen Using an ATP Luminometer and Antibodyconjugated Magnetic Nanoparticles | DLP | Acrylic resin | Carima DP 110 3D-printer | - | - | - | 400 | Diagnostics | E. coli | ATP luminometer | 10 cfu/ml | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
79 | DOI.org/10.1039/C8EW00058A | 2018 | Propidium Monoazide Pretreatment on a 3D-Printed Microfluidic Device for Efficient PCR Determination of “Live Versus Dead’microbial Cell | MJP | VisiJet M2 RCL | ProJet™ MJP 2500 | - | - | - | 500 | Diagnostics | E. coli | Fluorescence | ΔCt close to range of 0.58 to 1.28, | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
80 | DOI.org/10.1016/j.bios.2019.111900 | 2019 | 3D printed microfluidic devices for circulating tumor cells (CTCs) isolation | Polyjet | Custom resin | ProJet 3000HD | - | - | - | - | Entrapment | EpCAM positive cancer cell lines (MCF-7 breast cancer, SW480 colon cancer, and PC3 prostate cancer) | Fluorescence | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
81 | DOI: 10.1002/adhm.201900289 | 2019 | Microfluidic Model for Evaluation of Immune Checkpoint Inhibitors in Human Tumors | SLA | Pro3dure GR-10 | Asiga Pico+ 27 | - | - | - | 127 | Entrapment | tumor cells | Fluorescence | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
82 | https://doi.org/10.1016/j.bios.2017.07.055 | 2018 | Integrating printed microfluidics with silicon photomultipliers for miniaturised and highly sensitive ATP bioluminescence detection | SLA | Custom resin | Form 1+ | 0.5 | 0.5 | 0.65 GBP | 500 | Chemical analysis | ATP | Bioluminescence | 8 nM | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
83 | https://doi.org/10.1016/j.snb.2017.05.011 | 2017 | 3D printing of microfluidic devices with embedded sensing electrodesfor generating and measuring the size of microdroplets based on contactless conductivity detection | FDM | ABS; CNT-doped PLA | Prusa MovTecH | 0.5 | 0.5 | 0.80 USD | 700 | Fluid mechanics only | - | Capacitive | - | T-junction | Mineral oil/ water | water/mineral oil | Span80;Triton X-100 | 5 | 5 | 10 | 50 | - | - | - | - | - | 750 | 750
84 | https://doi.org/10.1016/j.aca.2019.04.045 | 2019 | Label-free counting of Escherichia coli cells in nanoliter droplets using 3D printed microfluidic devices with integrated contactless conductivity detection | FDM | ABS; CNT-doped PLA | Prusa MovTecH | - | - | - | 700 | Diagnostics | E. coli | Capacitive | 63.66 CFU/droplet | T-junction | Mineral oil | Water | Span80 (1 wt%) | 60 | 60 | 5 | 5 | 330 | 312 | - | 0.33 | 0.33 | 750 | 750
85 | http://dx.doi.org/10.1088/0960-1317/25/3/035013 | 2015 | Experimental validation of a simple, low-cost, T-junction droplet generator fabricated through 3D printing | MJM | Acrylonitrile; Wax | 3D Systems HD3500 | - | - | 2.43 EUR | 200 | Fluid mechanics only | - | Camera | - | T-junction | Sunflower oil | DI water | - | 10 | 10 | 3 | 3 | 520 | 155 | 6.3% | - | - | 200 | 200
86 | https://doi.org/10.1371/journal.pone.0152023 | 2016 | Simple and Versatile 3D Printed Microfluidics Using Fused Filament Fabrication | FDM | PLA | Ultimaker 2 | - | - | - | 600 | Entrapment | Human dental pulp stem cells (hDPSCs) | Camera | - | FFD | Sunflower oil | DI water | - | 3000 | 4000 | 1000 | 1500 | 800 | 504 | - | 1 | 10.4 | 600 | 600
87 | DOI: 10.1039/C9AY01108K | 2019 | Droplet-based PCR in a 3D-printed microfluidic chip for miRNA-21 detection | MJM | VisiJet M3 Crystal + VisiJet S300 support | 3D Systems 3500 HDMAX | - | - | - | 200 | Diagnostics | miRNA-21 in MCF-10A cells & MDA-MB-231 cells | Camera; PCR | - | FFD | Mineral oil | Brilliant Blue FCF solution | Span80 (2 wt%) | 23000 | 23000 | 1000 | 1000 | 254 | 245 | - | 0.68 | 5.12 | 200 | 400
88 | https://doi.org/10.1007/s10404-019-2258-2 | 2019 | Fabrication of 3D printed modular microfuidic system for generating and manipulating complex emulsion droplets | MJM | VisiJet M2R-CL + VisiJet M2 SUP | ProJet™ MJP 2500 + | - | - | - | 100 | Fluid mechanics only | - | Camera | - | Co-flowing | Castor oil | DI water/silicone oil | - | 30 | 50 | 2 | 10 | 500 | 50 | - | 1 | 100 | 100 | 500
89 | DOI: 10.1039/c6ra11724d | 2016 | Droplet generation in cross-flow for cost-effective 3D-printed “plug-and-play” microfluidic devices | SLA | Custom SLA resin | Form 1+ | - | - | - | 115 | Entrapment | magnetically responsive microspheres | Camera | - | T-junction | Silicone oil | Water-glycerol | Tween 20; DowCorning 749 | 200 | 1000 | 5 | 5 | 50 | 50 | - | - | - | 115 | 262
90 | https://doi.org/10.1016/j.snb.2019.126676 | 2019 | A 3D printed screw-and-nut based droplet generator with facile and precisedroplet size controllability | DLP | Cubicon ABS-like resin | Cubicon DLP | - | - | - | 750 | Fluid mechanics only | - | Camera | - | T-junction | Hexadecane | PEGDA (50%) + photo-initiator (5%) | Span80 (2 wt%) | 150 | 150 | 150 | 150 | 1404 | 20 | - | - | - | 20 | 200
91 | https://doi.org/10.1016/j.snb.2018.07.151 | 2018 | Three-dimensional printed microfluidic modules for design changeablecoaxial microfluidic devices | SLA | EnvisionTec R11 | EnvisionTec Perfactory | - | - | - | 150 | Fluid mechanics only | - | Camera | - | FFD | Hexadecane | Water | Tween 20 (1.5 wt%); Span80 (1.5 wt%) | 50 | 1000 | 10 | 50 | 34.7 | 371 | 5% | - | - | 150 | 400
93 | DOI: 10.1002/admt.201800408 | 2018 | Optimizing Process Parameters in Commercial Micro‐Stereolithography for Forming Emulsions and Polymer Microparticles in Nonplanar Microfluidic Devices | SLA | EnvisionTec R11 | EnvisionTec Perfactory 4 Mini | - | - | - | 75 | Fluid mechanics only | - | Camera | - | FFD | Novec 7500; DI water | PEGDA 575, 9% w/w + BIS, 1% w/w +LAP, 0.1% w/w; DI water; Novec 7500 | Krytox-Jeffamine (2 wt%); Triton X-100 (2 wt%); Pluronic F127 (1 wt%); Krytox 157 FSL (1.8 wt%) | 50 | 250 | 0.83333 | 41.6667 | 130 | 80 | 2% | 900 | 2900 | 75 | 500
94 | DOI: 10.1039/c9lc00980a | 2019 | Engineering 3D parallelized microfluidic droplet generators with equal flow profiles by computational fluid dynamics and stereolithographic printing | DLP | PIC100 | EnvisionTec Perfactory 3 Mini | 0.33333 | 0.33333 | - | 150 | Entrapment | mesenchymal stem cells (MSCs) | Camera | - | FFD | Hexadecane | Fluorescein; tyramine-conjugated dextran (Dex–TA) polymer + horseradish peroxidase (HRP) | Span80 | 200 | 200 | 200 | 200 | 1000 | 150 | 10% | - | - | 150 | 150
95 | https://doi.org/10.1016/j.saa.2019.117182 | 2019 | Investigating the impact of metal ions and 3D printed droplet microfluidics chip geometry on the luminol-potassium periodate chemiluminescence system for estimating total phenolic content in olive oil | SLA | BV007 | MiiCraft 125 | - | - | - | 500 | Chemical analysis | Gallic acid;Caffeic acid; Tyrosol; Catechin; P-Coumaric acid; o-Coumaric acid | Chemiluminescence | Gallic acid= 3.294 ng mL−1;Caffeic acid= 35.68 ng mL−1; Tyrosol= 26.07 ng mL−1; Catechin= 6.08 ng mL−1; P-Coumaric acid= 59.64 ng mL−1; o-Coumaric acid= 63.29 ng mL−1 | T-junction | HFE 7500 | luminol; potassium periodate | fluorosurfactant | 30 | 30 | 30 | 30 | - | - | - | - | - | - | -
96 | https://doi.org/10.1016/j.cej.2020.126098 | 2020 | Formation of magnetic ionic liquid-water Janus droplet in assembled 3D-printed microchannel | Polyjet | VeroClear | Stratasys EDEN 260VS™ | 0.5 | 0.5 | - | - | Fluid mechanics only | - | Camera | - | FFD | Soybean oil; FC-40 | DI water; MIL | - | 50 | 50 | 4 | 4 | - | - | - | - | - | - | -
97 | https://doi.org/10.1016/j.jfoodeng.2020.110212 | 2020 | Microfluidic droplet formation in co-flow devices fabricated by micro 3D printing | SLA | photosensitive resins Gr and HIT | Nano Arch P140 | - | - | - | 100 | Fluid mechanics only | - | Camera | - | Co-flowing | Mineral oil; heptane; dimethicone; PVA | DI water; silicone oil; PVA; dimethicone | Span 80 (1 wt%) | 3 | 340 | 3 | 340 | 500 | 200 | 3% | - | - | 100 | 500
98 | doi:10.3390/polym11111887 | 2019 | High-Throughput Production of Micrometer Sized Double Emulsions and Microgel Capsules in Parallelized 3D Printed Microfluidic Devices | Polyjet | VeroClear RGD810 + SUP705 | Stratasys EDEN 260VS™ | - | - | - | 450 | Fluid mechanics only | - | Camera | - | Co-flowing | Hexane; paraffin | water; hexane; paraffin;PEG | Tween80 (2 wt%); Span80 (2 wt%) | 20000 | 20000 | 20000 | 20000 | 500 | 500 | 5% | 27000 | 27000 | 450 | 900
99 | DOI: 10.1016/j.sna.2018.08.005 | 2018 | A hybrid modular microfluidic device for emulsion generation | DLP; FDM | BV007 | MiiCraft 3D; Makerbot Replicator 2 | - | - | - | 600 | Fluid mechanics only | - | Camera | - | Co-flowing | Silicone oil | Water-glycerol; IBA-magnetic nanoparticles-dimethoxy-2-phenylacetophenone | Tween20; DowCorning 749 | 30 | 90 | 30 | 90 | - | - | 5% | - | - | - | -
100 | https://doi.org/10.1063/1.5092529 | 2019 | Simple and low-cost production of hybrid 3D-printed microfluidic devices | FDM | ABS; PMMA | Printech 200 | - | - | - | 880 | Fluid mechanics only | - | Camera | - | T-junction | Distilled water | Dyed water; Oleic acid | - | 200 | 1000 | 200 | 1000 | - | - | - | - | - | - | -
101 | DOI: 10.5650/jos.ess13132 | 2014 | Surface treatment of ﬂow channels in microﬂuidic devices fabricated by stereolithography | SLA | epoxy resin | Sony SLA | - | - | - | 50 | Fluid mechanics only | - | Camera | - | Co-flowing | Water/Silicone oil | Silicone oil/water | Tween20 (3 wt%); KF-6017 (1 wt%) | 10000 | 300000 | 100 | 100 | 610 | 290 | 2% | - | - | 50 | 50
102 | dx.doi.org/10.1021/ac4041857 | 2014 | Cost-effectivethree-dimensionalprinting of visibly transparent microchips within minutes. | SLA | proprietary resin(* modified acrylate oligomer and monomer, an epoxy monomer, a photoinitiator, and additives) | MiiCraft | 0.2 | 4.8333 | 1-20 USD | 250 | Chemical analysis | Nitrate | Colorimetry | - | FFD | Decanol | Water + coumarin 334/rhodamine B | - | 1 | 1 | 1 | 1 | - | - | - | - | - | - | -
103 | DOI: 10.1038/ncomms10780 | 2016 | Flow invariant droplet formation for stable parallel microreactors | SLA | Somos Watershed XC 11122 | FineLine Prototyping | - | - | - | 250 | chemical analysis | PtNPs | Camera | - | T-junction | Hexane; FC-40 | Fe(SCN)x (3-x)+ in deionized water; K2PtCl4 in ethylene glycol + PVP in BMIM-Tf2N | Span80 (1 wt%) | 500 | 3500 | 166.6667 | 500 | - | - | 3% | - | - | - | -
104 | DOI: 10.1039/c7ra08611c | 2017 | 3D-printed air-blast microfluidic nozzles for preparing calcium alginate microparticles | DLP | EETEX Black | B9Creator | - | - | - | 300 | Fluid mechanics only | - | Camera | - | T-junction | Air | Sodium alginate solution | - | - | D: 100 mL min-1 - 800 mL min-1, c: 0.5 L min-1 - 4.33 L min-1 | - | - | 436 | 360 | 2.2% | - | - | 300 | 500
105 | DOI: 10.1039/c8lc00636a | 2018 | An integrated micro-milliﬂuidic processing system | Polyjet; SLA | VeroClear; VeroWhite;TangoPlus FLX930; SPOT-E elastic resin | Polyjet Objet Connex 3; Titan2 | - | - | - | 50 | Diagnostics | E. coli | Camera | - | FFD | Silicone oil | DI water | RSN-749; Tween20 | 200 | 200 | 200 | 200 | - | - | - | - | - | - | -
106 | https://doi.org/10.1021/acsami.5b03969 | 2015 | High-throughput generation of emulsions and microgels in parallelized microﬂuidic drop-makers prepared by rapid prototyping | DLP | methacrylate photoresist | EnvisionTec Perfactory Mini | - | - | - | 375 | Fluid mechanics only | - | Camera | - | T-junction | Mineral oil/heptane | DI water | Span80 | 100 | 100 | 100 | 100 | 500 | 500 | 5% | - | - | 375 | 375
107 | DOI: 10.1002/advs.201901719 | 2019 | Formation of Polarized, Functional Artificial Cells from Compartmentalized Droplet Networks and Nanomaterials, Using One-Step, Dual-Material 3D-Printed Microfluidics | FDM | PLA; PVA | Ultimaker 3 | - | - | - | 240 | Fluid mechanics only | - | Camera | - | FFD | Sunflower oil; mineral oil; alginate | Water; sunflower oil; mineral oil; hexadecane | Tween20; PVA powder; Span80; DPhPC | 2000 | 2000 | 2000 | 2000 | 430 | 125 | 4% | - | - | 240 | 1200