## FDK
Sample_ID | Target_Healthy kernels | Target_Tombstone kernels | Actual_Healthy | Actual_Tombstone | Target FDK Percentage | Actual FDK Percentage | Adjustment details* | Healthy kernels removed | Tombstone Kernels Removed | Replacement Adjustment | Purpose
00 | 500 | 0 | 458 | 0 | 0% | 0% |  |  |  |  | Develop a robust NIR calibration equation for predicting Fusarium-damaged kernels (FDK) more accurately and in higher throughput.
0 | 500 | 0 | 454 | 4 | 0% | 0.8734%
1 | 495 | 5 | 450 | 8 | 1% | 1.747% |  |  |  |  | Protocol
2 | 490 | 10 | 446 | 12 | 2% | 2.62% |  |  |  |  | 1. Analyze the 21 FDK standards (already created and highlighted in green) on the Perten DA7250. Analyze each sample (101 total) three times. Label the sample 0_1, 0_2, and 0_3 (with the number following the underscore designating the sample run).
3 | 485 | 15 | 442 | 16 | 3% | 3.493% |  |  |  |  | 2. To develop a more robust calibration model, the FDK standards can be adjusted at the 1% level using a visual determining of healthy vs. tombstone kernels. One percent increments are outlined in columns B and C.
4 | 480 | 20 | 438 | 20 | 4% | 4.367% | [5 empty] | a. Use the FDK standard that is nearest to the desired FDK value (correspond to Sample_ID in column A)
5 | 475 | 25 | 434 | 24 | 5% | 5.24% | [5 empty] | b. Remove healthy kernels and add tombstone kernels (or vice versa) based on the values in columns B and C (total kernels should always equal 500)
6 | 470 | 30 | 430 | 28 | 6% | 6.114% | [5 empty] | e.g. If I want to create FDK value of 2, I would use the 0 FDK standard and remove 10 healthy kernels and add 10 tombstone kernels
7 | 465 | 35 | 426 | 32 | 7% | 6.987% | [5 empty] | Note: Always adjust the kernel ratio back to match the original FDK standard so we can use for additional analyses
8 | 460 | 40 | 422 | 36 | 8% | 7.86% |  |  |  |  | 3. When individual FDK values are created, analyze these 3 times using the labeling outlined in step 1.
9 | 455 | 45 | 418 | 40 | 9% | 8.734% |  |  |  |  | 4. Contact a Perten rep to send spectral results along with the actual FDK values (basically this Excel spreadsheet) for NIR calibration.
10 | 450 | 50 | 414 | 44 | 10% | 9.607% | recount and remove 60 | 54 | 6 | replacing 4 | 5. Analyze remaining FDK samples that were collected from the 2018-2019 Florence scab nursery.
11 | 445 | 55 | 458 | 60 | 11% | 11.58%
12 | 440 | 60 | 453 | 65 | 12% | 12.55%
13 | 435 | 65 | 448 | 70 | 13% | 13.51%
14 | 430 | 70 | 443 | 75 | 14% | 14.48%
15 | 425 | 75 | 438 | 80 | 15% | 15.44%
16 | 420 | 80 | 433 | 85 | 16% | 16.41%
17 | 415 | 85 | 428 | 90 | 17% | 17.37%
18 | 410 | 90 | 423 | 95 | 18% | 18.34%
19 | 405 | 95 | 418 | 100 | 19% | 19.31%
20 | 400 | 100 | 413 | 105 | 20% | 20.27% | removed 40 | 32 | 8
21 | 395 | 105 | 440 | 118 | 21% | 21.15%
22 | 390 | 110 | 435 | 123 | 22% | 22.04%
23 | 385 | 115 | 430 | 128 | 23% | 22.94%
24 | 380 | 120 | 425 | 133 | 24% | 23.84%
25 | 375 | 125 | 420 | 138 | 25% | 24.73% | recount
26 | 370 | 130 | 415 | 143 | 26% | 25.63%
27 | 365 | 135 | 410 | 148 | 27% | 26.52%
28 | 360 | 140 | 405 | 153 | 28% | 27.42%
29 | 355 | 145 | 400 | 158 | 29% | 28.32%
30 | 350 | 150 | 395 | 163 | 30% | 29.21% | removed 40 | 28 | 12 | replacing 5
31 | 345 | 155 | 417 | 181 | 31% | 30.27%
32 | 340 | 160 | 411 | 187 | 32% | 31.27%
33 | 335 | 165 | 405 | 193 | 33% | 32.27%
34 | 330 | 170 | 399 | 199 | 34% | 33.28%
35 | 325 | 175 | 393 | 205 | 35% | 34.28%
36 | 320 | 180 | 387 | 211 | 36% | 35.28%
37 | 315 | 185 | 381 | 217 | 37% | 36.29%
38 | 310 | 190 | 375 | 223 | 38% | 37.29%
39 | 305 | 195 | 369 | 229 | 39% | 38.29%
40 | 300 | 200 | 363 | 235 | 40% | 39.3% | 20 removed | 12 | 8
41 | 295 | 205 | 369 | 249 | 41% | 40.29%
42 | 290 | 210 | 363 | 255 | 42% | 41.26%
43 | 285 | 215 | 357 | 261 | 43% | 42.23%
44 | 280 | 220 | 351 | 267 | 44% | 43.2%
45 | 275 | 225 | 345 | 273 | 45% | 44.17% | recount
46 | 270 | 230 | 339 | 279 | 46% | 45.15%
47 | 265 | 235 | 333 | 285 | 47% | 46.12%
48 | 260 | 240 | 327 | 291 | 48% | 47.09%
49 | 255 | 245 | 321 | 297 | 49% | 48.06%
50 | #VALUE! |  | 315 | 303 | 50% | 49.03% | 12 removed | 6 | 6
51 | 245 | 255 | 315 | 315 | 51% | 50%
52 | 240 | 260 | 309 | 321 | 52% | 50.95%
53 | 235 | 265 | 303 | 327 | 53% | 51.9%
54 | 230 | 270 | 297 | 333 | 54% | 52.86%
55 | 225 | 275 | 291 | 339 | 55% | 53.81%
56 | 220 | 280 | 285 | 345 | 56% | 54.76%
57 | 215 | 285 | 279 | 351 | 57% | 55.71%
58 | 210 | 290 | 273 | 357 | 58% | 56.67%
59 | 205 | 295 | 267 | 363 | 59% | 57.62%
60 | 200 | 300 | 261 | 369 | 60% | 58.57% | 30 removed | 12 | 18
61 | 195 | 305 | 267 | 393 | 61% | 59.55%
62 | 190 | 310 | 261 | 399 | 62% | 60.45%
63 | 185 | 315 | 255 | 405 | 63% | 61.36%
64 | 180 | 320 | 249 | 411 | 64% | 62.27%
65 | 175 | 325 | 243 | 417 | 65% | 63.18% | recount
66 | 170 | 330 | 237 | 423 | 66% | 64.09%
67 | 165 | 335 | 231 | 429 | 67% | 65%
68 | 160 | 340 | 225 | 435 | 68% | 65.91%
69 | 155 | 345 | 219 | 441 | 69% | 66.82%
70 | 150 | 350 | 213 | 447 | 70% | 67.73% | 30 removed | 9 | 21 | replacing 5
71 | 145 | 355 | 216 | 474 | 71% | 68.7%
72 | 140 | 360 | 208 | 482 | 72% | 69.86%
73 | 135 | 365 | 200 | 490 | 73% | 71.01%
74 | 130 | 370 | 192 | 498 | 74% | 72.17%
75 | 125 | 375 | 184 | 506 | 75% | 73.33%
76 | 120 | 380 | 176 | 514 | 76% | 74.49%
77 | 115 | 385 | 168 | 522 | 77% | 75.65%
78 | 110 | 390 | 160 | 530 | 78% | 76.81%
79 | 105 | 395 | 152 | 538 | 79% | 77.97%
80 | 100 | 400 | 144 | 546 | 80% | 79.13% | 50 removed | 10 | 40
81 | 95 | 405 | 146 | 594 | 81% | 80.27%
82 | 90 | 410 | 138 | 602 | 82% | 81.35%
83 | 85 | 415 | 130 | 610 | 83% | 82.43%
84 | 80 | 420 | 122 | 618 | 84% | 83.51%
85 | 75 | 425 | 114 | 626 | 85% | 84.59%
86 | 70 | 430 | 106 | 634 | 86% | 85.68%
87 | 65 | 435 | 98 | 642 | 87% | 86.76%
88 | 60 | 440 | 90 | 650 | 88% | 87.84%
89 | 55 | 445 | 82 | 658 | 89% | 88.92%
90 | 50 | 450 | 74 | 666 | 90% | 90% | 60 removed | 6 | 54
91 | 45 | 455 | 72 | 728 | 91% | 91%
92 | 40 | 460 | 64 | 736 | 92% | 92%
93 | 35 | 465 | 56 | 744 | 93% | 93%
94 | 30 | 470 | 48 | 752 | 94% | 94%
95 | 25 | 475 | 40 | 760 | 95% | 95%
96 | 20 | 480 | 32 | 768 | 96% | 96%
97 | 15 | 485 | 24 | 776 | 97% | 97%
98 | 10 | 490 | 16 | 784 | 98% | 98%
99 | 5 | 495 | 8 | 792 | 99% | 99%
100 | 0 | 500 | 0 | *800 | 100% | 100%
*Green highlights signify 5% increment
*Adjustment details denotes quantity adjustment to optimize maximum volume within loading dish
*800 FDK kernels required to fill loading dish