## Tables S1,S2,S3
Table S1. Concentrations in NIST-610 determined using carbonate (MACS-3) and glass (NIST-612) standards.
| certified |  | MACS reduction |  | NIST-612 reduction |  | comparison
elements | conc. | 2s.d. | conc. | s.d. | conc. | s.d. | difference (MACS-3) | difference (NIST-612)
Na | 99415 | n/a | 3311000 | 120595.74 | 103480 | 2186.22 | -32.3048 | -0.040889
Mg | 465 | 54 | 507.6 | 17.21 | 580.4 | 22.38 | -0.091613 | -0.24817
Al | 10797 | n/a | n/a |  | 10527 | 380.03 | n/a | 0.025007
Si | 327180 | n/a | n/a |  | 335500 | 23003.62 | n/a | -0.025429
S | 693 | 138 | 812.6 | 125.06 | n/a |  | -0.17258 | n/a
K | 486 | 92 | n/a |  | 578.8 | 17.99 | n/a | -0.19095
Mn | 485 | 10 | 497.8 | 23.32 | 454.5 | 14.02 | -0.026392 | 0.062887
Fe | 458 | 9 | 718 | 154.76 | 509.2 | 31.08 | -0.56769 | -0.11179
Sr | 515 | 0.5 | 534.2 | 15.33 | 512.3 | 9.72 | -0.037282 | 0.0052427
Zr | 440 | 16 | 2145.7 | 470.91 | 425.3 | 8.19 | -3.8766 | 0.033409
Ba | 435 | 46 | 487.5 | 19.04 | 450 | 13.99 | -0.12069 | -0.034483
U | 461 | 1.1 | 66390 | 8070.45 | 462.3 | 9.67 | -143.013 | -0.00282
Presented are the average concentrations (conc.; in parts per million) and standard deviation (s.d.) based on 10 LA-ICP-MS spot analysis conducted in one day.
N/a = not applicable.
Difference = (certified value-reduced value)/certified value
Calcium concentrations are not reported as 43Ca was used as the internal standard.
More than 100% difference between NIST-610 certified data and those reduced with MACS-3: Na, Zr, U
More than 10% difference between NIST-610 certified data and those reduced with MACS-3: S, Fe, Ba
More than 10% difference between NIST-610 certified data and those reduced with NIST-612: Mg, K, Fe
Table S2. Concentrations in NIST-612 determined using using carbonate (MACS-3) and glass (NIST-610) standards.
| certified |  | MACS reduction |  | NIST-610 reduction |  | comparison
elements | conc. | 2s.d. | conc. | s.d. | conc. | s.d. | difference (MACS-3) | difference (NIST-610)
Na | 103858 |  | 3341000 | 135601.54 | 100510 | 3406.02 | -31.1689 | 0.032236
Mg | 77 | 60 | 66.64 | 2.38 | 61.39 | 2.06 | 0.13455 | 0.20273
Al | 11167 |  | n/a |  | 11577 | 430.56 | n/a | -0.036715
Si | 336061 |  | n/a |  | 332600 | 18590.32 | n/a | 0.010299
S | n/a |  | 823.7 | 92.24 | 715.8 | 32.47 | n/a | n/a
K | 66.3 | 0.8 | n/a |  | 56.01 | 2.76 | n/a | 0.1552
Mn | 38 | 2 | 42.14 | 2.98 | 41.13 | 2.73 | -0.10895 | -0.082368
Fe | 51 | 2 | 75.37 | 24.26 | 46.61 | 4.14 | -0.47784 | 0.086078
Sr | 78.4 | 0.2 | 81.84 | 3.06 | 79.23 | 3.65 | -0.043878 | -0.010587
Zr | 38 | 4 | 194.97 | 43.88 | 39.42 | 1.26 | -4.1308 | -0.037368
Ba | 39.7 | 0.8 | 43.14 | 1.58 | 38.71 | 1.47 | -0.08665 | 0.024937
U | 37.38 | 0.08 | 5426 | 638.3 | 37.51 | 1.07 | -144.1578 | -0.0034778
Presented are the average concentrations (conc.; in parts per million) and standard deviation (s.d.) based on 10 LA-ICP-MS spot analysis conducted in one day.
N/a = not applicable.
Difference = (certified value-reduced value)/certified value
Calcium concentrations are not reported as 43Ca was used as the internal standard.
More than 100% difference between NIST-612 certified data and those reduced with MACS-3: Na, Zr, U
More than 10% difference between NIST-612 certified data and those reduced with MACS-3: Mg, Mn, Fe
More than 10% difference between NIST-612 certified data and those reduced with NIST-610: Mg, K
Table S3. Concentrations in MACS-3 determined using glass standards (NIST-610 and NIST-612).
| certified |  | NIST-610 reduction |  | NIST-612 reduction |  | comparison
element | conc. | 2s.d. | conc. | s.d. | conc. | s.d. | difference (NIST-610) | difference (NIST-612)
Na | 5900 | 400 | 193.27 | 35.73 | 200.31 | 36.79 | 0.96724 | 0.96605
Mg | 1756 | 136 | 1615.4 | 32.69 | 2062.3 | 90.43 | 0.080068 | -0.17443
Al | n/a |  | 117.41 | 43.07 | 113.54 | 41.88 | n/a | n/a
Si | n/a |  | 1643.33 | 2095.85 | 1805 | 2311.59 | n/a | n/a
S | 191 | 32 | 169.5 | 26.59 | n/a |  | 0.11257 | n/a
K | n/a |  | 10.2 | n/d | 12.1 | n/d | n/a | n/a
Mn | 536 | 28 | 523.8 | 20.28 | 487.1 | 25.56 | 0.022761 | 0.091231
Fe | 11200 | 300 | 7886 | 2052.97 | 8721 | 2442.41 | 0.29589 | 0.22134
Sr | 6760 | 350 | 6599 | 240.58 | 6534 | 185.84 | 0.023817 | 0.033432
Zr | 8.67 | 0.63 | 2.38 | 1.26 | 2.3 | 1.22 | 0.72549 | 0.73472
Ba | 59 | 2 | 52.84 | 1.31 | 54.41 | 1.23 | 0.10441 | 0.077797
U | 1.52 | 0.04 | 0.15 | 0.31 | 0.15 | 0.31 | 0.90132 | 0.90132
Presented are the average concentrations (conc.; in parts per million) and standard deviation (s.d.) based on 10 LA-ICP-MS spot analysis conducted in one day.
N/a = not applicable. N/d = not determined.
Difference = (certified value-reduced value)/certified value
Calcium concentrations are not reported as 43Ca was used as the internal standard.
More than 10% difference between MACS-3 certified data and those reduced with NIST-610: Na, S, Fe, Zr, U
More than 10% difference between MACS-3 certified data and those reduced with NIST-612: Na, Mg, Fe, Zr, U