## Supplementary Table S1
Supplementary Table S1: cfDNA quantities measured fluorometrically (triplicates) after various storage conditions. Samples were spiked with 24 ng synthetic reference standard. Eluation volume was 25 µl.
Room temparature
Stabilization | Storage | 1. read | 2. read | 3. read | mean | sd | ccfDNA [ng/ml] | ccfDNA [ng/µl] | Total ccfDNA [ng] | Mean ccfDNA [ng] | sd | Difference to mean NC. [ng] | Total ccfDNA recovered | Level of significance NC vs Spike | Level of signif. in NC over time | Level of signif. in Spike over time | Level of signif. stabilization buffers over time
No buffer
| 0h | [12 empty] | p=0.0217
| NC_1 | 5.98 | 6 | 6.07 | 6.0167 | 0.038586 | 240.6667 | 0.24067 | 6.0167 | 6.4056 | 0.27504
| NC_2 | 6.55 | 6.6 | 6.63 | 6.5933 | 0.032998 | 263.7333 | 0.26373 | 6.5933
| NC_3 | 6.57 | 6.62 | 6.63 | 6.6067 | 0.026247 | 264.2667 | 0.26427 | 6.6067
| Spike-in 5% 1 | 4.15 | 4.17 | 4.17 | 4.1633 | 0.0094281 | 166.5333 | 0.16653 | 4.1633 | 4.3678 | 0.74359 | -2.2422 | negative
| Spike-in 5% 2 | 3.56 | 3.58 | 3.59 | 3.5767 | 0.012472 | 143.0667 | 0.14307 | 3.5767 |  |  | -2.8289
| Spike-in 5% 3 | 5.3 | 5.35 | 5.44 | 5.3633 | 0.057927 | 214.5333 | 0.21453 | 5.3633 |  |  | -1.0422
| 4h | [12 empty] | p=0.015
| NC_1 | 11.5 | 11.7 | 11.7 | 11.6333 | 0.094281 | 465.3333 | 0.46533 | 11.6333 | 9.5633 | 1.5062 |  |  |  | p=0.043; 4h vs 0h
| NC_2 | 8.06 | 8.07 | 8.15 | 8.0933 | 0.040277 | 323.7333 | 0.32373 | 8.0933
| NC_3 | 8.88 | 8.99 | 9.02 | 8.9633 | 0.060185 | 358.5333 | 0.35853 | 8.9633
| Spike-in 5% 1 | 4.59 | 4.64 | 4.65 | 4.6267 | 0.026247 | 185.0667 | 0.18507 | 4.6267 | 5.1422 | 0.38046 | -4.9367 | negative |  |  | p=0.264 ; 4h vs 0h
| Spike-in 5% 2 | 5.5 | 5.53 | 5.57 | 5.5333 | 0.028674 | 221.3333 | 0.22133 | 5.5333 |  |  | -4.03
| Spike-in 5% 3 | 5.22 | 5.28 | 5.3 | 5.2667 | 0.033993 | 210.6667 | 0.21067 | 5.2667 |  |  | -4.2967
| 12h | [12 empty] | p=0.007
| NC_1 | 7.62 | 7.65 | 7.65 | 7.64 | 0.014142 | 305.6 | 0.3056 | 7.64 | 8.8867 | 1.196 |  |  |  | p=0.646; 12h vs 4h
| NC_2 | 10.5 | 10.5 | 10.5 | 10.5 | 0 | 420 | 0.42 | 10.5
| NC_3 | 8.44 | 8.53 | 8.59 | 8.52 | 0.061644 | 340.8 | 0.3408 | 8.52
| Spike-in 1% 1 | 4.64 | 4.65 | 4.64 | 4.6433 | 0.004714 | 185.7333 | 0.18573 | 4.6433 | 4.5656 | 0.12931 | -4.2433 | negative |  |  | p=0.109; 12h vs 4h
| Spike-in 1% 2 | 4.35 | 4.39 | 4.41 | 4.3833 | 0.024944 | 175.3333 | 0.17533 | 4.3833 |  |  | -4.5033
| Spike-in 1% 3 | 4.67 | 4.68 | 4.66 | 4.67 | 0.008165 | 186.8 | 0.1868 | 4.67 |  |  | -4.2167
| 24h | [12 empty] | p=0.0042
| NC_1 | 6.09 | 6.2 | 6.15 | 6.1467 | 0.044969 | 245.8667 | 0.24587 | 6.1467 | 6.5911 | 0.57063 |  |  |  | 0.698; 24h vs 0h |  | p=0.0001; NC 24h
| NC_2 | 6.18 | 6.24 | 6.27 | 6.23 | 0.037417 | 249.2 | 0.2492 | 6.23 | [5 empty] | 0.070; 24h vs 12h |  | no buffer vs. U A S
| NC_3 | 7.34 | 7.39 | 7.46 | 7.3967 | 0.049216 | 295.8667 | 0.29587 | 7.3967
| Spike-in 5% 1 | 2.93 | 3 | 2.99 | 2.9733 | 0.030912 | 118.9333 | 0.11893 | 2.9733 | 3.4022 | 0.51075 | -3.6178 | negative |  |  | 0.2038; 24h vs 0
| Spike-in 5% 2 | 4.13 | 4.11 | 4.12 | 4.12 | 0.008165 | 164.8 | 0.1648 | 4.12 |  |  | -2.4711 |  |  |  | 0.0358;24h vs 12h
| Spike-in 5% 3 | 3.09 | 3.12 | 3.13 | 3.1133 | 0.016997 | 124.5333 | 0.12453 | 3.1133 |  |  | -3.4778
U A S
| 0h | [12 empty] | p=0.0010
| NC_1 | 8.68 | 8.65 | 8.69 | 8.6733 | 0.01472 | 346.9333 | 0.34693 | 8.6733 | 8.8811 | 0.16489
| NC_2 | 9.04 | 9.07 | 9.12 | 9.0767 | 0.028577 | 363.0667 | 0.36307 | 9.0767
| NC_3 | 8.84 | 8.91 | 8.93 | 8.8933 | 0.033417 | 355.7333 | 0.35573 | 8.8933
| Spike-in 5% 1 | 14.6 | 14.6 | 14.6 | 14.6 | 0 | 584 | 0.584 | 14.6 | 16.3333 | 1.2269 | 5.7189 | 7.4522 |  |  |  | p= 0.0043; 0h Spike
| Spike-in 5% 2 | 17.1 | 17.1 | 17.2 | 17.1333 | 0.040825 | 685.3333 | 0.68533 | 17.1333 |  |  | 8.2522 |  |  |  |  | U A S vs UCB
| Spike-in 5% 3 | 17.2 | 17.2 | 17.4 | 17.2667 | 0.08165 | 690.6667 | 0.69067 | 17.2667 |  |  | 8.3856
| 4h | [12 empty] | p=0.0019
| NC_1 | 12.8 | 12.9 | 12.9 | 12.8667 | 0.040825 | 514.6667 | 0.51467 | 12.8667 | 10.8178 | 1.458 |  |  |  | p=0.1360; 4h vs 0h
| NC_2 | 9.98 | 10 | 10 | 9.9933 | 0.008165 | 399.7333 | 0.39973 | 9.9933
| NC_3 | 9.64 | 9.6 | 9.54 | 9.5933 | 0.03559 | 383.7333 | 0.38373 | 9.5933
| Spike-in 5% 1 | 19.7 | 19.6 | 19.6 | 19.6333 | 0.040825 | 785.3333 | 0.78533 | 19.6333 | 19.0222 | 0.66351 | 8.8156 | 8.2044 |  |  | p=0.0527;4h vs 0h
| Spike-in 5% 2 | 19.4 | 19.2 | 19.4 | 19.3333 | 0.08165 | 773.3333 | 0.77333 | 19.3333 |  |  | 8.5156 |  |  |  | p=0.4880; 4h vs 0h
| Spike-in 5% 3 | 18.1 | 18.1 | 18.1 | 18.1 | 0 | 724 | 0.724 | 18.1 |  |  | 7.2822
| 12h | [12 empty] | p=0.0253
| NC_1 | 9.62 | 9.62 | 9.55 | 9.5967 | 0.028577 | 383.8667 | 0.38387 | 9.5967 | 10.2211 | 1.4825 |  |  |  | p=0.7076;12h vs 4h
| NC_2 | 12.2 | 12.3 | 12.3 | 12.2667 | 0.040825 | 490.6667 | 0.49067 | 12.2667
| NC_3 | 8.78 | 8.79 | 8.83 | 8.8 | 0.018708 | 352 | 0.352 | 8.8
| Spike-in 1% 1 | 13.9 | 13.9 | 14 | 13.9333 | 0.040825 | 557.3333 | 0.55733 | 13.9333 | 15.4556 | 1.5213 | 3.7122 | 5.2344 |  |  | p=0.0384;12h vs 4h
| Spike-in 1% 2 | 14.8 | 14.9 | 15 | 14.9 | 0.070711 | 596 | 0.596 | 14.9 |  |  | 4.6789 |  |  |  | p=0.5588;12h vs 0h
| Spike-in 1% 3 | 17.4 | 17.5 | 17.7 | 17.5333 | 0.10801 | 701.3333 | 0.70133 | 17.5333 |  |  | 7.3122 |  |  |  | p=0.0649; 12h vs 4h
| 24h | [12 empty] | p=0.0002
| NC_1 | 15.3 | 15.4 | 15.4 | 15.3667 | 0.040825 | 614.6667 | 0.61467 | 15.3667 | 15.9 | 0.7308 |  |  |  | p=0.0075; 24h vs 12h |  | p=0.0001; NC 24h
| NC_2 | 16.9 | 16.9 | 17 | 16.9333 | 0.040825 | 677.3333 | 0.67733 | 16.9333 | [5 empty] | p=0.0002; 24h vs 0h |  | U A S vs AlloU
| NC_3 | 15.3 | 15.4 | 15.5 | 15.4 | 0.070711 | 616 | 0.616 | 15.4
| Spike-in 5% 1 | 25.1 | 25.4 | 25.5 | 25.3333 | 0.1472 | 1013.3333 | 1.0133 | 25.3333 | 25.0222 | 0.68925 | 9.4333 | 9.1222 |  |  | p=0.0013; 24h vs 12h | p=0.015; 24 h Spike
| Spike-in 5% 2 | 25.4 | 25.7 | 25.9 | 25.6667 | 0.17795 | 1026.6667 | 1.0267 | 25.6667 |  |  | 9.7667 |  |  |  | p=0.0009; 24h vs 4h | U A S vs AlloU
| Spike-in 5% 3 | 23.9 | 24.1 | 24.2 | 24.0667 | 0.10801 | 962.6667 | 0.96267 | 24.0667 |  |  | 8.1667 |  |  |  | p=0.2474; 24h vs 4h
p=0.1685; 0h vs 24h
AlloU
| 0h | [12 empty] | p=0.0003
| NC_1 | 2.36 | 2.36 | 2.37 | 2.3633 | 0.004714 | 94.5333 | 0.094533 | 2.3633 | 2.1833 | 0.13367
| NC_2 | 2.21 | 2.11 | 2.11 | 2.1433 | 0.04714 | 85.7333 | 0.085733 | 2.1433
| NC_3 | 2.04 | 2.05 | 2.04 | 2.0433 | 0.004714 | 81.7333 | 0.081733 | 2.0433
| Spike-in 5% 1 | 14.4 | 14.5 | 14.5 | 14.4667 | 0.04714 | 578.6667 | 0.57867 | 14.4667 | 14.0889 | 1.4135 | 12.2833 | 11.9056
| Spike-in 5% 2 | 12.2 | 12.2 | 12.2 | 12.2 | 1.7764e-15 | 488 | 0.488 | 12.2 |  |  | 10.0167
| Spike-in 5% 3 | 15.6 | 15.6 | 15.6 | 15.6 | 0 | 624 | 0.624 | 15.6 |  |  | 13.4167
| 4h | [12 empty] | p=0.0002
| NC_1 | 1.68 | 1.69 | 1.69 | 1.6867 | 0.004714 | 67.4667 | 0.067467 | 1.6867 | 1.6333 | 0.11521 |  |  |  | p=0.0122; 4h vs 0h
| NC_2 | 1.49 | 1.46 | 1.47 | 1.4733 | 0.012472 | 58.9333 | 0.058933 | 1.4733
| NC_3 | 1.75 | 1.74 | 1.73 | 1.74 | 0.008165 | 69.6 | 0.0696 | 1.74
| Spike-in 5% 1 | 7.41 | 7.38 | 7.32 | 7.37 | 0.037417 | 294.8 | 0.2948 | 7.37 | 8.2878 | 0.73785 | 5.7367 | 6.6544 |  |  | p=0.0068;4h vs 0h
| Spike-in 5% 2 | 8.31 | 8.3 | 8.34 | 8.3167 | 0.016997 | 332.6667 | 0.33267 | 8.3167 |  |  | 6.6833 |  |  |  | p= 0.0096;4h vs 0h
| Spike-in 5% 3 | 9.16 | 9.18 | 9.19 | 9.1767 | 0.012472 | 367.0667 | 0.36707 | 9.1767 |  |  | 7.5433
| 12h | [12 empty] | p=0.0134
| NC_1 | 1.44 | 1.48 | 1.47 | 1.4633 | 0.016997 | 58.5333 | 0.058533 | 1.4633 | 1.6511 | 0.15378 |  |  |  | p=0.9094;12h vs 0h
| NC_2 | 1.81 | 1.84 | 1.87 | 1.84 | 0.024495 | 73.6 | 0.0736 | 1.84
| NC_3 | 1.64 | 1.65 | 1.66 | 1.65 | 0.008165 | 66 | 0.066 | 1.65
| Spike-in 1% 1 | 4.55 | 4.57 | 4.59 | 4.57 | 0.01633 | 182.8 | 0.1828 | 4.57 | 7.1289 | 1.8276 | 2.9189 | 5.4778 |  |  | p=0.4506; 12h vs 4h
| Spike-in 1% 2 | 8.67 | 8.71 | 8.79 | 8.7233 | 0.049889 | 348.9333 | 0.34893 | 8.7233 |  |  | 7.0722 |  |  |  | p=0.0170; 12h vs 0h
| Spike-in 1% 3 | 8.07 | 8.09 | 8.12 | 8.0933 | 0.020548 | 323.7333 | 0.32373 | 8.0933 |  |  | 6.4422
| 24h | [12 empty] | p=0.0357
| NC_1 | 3.75 | 3.83 | 3.85 | 3.81 | 0.043205 | 152.4 | 0.1524 | 3.81 | 3.6611 | 0.2517 |  |  |  | p=0.0001; 24h vs 12h
| NC_2 | 3.25 | 3.33 | 3.34 | 3.3067 | 0.040277 | 132.2667 | 0.13227 | 3.3067 | [5 empty] | p=0.0001; 24h vs 0h
| NC_3 | 3.84 | 3.84 | 3.92 | 3.8667 | 0.037712 | 154.6667 | 0.15467 | 3.8667
| Spike-in 5% 1 | 9.07 | 9.2 | 9.24 | 9.17 | 0.072572 | 366.8 | 0.3668 | 9.17 | 7.4844 | 1.7138 | 5.5089 | 3.8233 |  |  | p=0.8503; 24h vs 12h | p=0.0007; 24h Spike
| Spike-in 5% 2 | 5.15 | 5.15 | 5.1 | 5.1333 | 0.02357 | 205.3333 | 0.20533 | 5.1333 |  |  | 1.4722 |  |  |  | p=0.006; 24h vs 0h | AlloU vs U A S
| Spike-in 5% 3 | 8.13 | 8.16 | 8.16 | 8.15 | 0.014142 | 326 | 0.326 | 8.15 |  |  | 4.4889
UCB
| 0h | [12 empty] | p=0.0071
| NC_1 | 1.22 | 1.22 | 1.22 | 1.22 | 0 | 48.8 | 0.0488 | 1.22 | 1.0833 | 0.11741
| NC_2 | 1.09 | 1.1 | 1.1 | 1.0967 | 0.004714 | 43.8667 | 0.043867 | 1.0967
| NC_3 | 0.92 | 0.93 | 0.95 | 0.93333 | 0.012472 | 37.3333 | 0.037333 | 0.93333
| Spike-in 5% 1 | 3.02 | 3.04 | 3.05 | 3.0367 | 0.012472 | 121.4667 | 0.12147 | 3.0367 | 3.0222 | 0.52402 | 1.9533 | 1.9389
| Spike-in 5% 2 | 3.62 | 3.66 | 3.69 | 3.6567 | 0.028674 | 146.2667 | 0.14627 | 3.6567 |  |  | 2.5733
| Spike-in 5% 3 | 2.37 | 2.38 | 2.37 | 2.3733 | 0.004714 | 94.9333 | 0.094933 | 2.3733 |  |  | 1.29
| 4h | [12 empty] | p=0.7997
| NC_1 | 1.37 | 1.38 | 1.38 | 1.3767 | 0.004714 | 55.0667 | 0.055067 | 1.3767 | 1.8311 | 0.47294 |  |  |  | p=0.0615;4h vs 0h
| NC_2 | 1.61 | 1.64 | 1.65 | 1.6333 | 0.016997 | 65.3333 | 0.065333 | 1.6333
| NC_3 | 2.48 | 2.49 | 2.48 | 2.4833 | 0.004714 | 99.3333 | 0.099333 | 2.4833
| Spike-in 5% 1 | 2 | 2.01 | 2.02 | 2.01 | 0.008165 | 80.4 | 0.0804 | 2.01 | 1.73 | 0.22595 | 0.17889 | negative |  |  | p=0.033; 4h vs 0h
| Spike-in 5% 2 | 1.46 | 1.46 | 1.45 | 1.4567 | 0.004714 | 58.2667 | 0.058267 | 1.4567 |  |  | -0.37444
| Spike-in 5% 3 | 1.74 | 1.7 | 1.73 | 1.7233 | 0.016997 | 68.9333 | 0.068933 | 1.7233 |  |  | -0.10778
| 12h | [12 empty] | p=0.1604
| NC_1 | 1.47 | 1.5 | 1.5 | 1.49 | 0.014142 | 59.6 | 0.0596 | 1.49 | 1.53 |  |  |  |  | p=0.6616; 12h vs 4h
| NC_2 | 1.02 | 1.04 | 1.04 | 1.0333 | 0.0094281 | 41.3333 | 0.041333 | 1.0333
| NC_3 | 2.06 | 2.07 | 2.07 | 2.0667 | 0.004714 | 82.6667 | 0.082667 | 2.0667
| Spike-in 1% 1 | 0.89 | 0.9 | 0.9 | 0.89667 | 0.004714 | 35.8667 | 0.035867 | 0.89667 | 0.97556 |  | -0.63333 | negative |  |  | p=0.018; 12h vs 4h
| Spike-in 1% 2 | 0.83 | 0.83 | 0.84 | 0.83333 | 0.004714 | 33.3333 | 0.033333 | 0.83333 |  |  | -0.69667
| Spike-in 1% 3 | 1.19 | 1.2 | 1.2 | 1.1967 | 0.004714 | 47.8667 | 0.047867 | 1.1967 |  |  | -0.33333
| 24h | [12 empty] | p=0.2892
| NC_1 | 1.28 | 1.3 | 1.3 | 1.2933 | 0.0094281 | 51.7333 | 0.051733 | 1.2933 | 1.92 |  |  |  |  | p=0.5622;24h vs 12h
| NC_2 | 2.35 | 2.36 | 2.37 | 2.36 | 0.008165 | 94.4 | 0.0944 | 2.36 | [5 empty] | p=0.8556; 24 h vs 4h
| NC_3 | 2.1 | 2.11 | 2.11 | 2.1067 | 0.004714 | 84.2667 | 0.084267 | 2.1067 | [5 empty] | p=0.0664; 24h vs 0h
| Spike-in 5% 1 | 1.81 | 1.82 | 1.82 | 1.8167 | 0.004714 | 72.6667 | 0.072667 | 1.8167 | 1.4622 |  | -0.10333 | negative
| Spike-in 5% 2 | 1.37 | 1.39 | 1.41 | 1.39 | 0.01633 | 55.6 | 0.0556 | 1.39 |  |  | -0.53
| Spike-in 5% 3 | 1.17 | 1.18 | 1.19 | 1.18 | 0.008165 | 47.2 | 0.0472 | 1.18 |  |  | -0.74
4°C
Stabilization | Storage | 1. read | 2. read | 3. read | mean | sd | ccfDNA [ng/ml] | ccfDNA [ng/µl] | Total ccfDNA [ng] | Mean ccfDNA [ng] | sd | Difference to mean NC. [ng] | Total ccfDNA recovered | Level of significance NC vs Spike | Level of signif. in NC over time | Level of signif. in Spike over time | Level of signif. stabilization buffers over time
No buffer
| 4h | [12 empty] | p=0.5732
| NC_1 | 10.6 | 10.7 | 10.7 | 10.6667 | 0.04714 | 426.6667 | 0.42667 | 10.6667 | 8.0522 | 2.026 |  |  |  | p=0.3185;4h vs 0h
| NC_2 | 5.69 | 5.74 | 5.76 | 5.73 | 0.029439 | 229.2 | 0.2292 | 5.73
| NC_3 | 7.7 | 7.78 | 7.8 | 7.76 | 0.043205 | 310.4 | 0.3104 | 7.76
| Spike-in 5% 1 | 6.67 | 6.71 | 6.73 | 6.7033 | 0.024944 | 268.1333 | 0.26813 | 6.7033 | 7.1656 | 0.3301 | -1.3489 | negative |  |  | p=0.0082;4h vs 0h
| Spike-in 5% 2 | 7.27 | 7.34 | 7.41 | 7.34 | 0.057155 | 293.6 | 0.2936 | 7.34 |  |  | -0.71222
| Spike-in 5% 3 | 7.41 | 7.46 | 7.49 | 7.4533 | 0.032998 | 298.1333 | 0.29813 | 7.4533 |  |  | -0.59889
| 12h | [12 empty] | p=0.0489
| NC_1 | 8.38 | 8.47 | 8.46 | 8.4367 | 0.040277 | 337.4667 | 0.33747 | 8.4367 | 8.5867 | 0.38112 |  |  |  | p= 0.7332;12h vs 4h
| NC_2 | 8.15 | 8.22 | 8.27 | 8.2133 | 0.049216 | 328.5333 | 0.32853 | 8.2133
| NC_3 | 9.07 | 9.1 | 9.16 | 9.11 | 0.037417 | 364.4 | 0.3644 | 9.11
| Spike-in 1% 1 | 6.17 | 6.23 | 6.18 | 6.1933 | 0.026247 | 247.7333 | 0.24773 | 6.1933 | 6.93 | 0.74267 | -2.3933 | negative |  |  | p=0.0261;12h vs 0h
| Spike-in 1% 2 | 7.9 | 7.96 | 7.98 | 7.9467 | 0.033993 | 317.8667 | 0.31787 | 7.9467 |  |  | -0.64 |  |  |  | p=0.7064;12h vs 4h
| Spike-in 1% 3 | 6.6 | 6.67 | 6.68 | 6.65 | 0.03559 | 266 | 0.266 | 6.65 |  |  | -1.9367
| 24h | [12 empty] | p=0.0167
| NC_1 | 15.2 | 15.2 | 15.3 | 15.2333 | 0.04714 | 609.3333 | 0.60933 | 15.2333 | 13.4 | 1.4337 |  |  |  | p=0.0101;24h vs 12 h |  | p=0.037; NC 24 h
| NC_2 | 11.7 | 11.8 | 11.7 | 11.7333 | 0.04714 | 469.3333 | 0.46933 | 11.7333 | [5 empty] | p=0.002;24h vs 0h |  | U A S vs no buffer
| NC_3 | 13.2 | 13.2 | 13.3 | 13.2333 | 0.04714 | 529.3333 | 0.52933 | 13.2333
| Spike-in 5% 1 | 9.32 | 9.35 | 9.41 | 9.36 | 0.037417 | 374.4 | 0.3744 | 9.36 | 9.18 | 0.45891 | -4.04 | negative |  |  | p= 0.0015;24h vs 0h
| Spike-in 5% 2 | 9.65 | 9.57 | 9.67 | 9.63 | 0.043205 | 385.2 | 0.3852 | 9.63 |  |  | -3.77 |  |  |  | p=0.0073;24h vs 4h
| Spike-in 5% 3 | 8.48 | 8.57 | 8.6 | 8.55 | 0.05099 | 342 | 0.342 | 8.55 |  |  | -4.85 |  |  |  | p=0.0221;24 vs 12 h
U A S
| 4h | [12 empty] | p<0.0001
| NC_1 | 6.94 | 6.99 | 7.03 | 6.9867 | 0.031885 | 279.4667 | 0.27947 | 6.9867 | 7.0744 | 0.58979 |  |  |  | p=0.0142;4h vs 0h
| NC_2 | 7.79 | 7.84 | 7.88 | 7.8367 | 0.031885 | 313.4667 | 0.31347 | 7.8367
| NC_3 | 6.35 | 6.41 | 6.44 | 6.4 | 0.032404 | 256 | 0.256 | 6.4
| Spike-in 5% 1 | 17.8 | 17.9 | 18 | 17.9 | 0.070711 | 716 | 0.716 | 17.9 | 17.7 | 0.45785 | 10.8256 | 10.6256 |  |  | p=0.2138;4h vs 0h
| Spike-in 5% 2 | 18.1 | 18.1 | 18.2 | 18.1333 | 0.040825 | 725.3333 | 0.72533 | 18.1333 |  |  | 11.0589 |  |  |  | p=0.0267;4h vs 0h
| Spike-in 5% 3 | 17 | 17.1 | 17.1 | 17.0667 | 0.040825 | 682.6667 | 0.68267 | 17.0667 |  |  | 9.9922
| 12h | [12 empty] | p=0.0038
| NC_1 | 8.38 | 8.07 | 8.1 | 8.1833 | 0.1209 | 327.3333 | 0.32733 | 8.1833 | 8.0978 | 0.65464 |  |  |  | p=0.1764;12h vs 4h
| NC_2 | 8.81 | 8.85 | 8.9 | 8.8533 | 0.031885 | 354.1333 | 0.35413 | 8.8533 | [5 empty] | p=0.1751;12h vs 0h
| NC_3 | 7.22 | 7.26 | 7.29 | 7.2567 | 0.024833 | 290.2667 | 0.29027 | 7.2567
| Spike-in 1% 1 | 18.9 | 19 | 19 | 18.9667 | 0.040825 | 758.6667 | 0.75867 | 18.9667 | 16.4222 | 1.8363 | 10.8689 | 8.3244 |  |  | p=0.3943; 12h vs 4h
| Spike-in 1% 2 | 15.5 | 15.6 | 15.7 | 15.6 | 0.070711 | 624 | 0.624 | 15.6 |  |  | 7.5022 |  |  |  | p=0.1607;12 h vs 4h
| Spike-in 1% 3 | 14.6 | 14.7 | 14.8 | 14.7 | 0.070711 | 588 | 0.588 | 14.7 |  |  | 6.6022
| 24h | [12 empty] | p=0.1238
| NC_1 | 10.4 | 10.5 | 10.5 | 10.4667 | 0.040825 | 418.6667 | 0.41867 | 10.4667 | 10.2022 | 0.32797 |  |  |  | p=0.0296;24h vs 12h
| NC_2 | 10.3 | 10.4 | 10.5 | 10.4 | 0.070711 | 416 | 0.416 | 10.4 | [5 empty] | p=0.00071;24h vs 0h
| NC_3 | 9.69 | 9.75 | 9.78 | 9.74 | 0.032404 | 389.6 | 0.3896 | 9.74
| Spike-in 5% 1 | 18.5 | 18.6 | 18.5 | 18.5333 | 0.040825 | 741.3333 | 0.74133 | 18.5333 | 14.4778 | 3.0922 | 8.3311 | 4.2756 |  |  | p=0.4867;24h vs 12h
| Spike-in 5% 2 | 13.9 | 13.9 | 13.8 | 13.8667 | 0.040825 | 554.6667 | 0.55467 | 13.8667 |  |  | 3.6644 |  |  |  | p=0.4741; 24h vs 0h
| Spike-in 5% 3 | 10.9 | 11.1 | 11.1 | 11.0333 | 0.08165 | 441.3333 | 0.44133 | 11.0333 |  |  | 0.83111 |  |  |  | p=0.248; 24h vs 0h
AlloU
| 4h | [12 empty] | p=0.0007
| NC_1 | 1.68 | 1.64 | 1.64 | 1.6533 | 0.018856 | 66.1333 | 0.066133 | 1.6533 | 1.9189 | 0.23929 |  |  |  | p=0.2455;4h vs 0h
| NC_2 | 1.86 | 1.89 | 1.86 | 1.87 | 0.014142 | 74.8 | 0.0748 | 1.87
| NC_3 | 2.23 | 2.25 | 2.22 | 2.2333 | 0.012472 | 89.3333 | 0.089333 | 2.2333
| Spike-in 5% 1 | 11.7 | 11.8 | 11.7 | 11.7333 | 0.04714 | 469.3333 | 0.46933 | 11.7333 | 13.0333 | 1.6762 | 9.8144 | 11.1144 |  |  | p=0.5330;4h vs 0h
| Spike-in 5% 2 | 15.3 | 15.4 | 15.5 | 15.4 | 0.08165 | 616 | 0.616 | 15.4 |  |  | 13.4811
| Spike-in 5% 3 | 11.9 | 12 | 12 | 11.9667 | 0.04714 | 478.6667 | 0.47867 | 11.9667 |  |  | 10.0478
| 12h | [12 empty] | p=0.0001
| NC_1 | 1.22 | 1.25 | 1.27 | 1.2467 | 0.020548 | 49.8667 | 0.049867 | 1.2467 | 1.1789 | 0.11275 |  |  |  | p=0.0170;12h vs 4h
| NC_2 | 1.25 | 1.27 | 1.29 | 1.27 | 0.01633 | 50.8 | 0.0508 | 1.27
| NC_3 | 0.99 | 1.04 | 1.03 | 1.02 | 0.021602 | 40.8 | 0.0408 | 1.02
| Spike-in 1% 1 | 7.62 | 7.67 | 7.62 | 7.6367 | 0.02357 | 305.4667 | 0.30547 | 7.6367 | 8.1278 | 0.34966 | 6.4578 | 6.9489 |  |  | p=0.0154;12h vs 4h
| Spike-in 1% 2 | 8.24 | 8.33 | 8.4 | 8.3233 | 0.06549 | 332.9333 | 0.33293 | 8.3233 |  |  | 7.1444
| Spike-in 1% 3 | 8.37 | 8.4 | 8.5 | 8.4233 | 0.055578 | 336.9333 | 0.33693 | 8.4233 |  |  | 7.2444
| 24h | [12 empty] | p<0.0001
| NC_1 | 1.6 | 1.61 | 1.6 | 1.6033 | 0.004714 | 64.1333 | 0.064133 | 1.6033 | 1.8378 | 0.19468 |  |  |  | p=0.0148;24h vs 12h |  | p=0.0001 NC 24 h
| NC_2 | 2.08 | 2.07 | 2.09 | 2.08 | 0.008165 | 83.2 | 0.0832 | 2.08 | [5 empty] | p= 0.7329;24h vs 4h |  | AlloU vs U A S
| NC_3 | 1.82 | 1.84 | 1.83 | 1.83 | 0.008165 | 73.2 | 0.0732 | 1.83
| Spike-in 5% 1 | 13 | 13.1 | 13.1 | 13.0667 | 0.04714 | 522.6667 | 0.52267 | 13.0667 | 13.0444 | 0.29979 | 11.2289 | 11.2067 |  |  | p=0.0001;24h vs 12h | p=0.034 spike 24h
| Spike-in 5% 2 | 13.4 | 13.3 | 13.5 | 13.4 | 0.08165 | 536 | 0.536 | 13.4 |  |  | 11.5622 |  |  |  | p=0.9917;24h vs 4h | AlloU vs U A S
| Spike-in 5% 3 | 12.6 | 12.7 | 12.7 | 12.6667 | 0.04714 | 506.6667 | 0.50667 | 12.6667 |  |  | 10.8289 |  |  |  | p=0.533; 24h vs 0h
UCB
| 4h | [12 empty] | p=0.0649
| NC_1 | 0.99 | 1 | 1 | 0.99667 | 0.004714 | 39.8667 | 0.039867 | 0.99667 | 1.1789 | 0.15706 |  |  |  | p=0.532; 4h vs 0h
| NC_2 | 1.15 | 1.16 | 1.17 | 1.16 | 0.008165 | 46.4 | 0.0464 | 1.16
| NC_3 | 1.36 | 1.39 | 1.39 | 1.38 | 0.014142 | 55.2 | 0.0552 | 1.38
| Spike-in 5% 1 | 0.76 | 0.77 | 0.79 | 0.77333 | 0.012472 | 30.9333 | 0.030933 | 0.77333 | 0.86 | 0.085678 | -0.40556 | negative |  |  | p=0.0046; 4h vs 0h
| Spike-in 5% 2 | 0.97 | 0.98 | 0.98 | 0.97667 | 0.004714 | 39.0667 | 0.039067 | 0.97667 |  |  | -0.20222
| Spike-in 5% 3 | 0.83 | 0.83 | 0.83 | 0.83 | 0 | 33.2 | 0.0332 | 0.83 |  |  | -0.34889
| 12h | [12 empty] | p=0.5993
| NC_1 | 1.43 | 1.48 | 1.38 | 1.43 | 0.040825 | 57.2 | 0.0572 | 1.43 | 1.3167 |  |  |  |  | p=0.3431;12h vs 4h
| NC_2 | 1.22 | 1.21 | 1.21 | 1.2133 | 0.004714 | 48.5333 | 0.048533 | 1.2133
| NC_3 | 1.3 | 1.31 | 1.31 | 1.3067 | 0.004714 | 52.2667 | 0.052267 | 1.3067
| Spike-in 1% 1 | 0.61 | 0.62 | 0.64 | 0.62333 | 0.012472 | 24.9333 | 0.024933 | 0.62333 | 2.13 |  | -0.69333 | negative |  |  | p=0.515;12h vs 4h
| Spike-in 1% 2 | 0.78 | 0.78 | 0.8 | 0.78667 | 0.0094281 | 31.4667 | 0.031467 | 0.78667 |  |  | -0.53
| Spike-in 1% 3 | 4.94 | 4.97 | 5.03 | 4.98 | 0.037417 | 199.2 | 0.1992 | 4.98 |  |  | 3.6633
| 24h | [12 empty] | p=0.7406
| NC_1 | 1.05 | 1.05 | 1.06 | 1.0533 | 0.004714 | 42.1333 | 0.042133 | 1.0533 | 1.4244 |  |  |  |  | p=0.8180;24h vs 12h
| NC_2 | 2.25 | 2.28 | 2.31 | 2.28 | 0.024495 | 91.2 | 0.0912 | 2.28 | [5 empty] | p=0.4806;24h vs 0h
| NC_3 | 0.94 | 0.94 | 0.94 | 0.94 | 0 | 37.6 | 0.0376 | 0.94
| Spike-in 5% 1 | 1.6 | 1.6 | 1.63 | 1.61 | 0.014142 | 64.4 | 0.0644 | 1.61 | 1.2556 |  | 0.18556 | negative |  |  | p=0.576;24 vs 4h
| Spike-in 5% 2 | 0.95 | 0.95 | 0.98 | 0.96 | 0.014142 | 38.4 | 0.0384 | 0.96 |  |  | -0.46444
| Spike-in 5% 3 | 1.19 | 1.21 | 1.19 | 1.1967 | 0.0094281 | 47.8667 | 0.047867 | 1.1967 |  |  | -0.22778