| Sanitary inspection questions |  | NO | YES | Risk level |  |  |  | What action is needed? |  |  |  |  | Sanitary Inspection Form |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | (risk) | (circle risk only if YES is ticked) |  |  |  |  |  |  |  |  |  |
| 1 | Is the pump damaged or loose at the point of attachment to the base so that contaminants could enter the borehole? A damaged or severely corroded pump, or a loose pump that is not securely attached to the base, may allow contaminants to enter the borehole (e.g. contaminated surface water). |  |  | Low | Medium |  | High |  |  |  |  |  |  |
| 2 | Is the borehole seal damaged or unsanitary? Signs of erosion around the upper borehole seal, or signs of pollution (e.g. faeces, rubbish) in the area directly around the seal, may increase the risk of contaminants entering the borehole. |  |  | Low | Medium |  | High |  |  |  |  |  |  |
| 3 | Is the apron around the borehole absent or inadequate to prevent contaminants from entering the borehole? A missing apron, or any gaps, deep cracks or faults in an existing apron may allow contaminants to enter the borehole. For adequate protection, the apron should be at least 1 metera wide all around the pump, sloping down towards a collar to catch and divert water to a drainage channel. |  |  | Low | Medium |  | High |  |  |  |  |  |  |
| 4 | Is the drainage inadequate, which may result in stagnant water in the borehole area? An absent, damaged or blocked drainage channel, and/or the absence of a downward slope for water to drain away from the borehole, could result in ponding and stagnated water contaminating the borehole area. |  |  | Low | Medium |  | High |  |  |  |  |  |  |
| 5 | Is the fencing or barrier around the borehole absent or inadequate to prevent animals entering the borehole area? If the fencing or barrier around the borehole is absent, broken or poorly constructed, animals could damage or contaminate the borehole area. Ideally, the fence should be constructed at least 10 metersa from the borehole. |  |  | Low | Medium |  | High |  |  |  |  |  |  |
| 6 | Is there sanitation infrastructure within 10 metersa of the borehole? Sanitation infrastructure (e.g. a latrine pit, septic tank or sewer line) close to groundwater supplies may affect water quality (e.g. by seepage or overflow and subsequent infiltration). You may need to visually check structures to see if they are sanitation-related, in addition to asking residents. |  |  | Low | Medium |  | High |  |  |  |  |  |  |
| 7 | Is there sanitation infrastructure on higher ground within 30 metersa of the borehole? Groundwater may flow towards the borehole from the direction of the sanitation infrastructure. Pollution on higher ground poses a risk, especially in the wet season, as faecal material and other pollutants may flow into the borehole. |  |  | Low | Medium |  | High |  |  |  |  |  |  |
| 8 | Can signs of other sources of pollution be seen within 10 metersa of the borehole (e.g. animals, rubbish, human settlement, open defecation, fuel storage)? Animal or human faeces on the ground close to the borehole constitute a serious risk to water quality. Presence of other waste (e.g. household, agricultural, industrial etc.) also constitutes a risk to water quality. |  |  | Low | Medium |  | High |  |  |  |  |  |  |
| 9 | Is there any point of entry to the aquifer that is unprotected within 100 metersa of the borehole? Any point of entry to the aquifer that is unprotected (e.g. uncapped/open well or borehole) is a direct pathway for contaminants to enter the borehole. |  |  | Low | Medium |  | High |  |  |  |  |  |  |
| Where there is a mechanical pump (e.g. electric or fuel-powered) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 | Is there a latrine, septic tank or sewer line within 100 meters of the pump house? Sanitation infrastructure (e.g. a latrine pit, septic tank or sewer line) close to groundwater supplies may affect water quality (e.g. by seepage or overflow and subsequent infiltration). You may need to visually check structures to see if they are sanitation-related, in addition to asking residents. A wider protection radius between sanitation infrastructure and borehole is required due to a greater drawdown from mechanical pumps. |  |  | Low | Medium |  | High |  |  |  |  |  |  |
| 11 | Is the one-way valve on the outlet pipe absent or inadequate to prevent backflow of water into the borehole? A poorly maintained or non-functioning one-way valve increases the likelihood of contaminants entering the borehole by allowing the backflow of water from the distribution system into the borehole. |  |  | Low | Medium |  | High |  |  |  |  |  | ADVANCED |
| - General guidance only. Depends on local factors including soil type and permeability, depth of the water table and the volume and concentration of contaminants. Refer to Guidelines for drinking-water quality, 2nd edition: Volume 3 - Surveillance and control of community supplies (WHO, 1997) for guidance on determining minimum safe distances for potentially contaminating activities. Note: Enter the number of ‘Low’, ‘Medium’, ‘High’ risks and multiply by the relevant number to generate a ‘Score’. The sum of the three scores is the ‘Sanitary risk score’. |  |  |  | Risk level |  | Number of risks |  |  | Multiply by: |  | Score |  |  |
|  |  |  |  | Low |  |  |  |  | 1 |  |  |  |  |
|  |  |  |  | Medium |  |  |  |  | 3 |  |  |  |  |
|  |  |  |  | High |  |  |  |  | 5 |  |  |  |  |
|  |  |  |  | Sanitary risk score (max. 55) |  |  |  |  |  | Total:: |  |  |  |

| Inspector name: | Inspector number: |  | Site number: |
| --- | --- | --- | --- |