## Blad1
Supplementary Table S3. Partial validation information of targeted HILIC and Reversed phase analytical platforms
Compounds | Platform | MS-ready monoisotopic mass (Da) | Theoritical mass [M-H] | Detected m/z | Retention time (min) | LOD (µM) | Correlation Coefficient | IS correction
Citrulline | Targeted-HILIC | 175.0957 | 174.0884 | 174.09 | 10.72 | 6.25 | 0.9915 | U 13C6- Lysine
GABA |  | 103.0633 | 102.0561 | 102.056 | 8.73 | o.25 | 0.9934
Glutamic acid |  | 147.0532 | 146.0459 | 146.047 | 8.8 | 12.5 | 0.9902 | 2,3,3-D3-leucine
Glutamine |  | 146.0691 | 145.0619 | 145.063 | 9.72 | 0.5 | 0.9924 | U 13C6- Lysine
Isoleucine |  | 131.0946 | 130.0874 | 130.089 | 6.19 | 6.25 | 0.9964 | 2,3,3-D3-leucine
Leucine |  | 131.0946 | 130.0874 | 130.089 | 5.93 | 6.25 | 0.9964
Lysine |  | 146.1055 | 145.0983 | 145.093 | 9.86 | 25 | 0.9922 | U 13C6- Lysine
Ornithine |  | 132.0899 | 131.0826 | 131.085 | 10.73 | 6.5 | 0.995
Taurine |  | 125.0147 | 124.0074 | 124.007 | 8.49 | 6.25 | 0.9974 | 2,3,3-D3-leucine
Glucose |  | 180.0634 | 179.0561 | 179.054 | 7.67 | 312.5 | 0.9979
Guanine |  | 151.0494 | 150.0421 | 150.041 | 5.59 | 1 | 0.9968 | D2-Glycine
Inosine |  | 268.0808 | 267.0735 | 267.073 | 5.5 | 0.5 | 0.9907
Adenosine |  | 267.0968 | 266.0895 | 266.089 | 3.76 | 0.01 | 0.9968
Uric acid |  | 168.0283 | 167.0211 | 167.033 | 4.62 | 62.5 | 0.9915 | 2,2,3,3-D4-Succinate
Aspartic acid |  | 133.0375 | 132.0302 | 132.03 | 8.82 | 20 | 0.9921 | 2,3,3-D3-leucine
Lactic acid |  | 90.0317 | 89.0244 | 89.027 | 5.45 | 3 | 0.995 | 2,2,3,3-D4-Succinate
Pyruvic acid |  | 88.016 | 87.0088 | 87.006 | 3.92 | 25 | 0.9984
FA (16:0) | Targeted-Reversed phase | 256.2402 | 255.233 | 255.232 | 6.35 | 6.3 | 0.9979 | FA (18:2)-D4
FA (18:0) |  | 284.2715 | 283.2643 | 283.262 | 7.31 | 6.3 | 0.9923
FA (18:1) |  | 282.2559 | 281.2486 | 281.2485 | 6.61 | 6.3 | 0.9994
FA (18:2) |  | 280.2402 | 279.233 | 279.2319 | 5.95 | 6.3 | 0.9963
FA (20:4) |  | 304.2402 | 303.2329 | 303.2316 | 5.95 | 1.9 | 0.9917
FA (20:5) |  | 302.2246 | 301.2176 | 301.2159 | 5.35 | 0.3 | 0.9996
FA (22:6) |  | 328.2402 | 327.233 | 327.2362 | 5.86 | 0.3 | 0.9988
DCA |  | 392.2927 | 391.2859 | 391.2854 | 3.14 | 0.0018 | 0.9976 | D4-DCA
CA |  | 408.2876 | 407.2809 | 407.2805 | 2.38 | 0.0018 | 0.9976
GCDCA |  | 449.3141 | 448.3075 | 448.3133 | 2.11 | 0.014 | 0.9979
GDCA |  | 449.3141 | 448.3075 | 448.3105 | 2.26 | 0.007 | 0.9989
TCDCA |  | 499.2968 | 498.2893 | 498.2917 | 2.01 | 0.0018 | 0.9968
TDCA |  | 499.2968 | 498.2893 | 498.2907 | 2.14 | 0.0005 | 0.9978
TCA |  | 515.2917 | 514.2836 | 514.2863 | 1.63 | 0.00035 | 0.9964
Supplementary Table S4.Calibration range used in developing targeted HILIC and Reversed phase platforms | [10 empty] | Example of peak shapes for different calibration lines
Targeted- HILIC |  |  | Calibration line concentration (µM)
Metabolite | Formula | HMDB-Blood conc. Rounded (µM) | Cal-8 | Cal-7 | Cal-6 | Cal-5 | Cal-4 | Cal-3 | Cal-2 | Cal-1
Citrulline | C6H13N3O3 | 25 | 400 | 200 | 100 | 50 | 25 | 12.5 | 6.25 | 3.125
GABA | C4H9NO2 | 0.25 | 32 | 16 | 8 | 4 | 2 | 1 | 0.5 | 0.25
Glutamic acid | C5H9NO4 | 100 | 1600 | 800 | 400 | 200 | 100 | 50 | 25 | 12.5
Glutamine | C5H10N2O3 | 500 | 8000 | 4000 | 2000 | 1000 | 500 | 250 | 125 | 62.5
Isoleucine | C6H13NO2 | 50 | 800 | 400 | 200 | 100 | 50 | 25 | 12.5 | 6.25
Leucine | C6H13NO2 | 50 | 800 | 400 | 200 | 100 | 50 | 25 | 12.5 | 6.25
Lysine | C6H14N2O2 | 200 | 3200 | 1600 | 800 | 400 | 200 | 100 | 50 | 25
Ornithine | C5H12N2O2 | 50 | 800 | 400 | 200 | 100 | 50 | 25 | 12.5 | 6.25
Taurine | C2H7NO3S | 100 | 1600 | 800 | 400 | 200 | 100 | 50 | 25 | 12.5
Glucose | C6H12O6 | 5000 | 40000 | 20000 | 10000 | 5000 | 2500 | 1250 | 625 | 312.5
Guanine | C5H5N5O | 0.3 | 32 | 16 | 8 | 4 | 2 | 1 | 0.5 | 0.25
Inosine | C10H12N4O5 | 0.3 | 32 | 16 | 8 | 4 | 2 | 1 | 0.5 | 0.25
Adenosine | C10H13N5O4 | 0.3 | 16 | 8 | 4 | 2 | 1 | 0.5 | 0.25 | 0.01
Uric acid | C5H4N4O3 | 500 | 8000 | 4000 | 2000 | 1000 | 500 | 250 | 125 | 62.5
Aspartate | C4H7NO4 | 20 | 640 | 320 | 160 | 80 | 40 | 20 | 10 | 5
Lactate | C3H6O3 | 1500 | 12000 | 6000 | 3000 | 1500 | 750 | 375 | 187.5 | 93.75
Pyruvate | C3H4O3 | 50 | 1600 | 800 | 400 | 200 | 100 | 50 | 25 | 12.5
Targeted- Reversed phase |  |  | Calibration line concentration (µM)
Metabolite | Formula | HMDB-Blood conc. Rounded (µM) | Cal-8 | Cal-7 | Cal-6 | Cal-5 | Cal-4 | Cal-3 | Cal-2 | Cal-1
FA (16:0) | C16H32O2 | 100 | 800 | 400 | 200 | 100 | 50 | 25 | 12.5 | 6.25
FA (18:0) | C18H36O2 | 50 | 400 | 200 | 100 | 50 | 25 | 12.5 | 6.25 | 3.125
FA (18:1) | C18H34O2 | 100 | 800 | 400 | 200 | 100 | 50 | 25 | 12.5 | 6.25
FA (18:2) | C18H32O2 | 100 | 800 | 400 | 200 | 100 | 50 | 25 | 12.5 | 6.25
FA (20:4) | C20H32O2 | 15 | 120 | 60 | 30 | 15 | 7.5 | 3.75 | 1.875 | 0.9375
FA (20:5) | C20H30O2 | 0.5 | 4 | 2 | 1 | 0.5 | 0.25 | 0.125 | 0.0625 | 0.03125
FA (22:6) | C22H32O2 | 2 | 16 | 8 | 4 | 2 | 1 | 0.5 | 0.25 | 0.125
DCA | C24H40O4 | 0.3 | 0.12 | 0.06 | 0.03 | 0.015 | 0.0075 | 0.0037 | 0.0018 | 0.0009
CA | C24H40O5 | 0.7 | 0.12 | 0.06 | 0.03 | 0.015 | 0.0075 | 0.0037 | 0.0018 | 0.0009
GCDCA | C26H43NO5 | 0.06 | 0.9 | 0.45 | 0.225 | 0.127 | 0.063 | 0.0318 | 0.0159 | 0.007
GDCA | C26H43NO5 | NA | 0.48 | 0.24 | 0.12 | 0.06 | 0.03 | 0.015 | 0.0075 | 0.0037
TCDCA | C26H45NO6S | 0.3 | 0.032 | 0.016 | 0.008 | 0.004 | 0.002 | 0.001 | 0.0005 | 0.00025
TDCA | C26H45NO6S | 0.06 | 0.12 | 0.06 | 0.03 | 0.015 | 0.0075 | 0.0037 | 0.0018 | 0.0009
TCA | C26H45NO7S | 0.3 | 0.05 | 0.025 | 0.0125 | 0.006 | 0.003 | 0.0015 | 0.0007 | 0.00035