## Tabelle1
Normalised peak areas of Quality control mixes (QC Mixes) in all batches | [6 empty] | Normalised peak areas of samples (green cells, if in linear range of QC)
Batch 1 | QC.2 | QC01 | QC05 | QC25 | QC100 | R2 | Samples | Metabolites | *Pantothenic acid | *Aspartic acid | *Lactic acid | in range of QC
*Pantothenic acid | 0.00081575 | 0.0034764 | 0.037021 | 0.25082 | 0.55226 | 0.95622 | batch 1 | Ery_M46_A3_M1_SL | 0.0056274 | 2.0051 | 11.7982 |  | amount of substance in QC Mix "normal" [pmol]
*Aspartic acid | 0.038794 | 0.11007 | 0.79307 | 2.6026 | 4.2269 | 0.87095 |  | Ery_C43M_B7_M1_SL | 0 | 3.5211 | 4.931 |  |  | QC.2 | QC01 | QC05 | QC25 | QC100
| QC high .2 | QC high 01 | QC high 05 | QC high 10 | [8 empty] | amount [pmol] | 0.2 | 1 | 5 | 25 | 100
*Lactic acid | 0.35285 | 1.4178 | 7.9055 | 10.8622 |  | 0.94717 | Batch 2 | Ery_M26_A1_M2_SL | 0.066252 | 1.8058 | 24.3861
amount of substance in QC Mix "high" [pmol]
Batch 2 | QC.2 | QC01 | QC05 | QC25 | QC100 |  | Batch 9 | Ery_T26_C7_M9_SL | 0 | 2.8873 | 8.0714 |  |  | QC high .2 | QC high 01 | QC high 05 | QC high 10
*Pantothenic acid | 0.00020243 | 0.003295 | 0.034969 | 0.24554 | 0.54119 | 0.95618 | [6 empty] | amount [pmol] | 60 | 300 | 1500 | 3000
*Aspartic acid | 0.014375 | 0.085193 | 0.75963 | 2.415 | 4.5159 | 0.91705 | Batch 12 | Ery_T43_C3_M12_SL | 0 | 2.4491 | 3.4554
| QC high .2 | QC high 01 | QC high 05 | QC high 10 |  |  |  | Ery_M1_B4_M12_SL | 0.0051425 | 0.42523 | 9.6344 |  | PGP normalized area values of Aspartic acid, Pantothenic acid, Lactic acid
*Lactic acid | 0.64274 | 3.8301 | 16.185 | 29.7984 |  | 0.99783 |  | Ery_M46_B1_M12_SL | 0.0054421 | 1.4732 | 6.0607
[8 empty] | Ery_C26M_A1_M12_SL | 0 | 2.047 | 4.3511
Batch 9 | QC.2 | QC01 | QC05 | QC25 | QC100 |  |  | Ery_M2_B4_M12_SL | 0.0020224 | 0.34431 | 8.0349
*Pantothenic acid | 0.00014257 | 0.0024559 | 0.028723 | 0.2468 | 0.49842 | 0.937 |  | Ery_C46F_A1_M12_SL | 0 | 3.1247 | 2.8848
*Aspartic acid | 0.014657 | 0.090007 | 0.55176 | 2.4144 | 4.5031 | 0.91966
| QC high .2 | QC high 01 | QC high 05 | QC high 10 |  |  | Batch 14 | Ery_T46_C6_M14_SL | 0 | 3.2758 | 4.9208
*Lactic acid | 0.5229 | 2.489 | 10.8766 | 22.5336 |  | 0.9994 |  | Ery_M2_C7_M14_SL | 0.0029073 | 0.49612 | 12.5282
[8 empty] | Ery_C43M_C7_M14_SL | 0.00041399 | 2.8369 | 3.0722
Batch 12 | QC.2 | QC01 | QC05 | QC25 | QC100 |  |  | Ery_C26F_C4_M14_SL | 0 | 2.8952 | 2.6022
*Pantothenic acid | 0.00011096 | 0.0022244 | 0.031457 | 0.20925 | 0.50561 | 0.97104 |  | Ery_C26F_A4_M14_SL | 0 | 3.3214 | 1.8009
*Aspartic acid | 0.0092492 | 0.081556 | 0.7729 | 2.3909 | 4.8924 | 0.93985 |  | Ery_C43M_A3_M14_SL | 0.00038592 | 2.7219 | 4.5945
| QC high .2 | QC high 01 | QC high 05 | QC high 10 |  |  |  | Ery_C26F_B3_M14_SL | 0 | 2.9023 | 2.1703
*Lactic acid | 0.32835 | 1.9867 | 8.8786 | 14.6149 |  | 0.98763 |  | Ery_T43_B2_M14_SL | 0 | 2.494 | 3.0358
[8 empty] | Ery_M1_C1_M14_SL | 0.0047302 | 0.37836 | 8.6788
Batch 14 | QC.2 | QC01 | QC05 | QC25 | QC100 |  |  | Ery_C46M_C3_M14_SL | 0 | 1.6877 | 3.4617
*Pantothenic acid | 6.7561e-05 | 0.0022772 | 0.03 | 0.1775 | 0.49804 | 0.98753 |  | Ery_M47_A2_M14_SL | 0.022221 | 3.6353 | 2.0916
*Aspartic acid | 0.012103 | 0.075127 | 0.7767 | 2.6127 | 4.2943 | 0.87372 |  | Ery_C46F_C7_M14_SL | 0 | 3.2286 | 2.9555
| QC high .2 | QC high 01 | QC high 05 | QC high 10 |  |  |  | Ery_T26_B4_M14_SL | 0 | 3.0961 | 2.7124
*Lactic acid | 0.24624 | 1.2009 | 8.3455 | 14.8028 |  | 0.99414 |  | Ery_M47_C2_M14_SL | 0.022524 | 3.8711 | 2.3706
[8 empty] | Ery_C47M_A6_M14_SL | 0 | 2.4728 | 4.1521
Batch 15 | QC.2 | QC01 | QC05 | QC25 | QC100
*Pantothenic acid | 5.1191e-05 | 0.002321 | 0.030146 | 0.17077 | 0.45617 | 0.98326 | Batch 15 | Ery_M43_B7_M15_SL | 0.0033227 | 2.4393 | 7.6177
*Aspartic acid | 0.0067293 | 0.057283 | 0.45846 | 2.1023 | 4.0919 | 0.93045 |  | Ery_M43_C7_M15_SL | 0.0030387 | 2.8597 | 6.3734
| QC high .2 | QC high 01 | QC high 05 | QC high 10 |  |  |  | Ery_T47_C2_M15_SL | 0 | 2.9095 | 11.0103
*Lactic acid | 0.59242 | 3.1213 | 16.8772 | 24.0821 |  | 0.95788 |  | Ery_M26_B3_M15_SL | 0.023887 | 1.5926 | 5.9678
[8 empty] | Ery_T46_B7_M15_SL | 0 | 3.1994 | 14.0995
Batch 16 | QC.2 | QC01 | QC05 | QC25 | QC100 |  |  | Ery_C47M_B1_M15_SL | 0 | 3.0173 | 5.1647
*Pantothenic acid | 3.2003e-05 | 0.0014021 | 0.022917 | 0.19607 | 0.44022 | 0.95856 |  | Ery_M43_A1_M15_SL | 0.0033227 | 2.8667 | 7.9779
*Aspartic acid | 0.0095588 | 0.080464 | 0.56035 | 2.1059 | 4.552 | 0.95403
| QC high .2 | QC high 01 | QC high 05 | QC high 10 |  |  | Batch 16 | Ery_M26_C2_M16_SL | 0.023928 | 1.4487 | 8.2733
*Lactic acid | 0.82772 | 3.4557 | 20.1066 | 29.2654 |  | 0.96309 |  | Ery_C47F_C5_M16_SL | 0 | 2.9038 | 10.6964
[8 empty] | Ery_T43_A6_M16_SL | 0 | 2.7538 | 7.0404
[8 empty] | Ery_M1_A5_M16_SL | 0.0034352 | 0.32775 | 18.0296
[8 empty] | Ery_C47F_B6_M16_SL | 0 | 3.0447 | 13.9131
[8 empty] | Ery_C26M_C3_M16_SL | 0 | 1.802 | 8.1596
[8 empty] | Ery_C47F_A6_M16_SL | 0 | 3.9388 | 11.885
[8 empty] | Ery_T47_A6_M16_SL | 0 | 3.0839 | 10.2393
[8 empty] | Ery_M46_C1_M16_SL | 0.0028533 | 1.6826 | 11.6671
[8 empty] | Ery_C26M_B3_M16_SL | 0 | 2.2804 | 19.4712
[8 empty] | Ery_C46F_B5_M16_SL | 0 | 3.1844 | 5.4728
[8 empty] | Ery_T47_B7_M16_SL | 0 | 2.9679 | 13.1036
[8 empty] | Ery_T26_A6_M16_SL | 0 | 2.7275 | 9.1179
[8 empty] | Ery_M47_B3_M16_SL | 0.019798 | 3.6733 | 5.7841
[8 empty] | Ery_T46_A1_M16_SL | 0 | 3.1193 | 12.9455
[8 empty] | Ery_C46M_B3_M16_SL | 0 | 1.4645 | 10.9782
[8 empty] | Ery_C47M_C5_M16_SL | 0 | 3.106 | 9.5848
[8 empty] | Ery_M2_A5_M16_SL | 0.023928 | 0.39568 | 22.1939