# Conventional, high-resolution and imaging flow cytometry: Benchmarking performance in characterisation of extracellular vesicles

Supplementary Materials

Jaco Botha a,b, Haley R. Pugsley c, Aase Handberg a,b

a Department of Clinical Biochemistry, Aalborg University Hospital, North Denmark Region, Aalborg, Denmark

b Department of Clinical Medicine, Aalborg University, Aalborg, Denmark

c Luminex Corporation, Seattle, Washington, United States of America

Corresponding author:

Jaco Botha

j.botha@rn.dk

Sdr. Skovvej 15, Room 309

DK-9000 Aalborg

North Denmark Region

Denmark

Fig. S1: Specific EV-defining gating strategy for FACS Aria III. A) First, a bi-sector gate was established to separate counting beads from other events in each sample. B) An EV size gate was established on the 99th percentile of green fluorescent 1000nm silica nanospheres (RI 1.4696 @ λ = 405nm) outside of the counting bead gate on FSC vs. SSC. C) On events within the EV size gate in an unlabelled PPP sample, a gate was set on the triggering threshold value of 200 to define lactadherin-binding phosphatidylserine (PS)+ events. D) On PS+ events in a PPP sample stained with isotype control antibodies, quadrant gates were established on the 99th percentiles of events in the APC vs. PE channels to define different combinations of CD41+/- and CD36+/- events, respectively. Finally, the sums of CD41+ and CD36+ events were defined by establishing logical OR gates on “CD41+|CD36+ OR CD41+|CD36-“ and “CD41-|CD36+ OR CD41+|CD36+”, respectively. Gates A-D) were transferred to all samples acquired on the flow cytometer during the same analysis day and done for each analysis day separately.

Fig. S2: Specific EV-defining gating strategy for Apogee A60 Micro-PLUS. A) An EV size gate was established on the 99th percentile of green fluorescent 1000nm silica nanospheres (RI 1.4696 @ λ = 405nm) outside of the counting bead gate on SALS vs. LALS. B) On events within the EV size gate in an unlabelled PPP sample, a gate was established on the 99th percentile in the FITC channel to define lactadherin-binding phosphatidylserine (PS)+ events. C) On PS+ events in a PPP sample stained with isotype control antibodies, quadrant gates were established on the 99th percentiles of events in the APC vs. PE channels to define different combinations of CD41+/- and CD36+/- events, respectively. Finally, the sums of CD41+ and CD36+ events were defined by establishing logical OR gates on “CD41+|CD36+ OR CD41+|CD36-“ and “CD41-|CD36+ OR CD41+|CD36+”, respectively. Gates A-C) were transferred to all samples acquired on the flow cytometer during the same analysis day and done for each analysis day separately.

Fig. S3: Specific EV-defining gating strategy for ImageStream X Mk II. A) An EV size gate was established on the 99th percentile of green fluorescent 1000nm silica nanospheres (RI 1.4696 @ λ = 405nm) outside of the counting bead gate on 405nm SSC. B) On events within the EV size gate in an unlabelled PPP sample, a gate was established on the 99th percentile in the FITC channel above the green triggering threshold to define lactadherin-binding phosphatidylserine (PS)+ events. C) On PS+ events in a PPP sample stained with isotype control antibodies, quadrant gates were established on the 99th percentiles of events in the APC vs. PE channels to define different combinations of CD41+/- and CD36+/- events, respectively. Gates A-C) were transferred to all samples.

Fig. S4: Controls for presence of EVs for data collected on FACS Aria III. A-T) Scatterplots and histograms depicting differences in signals in the A-H) phosphatidyserine-FITC and I-T) CD41-APC and CD36-PE channels between A, E, I, M, Q) PPP stained with specific antibody mixture, B, F, J, N, R) stained PPP after lysing with Triton X-100, C, G, K, O, S) buffer labelled with specific antibody, and D, H, L, P, T) unstained PPP. U-X) Depiction of concentrations differences of U) PS+, V) PS+|CD41+, W) PS+|CD36+, and X) PS+|CD41+|CD36+ events.

Fig. S5: Controls for presence of EVs for data collected on Apogee A60 Micro-PLUS. A-T) Scatterplots and histograms depicting differences in signals in the A-H) phosphatidyserine-FITC and I-T) CD41-APC and CD36-PE channels between A, E, I, M, Q) PPP stained with specific antibody mixture, B, F, J, N, R) stained PPP after lysing with Triton X-100, C, G, K, O, S) buffer labelled with specific antibody, and D, H, L, P, T) unstained PPP. U-X) Depiction of concentrations differences of U) PS+, V) PS+|CD41+, W) PS+|CD36+, and X) PS+|CD41+|CD36+ events.

Fig. S6: Controls for presence of EVs for data collected on ImageStream X Mk II. A-T) Scatterplots and histograms depicting differences in signals in the A-H) phosphatidyserine-FITC and I-T) CD41-APC and CD36-PE channels between A, E, I, M, Q) PPP stained with specific antibody mixture, B, F, J, N, R) stained PPP after lysing with Triton X-100, C, G, K, O, S) buffer labelled with specific antibody, and D, H, L, P, T) unstained PPP. U-X) Depiction of concentrations differences of U) PS+, V) PS+|CD41+, W) PS+|CD36+, and X) PS+|CD41+|CD36+ events.

Fig S7: Contribution of background to the concentration of 100nm dimly fluorescent silica nanospheres on the Apogee A60 Micro-PLUS. The bulk of background is confined to the lower end of the MALS parameter and can be enclosed in a square gate (B) with only few events having higher values than the upper limit of this gate, as demonstrated in a buffer sample (left panel). On the other hand, 100nm dimly fluorescent silica nanospheres (right panel) appear as a shoulder to this background population (S), which is not present in the buffer sample. Contribution of background to this population is minimal (100nm silica: 11750 ± 619 events/µL; PBS: 796 ± 619 events/µL).