## Header
Supplementary Materials data file for Coldwell et al. (2022) Strontium isotope systematics of Tenerife wines (Canary Islands)
Figure | S1 | Cross-analysis of wine samples by TIMS at the University of Averiro (Portugal) and ITER (Tenerife, Spain) by TIMS
Table | S1 | Measurements of international Sr isotope standard NIST 987, at the ITER TIMS facility
Table | S2 | ITER Clean laboratory blank concentrations (contamination testing for TIMS samples)
Table | S3 | University of Aveiro (Portugal) Sr purification methodology
Table | S4 | RESULTS: 87Sr/86Sr and Sr concentrations , this study
Table | S5 | 87Sr/86Sr of Tenerife DO-labelled wines, presented in rank-order

## Figure S1
Cross-analysis of wine samples by TIMS at the University of Averiro (Portugal) and ITER (Tenerife, Spain) by TIMS
Seventeen samples of wine were analysed in two separate facilities, primarily to cross-check the set-up of the new TIMS and clean laboratory at ITER, Tenerife. All ITER-generated values reproduce within analytical error (2 standard deviations) of the corresponding sample from the established Averio facilities. Unless otherwise indicated, analytical error is smaller than the symbol size.

## Table S1
Measurements of international Sr isotope standard NIST 987, at the ITER TIMS facility
| File name | Measured 87Sr/86Sr | 1SD | Published value | ITER lab average
1 | NIST987_001 | 0.71025 | 2.6e-05 | 0.71024 | 0.71025
2 | NIST987_002 | 0.71024 | 3.2e-05 | 0.71024 | 0.71025
3 | NIST987_003 | 0.71024 | 4.1e-05 | 0.71024 | 0.71025
4 | NIST987_004 | 0.71025 | 5.6e-05 | 0.71024 | 0.71025
5 | NIST987_005 | 0.71025 | 4.7e-05 | 0.71024 | 0.71025
6 | NIST987_006 | 0.71025 | 7.3e-05 | 0.71024 | 0.71025
7 | NIST987_007 | 0.71024 | 3.7e-05 | 0.71024 | 0.71025
8 | NIST987_008 | 0.71023 | 6.9e-05 | 0.71024 | 0.71025
9 | NIST987_009 | 0.71025 | 3.2e-05 | 0.71024 | 0.71025
10 | NIST987_010 | 0.71025 | 5.5e-05 | 0.71024 | 0.71025
11 | NIST987_011 | 0.71024 | 6.7e-05 | 0.71024 | 0.71025
12 | NIST987_012 | 0.71025 | 4.7e-05 | 0.71024 | 0.71025
13 | NIST987_013 | 0.71025 | 2.4e-05 | 0.71024 | 0.71025
14 | NIST987_014 | 0.71027 | 3.4e-05 | 0.71024 | 0.71025
15 | NIST987_015 | 0.71025 | 4.7e-05 | 0.71024 | 0.71025
16 | NIST987_016 | 0.71024 | 5.1e-05 | 0.71024 | 0.71025
17 | NIST987_017 | 0.71025 | 3.1e-05 | 0.71024 | 0.71025
18 | NIST987_018 | 0.71024 | 3.8e-05 | 0.71024 | 0.71025
19 | NIST987_019 | 0.71024 | 4.1e-05 | 0.71024 | 0.71025
20 | NIST987_020 | 0.71024 | 4e-05 | 0.71024 | 0.71025
| ITER lab average | 0.71025 | 4.3e-05

## Table S2
ITER Clean laboratory blank concentrations (contamination testing for TIMS samples)
Blank samples performed using MilliQ water as a ´sample´, with all digestion and resin steps equal to those for wine samples.
SAMPLE | Sr (ppb) | RSD | picograms
b01 | 0.15 | 4.6 | 150
b02 | 0.19 | 3.2 | 190
b03 | 0.21 | 5.2 | 210
b04 | 0.125 | 2.6 | 125
b05 | 0.128 | 3.5 | 128
b06 | 0.332 | 1.8 | 332
b07 | 0.3 | 2.8 | 300

## Table S3
University of Aveiro (Portugal) Sr purification methodology
1 | Transfer 4ml wine sample into Savillex and dry on a hotplate at ~150°C.
2 | 2ml ultrapure HNO3 added, gently mixed, and warmed for 2 hours with lid on.
3 | Sample lid removed, sample dried slowly to +/-0,5ml.
4 | 0.2ml HNO3+0.2ml H2O2 (ultrapure) added, when solution stops bubbling, lid on and warm mixture on hotplate.
5 | Inspect mixture for clarity, dry.
6 | Repeat last step until all organic matter has been digested and the sample is clear.
7 | Add 1ml 6M HCl (ultrapure), close the Savillex and warm on hotplate to homogenise.
8 | Dry solution.
9 | Re-dissolve in 0.1ml 7M HNO3.
10 | Perform Sr separation using Sr-specific ion-chromatographic columns.
11 | Load to filaments for TIMS analysis.

## Table S4
RESULTS: 87Sr/86Sr and Sr concentrations , this study
Denominación de Origen | Vintage | Reference name (lab) | Grape Variety | Wine type | Sr (ppb) | %RSD | 87Sr/86Sr | 1SD |  | Average Sr (ppb) per DO, by wine type | Average 87Sr/86Sr per DO, by wine type
ABONA | 2016 | WDD006 |  | ROSÉ | 1045.9282 | 2.2628 | 0.70547 | 1.8342e-05 | Red | 1454.9695 | 0.70649
ABONA | 2013 | WDD007 |  | RED | 894.0657 | 3.9292 | 0.7076 | 6.7059e-05 | White | 842.7545 | 0.70561
ABONA | 2016 | WDD008 |  | ROSÉ | 1781.691 | 2.3412 | 0.7049 | 2.3967e-05 | Rosé | 1413.8096 | 0.70518
ABONA | 2016 | WDD010 | VIJARIEGO NEGRO | RED | 2827.4506 | 3.7682 | 0.70471 | 5.6898e-05
ABONA | 2016 | WDD064 | BARRICA | RED | 1692.2821 | 2.0449 | 0.70545 | 2.3e-05
ABONA | 2016 | WDD065 |  | WHITE | 1053.9417 | 1.4315 | 0.70604 | 2.3e-05
ABONA | 2016 | WDD069 |  | WHITE | 717.8692 | 1.4317 | 0.70515 | 1.8e-05
ABONA | 2016 | WDD070 | ALBILLO CRIOLLO | WHITE | 1109.1972 | 2.2874 | 0.70476 | 2.1e-05
ABONA | 2015 | WDD072 |  | RED | 2207.6474 | 2.2977 | 0.70489 | 2e-05
ABONA | 2016 | WDD073 | RUBY CABERNET (52%) - LISTÁN NEGRO (19%) - NEGRAMOLL (19%) - BABOSO NEGRO (10%) | RED | 940.1133 | 2.5406 | 0.70658 | 2.1e-05
ABONA | 2017 | WDO04 | BABOSA NEGRO | RED | 877.6648 | 2.6785 | 0.70828 | 7.7698e-05
ABONA | 2018 | WDO05 | VIJARIEGO BLANCO Y ALBILLO CRIOLLO | WHITE | 490.0099 | 0.46614 | 0.70648 | 3.5047e-05
ABONA | 2018 | WDO06 | BABOSA NEGRO | RED | 745.5626 | 1.8543 | 0.70792 | 4.5284e-05
VALLE DE GÜIMAR | 2016 | WDD028 |  | ROSÉ | 1584.0359 | 2.8723 | 0.70537 | 1.975e-05 | Red | 1487.3721 | 0.70653
VALLE DE GÜIMAR | 2016 | WDD029 |  | WHITE | 1054.0412 | 4.2078 | 0.70594 | 2.259e-05 | White | 929.4788 | 0.70553
VALLE DE GÜÍMAR | 2016 | WDD030 | MALVASIA, MOSCATEL DE ALEJANDRÍA, MARMAJUELO Y LISTÁN BLANCO | WHITE | 870.6894 | 5.2057 | 0.70514 | 5.5772e-05 | Rosé | 1174.6111 | 0.70549
VALLE DE GÜÍMAR | 2016 | WDD032 |  | RED | 1236.7772 | 6.9985 | 0.70689 | 0.0002706
VALLE DE GÜÍMAR | 2016 | WDD033 |  | RED | 1737.967 | 5.179 | 0.70617 | 2.2597e-05
VALLE DE GÜÍMAR | 2016 | WDD034 |  | ROSÉ | 765.1864 | 5.8336 | 0.7056 | 0.00038277
VALLE DE GÜÍMAR | 2016 | WDD037 | MALVASIA AROMÁTICA - LISTÁN BLANCO | WHITE | 709.9905 | 7.5739 | 0.70557 | 2.2578e-05
VALLE DE GÜÍMAR | 2018 | WDO08 | LISTAN BLANCO ECOLOGICO | WHITE | 1083.194 | 3.3328 | 0.70547 | 8.3736e-05
TACORONTE-ACENTEJO | 2013 | WDD003 | LISTÁN NEGRO - NEGRAMOLL | RED | 1052.3667 | 1.6316 | 0.70623 | 1.695e-05 | Red | 916.9584 | 0.70677
TACORONTE-ACENTEJO | 2016 | WDD009 | MACERACION CARBONICA | RED | 590.7558 | 2.982 | 0.7069 | 2.1207e-05 | White | 538.3573 | 0.70682
TACORONTE-ACENTEJO | 2016 | WDD011 |  | ROSÉ | 1540.6236 | 3.6351 | 0.70631 | 1.6951e-05 | Rosé | 1064.1105 | 0.70629
TACORONTE-ACENTEJO | 2016 | WDD051 |  | ROSÉ | 587.5973 | 8.1435 | 0.70628 | 1.8363e-05
TACORONTE-ACENTEJO | 2016 | WDD052 |  | RED | 769 | 0.7 | 0.70718 | 2.1215e-05
TACORONTE-ACENTEJO | 2015 | WDD053 | BABOSO NEGRO (60%) - VIJARIEGO NEGRO (20%) - LISTÁN NEGRO (20%) BARRICA | RED | 874.6661 | 1.4115 | 0.70634 | 2.119e-05
TACORONTE-ACENTEJO | 2015 | WDD055 |  | WHITE | 500.6398 | 9.3288 | 0.70659 | 1.8371e-05
TACORONTE-ACENTEJO | 2016 | WDD056 |  | RED | 1162.7945 | 6.9319 | 0.70704 | 1.6969e-05
TACORONTE-ACENTEJO | 2016 | WDD057 | LISTÁN BLANCO (90%) - MOSCATEL (10%) | WHITE | 487.1893 | 5.8305 | 0.70693 | 1.5553e-05
TACORONTE-ACENTEJO |  | WDD058 | GUAL (90%) - MARMAJUELO - MALVASÍA -VERDELLO | WHITE | 587.49 | 5.2766 | 0.70677 | 1.8376e-05
TACORONTE-ACENTEJO | 2018 | WDO02 |  | WHITE | 578.1101 | 4.9384 | 0.70697 | 4.7252e-05
TACORONTE-ACENTEJO | 2018 | WDO03 | LISTAN NEGRO | RED | 1052.1671 | 3.1644 | 0.7069 | 6.1972e-05
VALLE DE LA OROTAVA | 2016 | WDD002 |  | WHITE | 402.1462 | 1.0248 | 0.70646 | 1.9781e-05 | Red | 1121.7425 | 0.70605
VALLE DE LA OROTAVA | 2016 | WDD012 | LISTÁN NEGRO (96%) - VARIETALES (4%) | RED | 1129.6295 | 4.9584 | 0.70707 | 6.2966e-05 | White | 782.3373 | 0.70648
VALLE DE LA OROTAVA | 2016 | WDD013 | LISTÁN BLANCO (95%) - VARIATALES (5%) | WHITE | 751.1932 | 1.6405 | 0.70682 | 1.9791e-05 | Rosé | 780 | 0.70606
VALLE DE LA OROTAVA | 2014 | WDD014 | BARRICA | WHITE | 1193.6724 | 2.8416 | 0.70617 | 2.401e-05
VALLE DE LA OROTAVA | 2016 | WDD015 |  | ROSÉ | 779.9282 | 0.78172 | 0.70606 | 1.4121e-05
VALLE DE LA OROTAVA | 2016 | WDD016 | LISTÁN NEGRO - NEGRAMOLL | RED | 1082.4588 | 2.6041 | 0.70625 | 0.00032393
VALLE DE LA OROTAVA | 2016 | WDD017 |  | RED | 1397.4225 | 2.0249 | 0.7049 | 2.3967e-05
VALLE DE LA OROTAVA | 2019 | WDO09 | LISTAN NEGRO | RED | 877.4593 | 2.2728 | 0.70598 | 6.2714e-05
YCODEN DAUTE ISORA | 2016 | WDD063 | LISTÁN BLANCO | WHITE | 303.8948 | 1.1438 | 0.70596 | 1.4e-05 | Red | 930.6221 | 0.70592
YCODEN DAUTE ISORA | 2016 | WDD066 | LISTÁN BLANCO | WHITE | 411.0989 | 2.2533 | 0.70631 | 2.1e-05 | White | 377.5691 | 0.70608
YCODEN DAUTE ISORA | 2015 | WDD067 | LISTÁN NEGRO BARRICA | RED | 862.4399 | 0.72805 | 0.70544 | 2e-05
YCODEN DAUTE ISORA | 2016 | WDD068 | MARMAJUELO | WHITE | 379.2713 | 2.6703 | 0.70717 | 2.5e-05
YCODEN DAUTE ISORA | 2015 | WDD071 | LISTÁN NEGRO | RED | 879.2783 | 2.7924 | 0.70537 | 1.4e-05
YCODEN DAUTE ISORA | 2015 | WDD074 | BARRICA | RED | 898.8247 | 0.82485 | 0.70687 | 3e-05
YCODEN DAUTE ISORA | 2018 | WDO01 | LISTAN BLANCO | WHITE | 416.0113 | 1.0666 | 0.70489 | 0.00014728
YCODEN DAUTE ISORA | 2018 | WDO07 | LISTAN NEGRO Y TINTILLA | RED | 1081.9453 | 2.7615 | 0.70599 | 4.5284e-05
TENERIFE |  | WDD059 |  | WHITE | 1634.0293 | 6.0821 | 0.70432 | 1.8e-05
TENERIFE |  | WDD060 |  | RED | 1788.1499 | 8.022 | 0.70492 | 2.1e-05
TENERIFE |  | WDD061 |  | ROSÉ | 1365.8283 | 2.06 | 0.70484 | 2.4e-05
TENERIFE |  | WDD062 |  | WHITE | 862.0307 | 1.3279 | 0.70545 | 2.3e-05
TENERIFE | 2016 | WDD075 |  | RED | 1063.4501 | 0.91888 | 0.70611 | 1.8e-05
TENERIFE |  | WDD076 |  | RED | 835.1773 | 1.7475 | 0.70729 | 0.00032613
TENERIFE |  | WDD077 |  | WHITE | 1103.2862 | 2.1597 | 0.7081 | 2.3e-05
TENERIFE |  | WDD078 |  | WHITE | 304.472 | 2.4398 | 0.70649 | 2.5e-05
TENERIFE |  | WDD079 |  | WHITE | 568.6899 | 2.0487 | 0.70618 | 1.8e-05
TENERIFE |  | WDD080 |  | WHITE | 413.0967 | 2.1371 | 0.7065 | 2.4e-05
TENERIFE |  | WDD081 |  | RED | 1229.7724 | 0.52748 | 0.70843 | 0.00032722
TENERIFE |  | WDD082 |  | RED | 951.1553 | 2.5423 | 0.70623 | 2.1e-05
TENERIFE |  | WDD083 |  | RED | 865.4613 | 1.2583 | 0.70632 | 1.7e-05
TENERIFE |  | WDD084 |  | RED | 1238.6109 | 2.9634 | 0.70661 | 1.3e-05
TENERIFE |  | WDD085 |  | WHITE | 358.2162 | 1.7785 | 0.70642 | 9.5971e-05
TENERIFE |  | WDD086 |  | WHITE | 421.9363 | 4.4154 | 0.70638 | 5.5377e-05
TENERIFE |  | WDD087 |  | RED | 920.7982 | 1.0973 | 0.70632 | 5.62e-05
TENERIFE |  | WDD089 |  | RED | 800.0924 | 1.6747 | 0.70608 | 7.1285e-05
TENERIFE |  | WDD090 |  | WHITE | 442.655 | 2.1133 | 0.70629 | 9.4213e-05
TENERIFE |  | WDD091 |  | RED | 912.4152 | 1.4446 | 0.7064 | 0.00012511
TENERIFE |  | WDD092 |  | WHITE | 420.3856 | 1.6242 | 0.7059 | 0.00013076
TENERIFE |  | WDD093 |  | RED | 786.4046 | 2.539 | 0.70596 | 5.2285e-05
CANARIAS | 2016 | WDD000 |  | RED | 545.7851 | 3.1685 | 0.7071 | 0.00011461
CANARIAS | 2016 | WDD001 | LISTÁN BLANCO | WHITE | 539.2158 | 2.5418 | 0.70559 | 1.8345e-05
CANARIAS | 2016 | WDD004 |  | WHITE | 686.4824 | 1.284 | 0.7059 | 2.1177e-05
CANARIAS | 2015 | WDD005 | TINTILLA - LISTÁN NEGRO | RED | 1641.854 | 2.4068 | 0.70836 | 5.4047e-05
CANARIAS | 2016 | WDD031 | LISTÁN BLANCO | WHITE | 459.7428 | 5.6618 | 0.70639 | 1.5541e-05
CANARIAS | 2015 | WDD035 | BLANCO ECOLÓGICO | WHITE | 1592.373 | 4.8847 | 0.70523 | 1.9746e-05
CANARIAS | 2016 | WDD036 | LISTÁN BLANCO DE CANARIAS | WHITE | 1319.1578 | 6.3615 | 0.705 | 1.974e-05
CANARIAS | 2014 | WDD038 | LISTÁN NEGRO - LISTÁN BLANCO CANARIAS - NEGRAMOLL | RED | 806.9561 | 6.1448 | 0.70668 | 1.9787e-05
CANARIAS | 2016 | WDD039 | LISTÁN NEGRO - LISTÑAN BLANCO CANARIAS | ROSÉ | 641.4652 | 2.7999 | 0.70643 | 2.2606e-05
CANARIAS | 2016 | WDD054 | LISTÁN BLANCO | WHITE | 538.1775 | 4.7389 | 0.70662 | 1.6959e-05
GUACHINCHE – Tenerife |  | WDD041 |  | RED | 804.9942 | 5.711 | 0.70588 | 2.4e-05
GUACHINCHE – Tenerife | 2016 | WDD042 |  | RED | 776.1023 | 6.268 | 0.70618 | 2.2598e-05
GUACHINCHE – Tenerife | 2015 | WDD043 |  | RED | 907.8139 | 6.9284 | 0.70622 | 2.4011e-05
GUACHINCHE – Tenerife | 2015 | WDD044 |  | RED | 880.2676 | 6.9438 | 0.70624 | 2.26e-05
GUACHINCHE – Tenerife |  | WDD045 |  | RED | 1495.3397 | 6.2516 | 0.70811 | 4.9979e-05
GUACHINCHE – Tenerife |  | WDD046 |  | RED | 858.3531 | 5.3021 | 0.70641 | 2.2605e-05
GUACHINCHE – Tenerife |  | WDD047 |  | WHITE | 433.8767 | 3.7077 | 0.70581 | 1.8351e-05
GUACHINCHE – Tenerife |  | WDD048 |  | RED | 1587.1797 | 7.972 | 0.70782 | 2.1235e-05
GUACHINCHE – Tenerife |  | WDD049 |  | RED | 1492.5702 | 7.2472 | 0.70811 | 5.1096e-05
GUACHINCHE – Tenerife |  | WDD050 |  | WHITE | 408.7209 | 6.2936 | 0.70626 | 2.26e-05
PENINSULAR – Rueda | 2016 | WDD019 | VERDEJO (100%) | WHITE | 792.9328 | 1.9871 | 0.71009 | 1.9883e-05
PENINSULAR – Rueda | 2015 | WDD026 | VERDEJO | WHITE | 729.2857 | 2.1662 | 0.71062 | 2.1319e-05
PENINSULAR – Rioja | 2014 | WDD018 | TEMPRANILLO (95%) - GRACIANO (5%) | RED | 2360.0865 | 3.383 | 0.70795 | 1.9823e-05
PENINSULAR – Rioja | 2016 | WDD021 | VIURA - MALVASIA | WHITE | 985.9173 | 2.6226 | 0.70845 | 1.842e-05
PENINSULAR – Rioja | 2016 | WDD023 | TEMPRANILLO | RED | 1629.7787 | 0.48038 | 0.70852 | 6.6164e-05
PENINSULAR – Rioja | 2016 | WDD025 | GARNACHA - VIURA | WHITE | 1170.0799 | 1.2141 | 0.70874 | 2.268e-05
PENINSULAR – Ribera del Duero | 2016 | WDD024 | TEMPRANILLO (100%) | ROSÉ | 1437.4681 | 4.2654 | 0.70875 | 1.701e-05
PENINSULAR – Ribera del Duero | 2016 | WDD027 | TEMPRANILLO | RED | 1620.7806 | 4.9423 | 0.70935 | 1.9862e-05
PENINSULAR – Rías Baixas | 2016 | WDD022 | ALBARIÑO | WHITE | 550.0864 | 1.7771 | 0.71248 | 7.3267e-05
PENINSULAR – Navarra | 2014 | WDD020 | CABERNET SAUVIGNON (100%) | RED | 3053.6129 | 1.0346 | 0.70839 | 1.8418e-05

## Table S5
87Sr/86Sr of Tenerife DO-labelled wines, presented in rank-order
87Sr/86Sr value | Rank order
0.70432 | 1
0.70471 | 2
0.70476 | 3
0.70484 | 4
0.70489 | 5
0.70489 | 6
0.7049 | 7
0.7049 | 8
0.70492 | 9
0.705 | 10
0.70514 | 11
0.70515 | 12
0.70523 | 13
0.70537 | 14
0.70537 | 15
0.70544 | 16
0.70545 | 17
0.70545 | 18
0.70547 | 19
0.70547 | 20
0.70557 | 21
0.70559 | 22
0.7056 | 23
0.70581 | 24
0.70588 | 25
0.7059 | 26
0.7059 | 27
0.70594 | 28
0.70596 | 29
0.70596 | 30
0.70598 | 31
0.70599 | 32
0.70604 | 33
0.70606 | 34
0.70608 | 35
0.70611 | 36
0.70617 | 37
0.70617 | 38
0.70618 | 39
0.70618 | 40
0.70622 | 41
0.70623 | 42
0.70623 | 43
0.70624 | 44
0.70625 | 45
0.70626 | 46
0.70628 | 47
0.70629 | 48
0.70631 | 49
0.70631 | 50
0.70632 | 51
0.70632 | 52
0.70634 | 53
0.70638 | 54
0.70639 | 55
0.7064 | 56
0.70641 | 57
0.70642 | 58
0.70643 | 59
0.70646 | 60
0.70648 | 61
0.70649 | 62
0.7065 | 63
0.70658 | 64
0.70659 | 65
0.70661 | 66
0.70662 | 67
0.70668 | 68
0.70677 | 69
0.70682 | 70
0.70687 | 71
0.70689 | 72
0.7069 | 73
0.7069 | 74
0.70693 | 75
0.70697 | 76
0.70704 | 77
0.70707 | 78
0.7071 | 79
0.70717 | 80
0.70718 | 81
0.70729 | 82
0.7076 | 83
0.70782 | 84
0.70792 | 85
0.7081 | 86
0.70811 | 87
0.70811 | 88
0.70828 | 89
0.70836 | 90
0.70843 | 91