## Results Overview
Overview of the results for the assessment of City, Country regarding | [6 empty] | Overview of the results for the assessment of City, Country regarding
Governance, Sector and Market | [6 empty] | Collection and Transport, Waste Disposal, Energy Recovery, Waste Recycling, Prevention and Reuse
|  | Stage 1 | Stage 2 | Stage 3 | Stage 4 | Stage 5 |  |  | Stage 1 | Stage 2 | Stage 3 | Stage 4 | Stage 5
Governance | G.1 Duties and targets | [5 empty] | Collection and transport | CT.1 Waste collection
| G.2 Laws, Regulations and Agreements | [6 empty] | CT.2 Service provider
| G.3 Nomenclature | [6 empty] | CT.3 Collection rates
| G.4 National level WM | [6 empty] | CT.4 Separate collection
| G.5 Regional level WM | [6 empty] | CT.5 Collection of recyclables
| G.6 Municipal level WM | [6 empty] | CT.6 Waste transport
| G.7 Stakeholder cooperation | [6 empty] | CT.7 Transfer stations
| G.8 Control mechanisms | [6 empty] | CT.8 Collection of hazardous wastes
| G.9 Authorization and public participation | [5 empty] | Waste disposal | WD.1 Waste disposal
| G.10 Quality standards and threshold values | [6 empty] | WD.2 Operational measures
| G.11 Data collection, reporting and evaluation | [6 empty] | WD.3 Leachate water management
| G.12 Education | [6 empty] | WD.4 Landfill gas management
| G.13 Research | [6 empty] | WD.5 Other means of disposal
| G.14 Awareness building | [5 empty] | Energy recovery | ER.1 Thermal disposal and energy recovery
| G.15 Occupational health and safety | [6 empty] | ER.2 Incineration plants
| G.16 Environmental protection | [6 empty] | ER.3 Energy and raw material recovery
Sector and Market | SM.1 Sector development | [5 empty] | Waste recycling | WR.1 Waste recycling
| SM.2 Jobs | [6 empty] | WR.2 Composting
| SM.3 Informal sector | [6 empty] | WR.3 Fermentation
| SM.4 WM system structure and organization | [6 empty] | WR.4 Sorting and recycling plants
| SM.5 Financial funding | [6 empty] | WR.5 Refuse derived fuel
| SM.6 Enterprises | [6 empty] | WR.6 Recycling of construction and demolition waste
| SM.7 Recycling market | [6 empty] | WR.7 Recycling rates
WR.8 Diversion rate and Circular material use rate
[7 empty] | Prevention and reuse | PR.1 Prevention
PR.2 Circular business and usage models
PR.3 Product design
PR.4 Process optimization and operational disposal strategies
PR.5 Waste generation
PR.6 Zero-waste index
[7 empty] | m | Subcomponent is met
[7 empty] | pm | Subcomponent is partly met
Subcomponent is not met or data is not available

## Collection and Transport
| Stage 1 |  | Stage 2 |  | Stage 3 |  | Stage 4 |  | Stage 5 |  | Rationale / Source
Collection and transport (CT.1 - CT.8)
CT.1 | CT.1.1.1 Lack of systematic collection; limited collection | pm | CT.1.2.1 Collection is systematic, but inefficient | pm | CT.1.3.1 Efficient collection through optimizing measures and concepts | pm | CT.1.4.1 Underground systems in public spaces | nm | CT.1.5.1 Waste bins have no negative effect on landscape | nm | CT.1.1.1; CT.1.1.2; CT.1.1.3; CT.1.2.1 CT.1.3.1--> pm CT.1.2.2; CT1.2.4 --> m Service quality is still low and lacks sufficient hygiene. The collection frequency and schedule are also inadequate and affect collection time. Awareness among citizens of waste management and public hygiene tends to be low. As a result, due to the manner in which wastes are discharged at the designated areas (improperly packed or not following designated timetables), much-uncollected litter remains on roads, vacant land, canals, and riversides, causing degradation of urban sanitation and the living environment. Collection points and schedules developed by the waste collection company are not widely recognized by the users, and the collection service is also delayed due to traffic. As a result, trash is piled in front of residences and shops on the street in an unsanitary manner, and informal collection points have sprung up around the city. [1;2;11]
| CT.1.1.2 Lack of uniform collection bins | pm | CT.1.2.2 Use of uniform aboveground systems | m | CT.1.3.2 Use of new bin systems (e.g. waste locks) | nm | CT.1.4.2 Waste bins with fill level sensors | nm | CT.1.5.2 Avoid of container overfilling (smart bins) | nm
|  |  | CT.1.2.3 Collection points are within 200m distance | pm | CT.1.3.3 Service provision of cleaning up bins | nm | CT.1.4.3 Introduction of digitalization measures | nm | CT.1.5.3 Smart waste container separation | nm
| CT.1.1.3 Missing of basic principles of urban hygiene, major littering exists | pm | CT.1.2.4 Urban hygiene principles are partially met, but littering in public spaces remains a problem | m |  |  |  |  | CT.1.5.4 Full maintainance of urban hygiene principles and no littering in public spaces | nm
CT.2 | CT.2.1.1 Collection mostly by waste pickers | nm | CT.2.2.1 Collection mostly by formal sector | pm | CT.2.3.1 Collection mostly by formal or organized informal sector | pm |  |  | CT.2.5.1 Waste collection exclusively by formal sector | nm | CT.2.2.1 + CT.2.3.1 --> pm Waste collection is mainly operated by contracted company from the formal sector. A private operator company, CINTRI Cambodia Co. Ltd is currently responsible for collection and transportation of the waste generated in the city, and has gradually expanded its geographical coverage over the years. [1]
CT.3 | CT.3.1.1 Collection rate (CR): urban ≤ 50% OR no data | nm | CT.3.2.1 CR: urban > 50 and ≤ 70% | nm | CT.3.3.1 CR: urban > 70 and ≤ 80% | nm | CT.3.4.1 CR: urban > 80 and ≤ 95% | m | CT.3.5.1 CR: urban > 95% and ≤ 100% | nm | CT.3.4.1 --> m; Waste collection rate of the city was about 83.3% with 839,500 tons of waste going to Dangkor Landfill in 2015< where Rural rate is not available. [3]; The municipality of Phnom Penh achieved a 92% collection efficiency [11]
| rural ≤ 30% OR no data | na | rural > 30 and ≤ 50% | na | rural > 50 and ≤ 80% | na | rural > 80 and ≤ 95% | na | rural > 95% and ≤ 100% | na
CT.4 | CT.4.1.1 Collective collection of residual waste | pm | CT.4.2.1 First forms of separation at source collection (2 fractions) | pm | CT.4.3.1 Mandatory waste collection for households and businesses (>3 fractions) | nm | CT.4.4.1 Reduction of illegal collection (e.g. electronics) | nm | CT.4.5.1 All recyclables are collected separately | nm | CT.4.1.1 ; CT4.2.1; --> pm. There is a promotion of waste separation at source. However, Waste segregation is mostly non-existent in the city. Although waste categorisation bins are distributed in some public spaces, people are not aware of their use and are not using them in the right way. [1] Currently, there more than 3,000 informal waste collectors roam the streets of Phnom Penh gathering recyclable materials.[4] CT.4.1.2; CT.4.3.4 --> pm; Effective management of construction and demolition waste (C&D) is still developing. Medical waste is separated at respective healthcare centers and categorized into three types of wastes utilizing safety equipment (safety plastic bags, paper boxes for used needles, and PVC safety bins). However, this waste separation practice is still limited or absent in some healthcare facilities. As a result, medical wastes are mixed with kitchen waste and/or ordinary waste and slip into the MSW stream. In Phnom Penh, the industrial solid waste management is conducted by Sarom Trading Company, a private sector entity that collects and transports various industrial wastes (including sludge from wastewater treatment plants) from factories (i.e., garment, leather, plastic and paper) to their own final disposal sites located in the Por Sen Chey district (formerly known as Phum Chambok, Khan Kombol, Srok Angsnuol, Kandal Province), based on a permit from the MoE. The collected industrial waste is brought into the final disposal site without any treatment, and the site itself is an open dump site with minimum controls such as basic scaling and entry registration[1]
| CT.4.1.2 Recyclables solely collected by waste pickers | m | CT.4.2.2 Recyclables collected by (in)formal sector | pm | CT.4.3.2 Set up of recycling centers | pm
[5 empty] | CT.4.3.3 Rate of incorrect sorting > 30% | na | CT.4.4.2 Rate of incorrect sorting > 10 to ≤ 30% | na | CT.4.5.2 Rate of incorrect sorting ≤ 10% | na
|  |  | CT.4.2.3 Separate collection of hospital waste | pm | CT.4.3.4 Separate collection of: electrical, construction, demolition, agricultural and forestry waste | pm
CT.5 | CT.5.1.1 CR are missing, only estimations are available or data is not publicly available | m | CT.5.2.1 Recyclables CR: |  | CT.5.3.1 Recyclables CR: |  | CT.5.4.1 Recyclables CR: |  | CT.5.5.1 Recyclables CR: |  | CT.5.1.1 --> m. There is no data available for the collection rate on specific waste stream
|  |  | Metals: ≤ 50% | na | Metals: > 50 and ≤ 70% | na | Metals: > 70 and ≤ 90% | na | Metals: > 90% | na
|  |  | Paper: ≤ 30% | na | Paper: > 30 and ≤ 70% | na | Paper: > 70 and ≤ 90% | na | Paper: > 90% | na
|  |  | Glass: ≤ 30% | na | Glass: > 30 and ≤ 70% | na | Glass: > 70 and ≤ 90% | na | Glass: > 90% | na
|  |  | Organics: ≤ 30% | na | Organics: > 30 and ≤ 70% | na | Organics: > 70 and ≤ 90% | na | Organics: > 90% | na
|  |  | Plastics : ≤ 10% | na | Plastics: > 10 and ≤ 50% | na | Plastics: > 50 and ≤ 90% | na | Plastics: >90% | na
|  |  | Textiles: ≤ 10% | na | Textiles: > 10 and ≤ 50% | na | Textiles: > 50 and ≤ 90% | na | Textiles: >90% | na
CT.6 | CT.6.1.1 Formal: Only use of simple vehicles | pm | CT.6.2.1 Formal: Mostly use of large fleets and automation | pm | CT.6.3.1 Formal: Waste firms improve vehicle fleets (incl. compactors, lifters). | pm | CT.6.4.1 Use vehicles depending on waste type | nm | CT.6.5.1 Higly engineered and fully automated vehicles | nm | CT.6.1.1; CT.6.1.1.2; CT.6.1.3 --> There is a mixture of different waste collection trucks used in the formal sectors. CT.6.1.2; CT.6.1.3 --> pm; Informal sector uses small vehicles and carts for transport recycable waste [1;11]
| CT.6.1.2 Informal: Only use of pack animals, handcarts, etc. | pm | CT.6.2.2 Informal: Mostly use of small or modified vehicles | pm | CT.6.3.2 Informal: Mostly use of modernized small trucks | na | See WM 3.4.1
CT.7 | CT.7.1.1 Direct transport of waste to landfills or dumps | m | CT.7.2.1 Introduction of transfer stations (TS) | pm | CT.7.3.1 TS increase collection efficiency | nm |  |  | CT.7.5.1 All existing TS are state of the art | nm | CT.7.1.1 --> m; CT.7.1.2 --> pm; CT.7.2.1 --> pm. At the current state, there is a transfer station in Dangkor district, the new transfer station will be created in Boeung Ta Mok lake area; which the Dangkor facility would eventually be repurposed from a landfill to a transfer station. [5]
| CT.7.1.2 Roads used as transfer areas for waste | pm | CT.7.2.2 Simple TS are unrestricted accessible to public | nm | CT.7.3.2 Advanced TS with restricted access to public. | nm
CT.8 | CT.8.1.1 Lack of separate collection of hazardous waste (HW) from households | nm | CT.8.2.1 Small HW quantities from households are collected separatly | pm | CT.8.3.1 Disposal of small quantities of HW is free of charge | pm | CT.8.4.1 Full collection of HW flows | nm | CT.8.5.1 HW quantities are reduced to a minimum | nm | CT.8.3.2 --> m. In Phnom Penh and Kandal Province, the private company Sarom Trading collects, transports and disposes of industrial waste. The company has its own disposal sites. However, specific data on industrial waste generation, or collection and disposal at Sarom’s industrial landfill is not available [3;4] CT.8.2.1 + CT.8.3.1 --> pm: There are electronic waste bins sited in petrol stations, supermarkets, and selected residential areas to make it convenient for authorities to collect it.Please noted that there is no e-waste treatment facility in Cambodia, collected e-waste are exported for further treatment. [6]
| CT.8.1.2 Lack of separate collection of industrial HW | nm |  |  | CT.8.3.2 Industrial HW is collected almost separately | m
m | fully met
pm | partially met
nm | not met
na | not available

## Waste Disposal
| Stage 1 |  | Stage 2 |  | Stage 3 |  | Stage 4 |  | Stage 5 |  | Rationale / Source
Waste disposal (WD.1 - WD.5)
WD.1 | WD.1.1.1 Lack of targeted and centralized waste disposal | nm | WD.1.2.1 Targeted and centralized waste disposal in minimum controlled landfills | pm | WD.1.3.1 Introduction of landfill classes | nm | WD.1.4.1 Mineral waste is predominantly landfilled | nm | WD.1.5.1 Waste landfilling gets less important | nm | WD.1.1.2; WD.1.1.3; WD.1.1.4; WD.1.2.1; WD.1.2.2; WD1.2.3 -> pm Most of Cambodia’s landfill sites are open dumps without any specific management system. [4] Most households burn, bury or dump their waste in their land pots and open spaces in the community. This is illegal dumping, which has been prohibited by regulations and city orders. [2] Dangkor Landfill Site is where most local municipalities transport and treat collected waste from households, industries, and hospitals, but the management is not designed to comply with global technical standards [1]. In 2021, there were 164 private-owned and state-owned landfills operating in the entire country, receiving about 5749 tons of MSW per day []
| WD.1.1.2 Disposal in open dumps, uncontrolled landfills, roads etc. | pm | WD.1.2.2 Open burning and dumping is illegal, but still practiced | pm | WD.1.3.2 Non-hazardous and hazardous waste are no longer disposed together | nm | WD.1.4.2 Recyclables are rarely landfilled | nm | WD.1.5.2 Small quantities of waste are landfilled | nm
| WD.1.1.3 Open burning for eliminiation and energy recovery | pm |  |  | WD.1.3.3 Liquid waste is no longer disposed in landfills | nm | WD.1.4.3 After-use of landfills gets more relevant | nm | WD.1.5.3 Reuse of closed landfill areas for other purposes | nm
[5 empty] | WD.1.3.4 Conversion of (in)active landfills to sanitary standard. | nm | WD.1.4.4 Waste is disposed exclusively on sanitary landfills | nm | WD.1.5.4 Importance of rehabilitation of old landfills | nm
[7 empty] | WD.1.4.5 Safe disposal of disaster waste on approved sites | nm | WD.1.5.5 Full avoidance of illegal dumping | nm
| WD.1.1.4 Open dump and controlled dump predominate | pm | WD.1.2.3 Controlled or engineered landfill predominate | pm |  |  | WD.1.4.6 Sanitary landfill predominates | nm | WD.1.5.6 All (in)active landfills have sanitary landfill standard | nm
WD.2 | WD.2.1.1 Lack of disposal controls (waste registration) | pm | WD.2.2.1 Registration of waste type, etc. before disposal | pm | WD.2.3.1 Registration and compaction of waste are the norm | nm |  |  | WD.2.5.1 All existing and new landfills comply with the current state of art | nm | WD.2.1.1; WD.2.1.2; WD.2.1.3; WD.2.1.4; WD.2.2.1; WD.2.2.2; WD.2.2.3; WD.2.2.4; WD.2.2.5 --> pm. Landfills in Cambodia are usually operated as open dumpsites, with the landfills of Phnom Penh, Siem Reap and Sihanoukville being no exemption. Waste dumping is done without compaction, and in combination with steep slopes is a dangerous situation for waste pickers(WB, 2020). Phnom Penh’s final disposal site is operated with minimum controls, such as waste weighing and leveling using heavy machines, but without practices such as soil cover, leachate treatment and use of personal protection gear for site workers. The city does not have a pre-treatment facility and does not treat waste before transferring it to the landfill site, thus the site’s lifespan is shortened. Prior to 2010, the recommended management practice forwarded by JICA, such as applying cover soil was followed. However, this was discontinued due to grave damage to the site caused by serious flooding [1].
| WD.2.1.2. Waste is burned on dumping sites | pm | WD.2.2.2 Waste burning on landfill sites is missing | pm | WD.2.3.2 Systematic pre-treatment of waste is mandatory | nm
| WD.2.1.3 Landfill access controls are lacking or inadequate | pm | WD.2.2.3 Compaction and daily cover of waste | pm | WD.2.3.3 Systematic landfill management is carried out | nm
|  |  | WD.2.2.4 Site drawing showing landfill boundary and filling area in place | pm | WD.2.3.4 Realization of measures for (post-)closure management | nm
| WD.2.1.4 Dumping sites are not staffed or only in short times for site checking | pm | WD.2.2.5 Site is staffed during operational hours | pm
WD.3 | WD.3.1.1 Leachate infiltrates soil or evaporates | nm | WD.3.2.1 Available leachate collection | m | WD.3.3.1 Leachate collection and treatment in all active landfills | nm | WD.3.4.1 Compliance of strict limits at water monitoring | nm | WD.3.5.1 Decrease of leachate and toxicity | nm | WD.3.1.2; WD.3.2.1; --> m; WD.3.2.2 --> pm; WD.4.1.1. --> pm The landfill has recently faced many problems, such as groundwater contamination and greenhouse gas effects from a high amount of food waste. (Chinda T. et al., 2022) The leachate from the landfill site is now collected to an evaporation pond for concentration, but no treatment process is currently employed. Due to the geological features of the site, collected leachate can infiltrate the ground, contaminating the soil of adjacent areas as well as the groundwater system [1,2]
| WD.3.1.2 Lack of surface and groundwaster monitoring | m | WD.3.2.2 Recirculation of leachate in the landfill body | pm
|  |  | WD.3.2.3 Surface and groundwater is monitored | nm
WD.4 | WD.4.1.1 Landfill gas is released into the atmosphere | m | WD.4.2.1 Implementation of passive collection or flaring of landfill gas | nm | WD.4.3.1 Landfill gas collection for energy recovery and gas monitoring | nm | WD.4.4.1 Compliance of strict limits for gas monitoring | nm | WD.4.5.1 Controlled flaring of landfill gas only in emergencies and when it is unprofitable (small gas quantities) | nm
WD.5 | WD.5.1.1 Waste burning or dumping on high seas and coastal waters | na |  |  | WD.5.3.1 Waste burning or dumping on high seas and coastal waters is prohibited, but still takes place | m |  |  | WD.5.5.1 Avoidance of waste burning or dumping on high seas and coastal waters | nm | WD.5.3.1 --> m: GoGreen Cambodia regularly organises city clean-ups to promote environmental awareness. Cambodian Education and Waste Management Organisation, an NGO, organises the clean-up of Siem Reap River and Stung Sangke River in Battambang and collects approximately 500 kg/month of waste (including from other activities, such as buying from informal collectors), which means that dumping in rivers are still practice and need further measures [7]
m | fully met
pm | partially met
nm | not met
na | not available

## Energy Recovery
| Stage 1 |  | Stage 2 |  | Stage 3 |  | Stage 4 |  | Stage 5 |  | Rationale / Source
Energy Recovery (ER.1 - ER.3)
ER.1 | ER.1.1.1 Controlled energy recovery or thermal disposal is missing | pm | Availability of organizational criteria: |  | ER.1.3.1 ER is used to treat large waste quantities of the city inside or outside the country | nm | ER.1.4.1 ER is essential treatment alternative | nm | ER.1.5.1 Incinerated waste amount decreases due to higher recycling rates | nm | ER.1.1.1 + ER.1.1.2 + Availability of organizational and technical --> pm; currently there are different incinerators models that use for treating medical waste. The basic organizational and technical criteria are still not fully meet the minimum requirement and additional supports are needed. [1]
|  |  | I) controlled landfills | pm | ER.1.3.2 Agreements regulate waste delivery, energy sales and pricing | nm
|  |  | II) qualified staff | pm | ER.1.3.3 At least 150.000 tons/y of suitable waste are available for incineration | nm | ER.1.4.2 Lower heating value has to be at least 11 MJ/kg | nm
|  |  | III) systematic collection | pm
|  |  | IV) Sorting at source is implemented | pm
|  |  | V) Basic WM laws and rules are developed | m
|  |  | VI) Incineration plants are positioned in political plans | m
|  |  | VII) Political and social will is given | pm
|  |  | VIII) Total costs for the plant are secured | pm
|  |  | IX) Public or private actors are experienced in managing incineration plants efficiently | pm
|  |  | X) Spare parts can be purchased locally or imported | pm
Availibility of technical criteria:
|  |  | I) stable supply of combustible waste | pm
II) lower heating value at least 7 MJ/kg
|  |  | III) Bottom and fly ash can be treated safely | pm
| ER.1.1.2 Co-incineration of waste is missing | pm | ER.1.2.3 Co-incineration of specific waste or RDFs in industrial firing plants | na | ER.1.3.4 ER as alternative for landfilling; energy-intensive industries often make use of it | na
ER.2 | ER.2.1.1 Waste incinerators are neither operating or planned in the country | m | ER.2.2.1 Incineration plants (incl. flue gas cleaning - FGC) are in planning or construction in the country or simple incineration plants without FGC are in operation with engineered process controls (incl. continous monitoring and recording of operating parameters) | nm | ER.2.3.1 Operation of waste incinerators with FGC | na | ER.2.4.1 High-tech and state of the art processes ensure reliability and safe emission elimination | nm | ER.2.5.1 Automatic and homogenous waste input | nm | ER.2.1.1 --> pm: There is no agenda for building such large scale of incineration or Waste to energy plant in Cambodia at the current stage. However, there is a study for encouragement from GGGI to initiate Waste to Energy in Phnom Penh, which proposed a lower cost alternative from WtE to Waste to Fuel by facilitating investment in Mechnanical and Biological Treatment (MBT) to produce Refuse Derived Fuel. [8]
[5 empty] | I) Continuous monitoring of operating parameters and emissions | na | ER.2.4.2 Flue gas controls compliant with applicable environmental standards | nm
[5 empty] | II) Monitoring systems are routinely calibrated | na
[5 empty] | III) Maintenance plans or schedules are in place | na
[5 empty] | IV) Evidence that equipment is well maintained | na
[5 empty] | V) Fire extinguishers available on site | na
ER.3 | ER.3.1.1 Raw material and ER through controlled waste incineration is missing | m | ER.3.2.1 Possible recovery of energy through waste incineration | nm | ER.3.3.1 Selling of recovered energy (electrical, thermal, combination) | na |  |  | ER.3.5.1 Increased replacing of primary energy resources | nm
[5 empty] | ER.3.3.2 Incineration or RDF plants are located in areas with moderate heat demand and good transport and energy infrastructure exists | na
|  |  | ER.3.2.2 Recycling of incineration residues is missing | na | ER.3.3.3 Recovered metals from incineration process are sold; other by-products are treated safely, but recycled rarely | na | ER.3.4.1 Increased recycling and reuse of slags | nm | ER.3.5.2 Almost complete reintroduction of by-products from incineration into the economic cycle | nm
m | fully met
pm | partially met
nm | not met
na | not available

## Waste Recycling
| Stage 1 |  | Stage 2 |  | Stage 3 |  | Stage 4 |  | Stage 5 |  | Rationale / Source
Waste recycling (WR.1 - WR.8)
WR.1 | WR.1.1.1 Material recycling is rarely done, but open-loop recycling and downcycling predominate | m |  |  | WR.1.3.1 Extension of waste treatment by mechanical, biological, etc. treatment options | nm | WR.1.4.1 (Semi-)closed-loop recycling and upcycling increase | nm | WR.1.5.1 (Semi-)closed-loop recycling dominates | nm | WR.1.1.1 + WR.1.1.2 --> m; Limited data are available on recycling in Cambodia since a large quantity of waste collected is exported to Thailand and Vietnam due to the lack of domestic recycling infrastructure. Only a few local NGOs currently process waste by recycling and just two composting facilities are known to operate in Phnom Penh. Due to a lack of financial incentives, private sector initiatives remain limited. [4]
[7 empty] | WR.1.4.2 Dialogues between manufactures and recyclers take place to identify and solve recycling problems | nm | WR.1.5.2 Implementation of circular bioeconomy | nm
| WR.1.1.2 Ensured input for recycling plants is lacking | m |  |  | WR.1.3.2 Input for recycling plants is partly ensured | nm | WR.1.4.3 Input for recycling plants is fully ensured | nm
WR.2 | WR.2.1.1 Organic waste is landfilled or is composted at home or used as animal food | m | WR.2.2.1 Recycling of organics in simple or open composting plants or with mobile aggregates | pm | WR.2.3.1 Introduction of static, closed composting in tunnels / containers with sorting technologies | pm | WR.2.4.1 Integration of (quasi-) dynamic processes in existing plants | nm | WR.2.5.1 Microplastics is removed from compost | nm | WR.2.1.1 -->m; WR.2.2.1 + WR.2.3.1 --> pm; four methods are commonly used in food waste management in Cambodia include composting, anaerobic digestion, use of biodigesters, and landfilling (Chinda T. et al., 2022) (National level) In addition to local NGOs such as CSARO and COMPED2 which accept organic waste from Daeum Kor Market for composting, several private companies are exploring the business potential targeting both organic and inorganic wastes.[1] Only two composting facilities are known to operate in Phnom Penh, the NGO Community Sanitation and Recycling Organization (CSARO), and TwinAgri, a company from Singapore. Urban organic waste in Cambodia could be utilised for animal feed, composting and as fertiliser.[4,9]
|  |  | WR.2.2.2 Compost has low compost quality | na | WR.2.3.2 Increased use of compost in agriculture & landscape management | nm | WR.2.4.2 High quality compost, which still contains microplastic | nm | WR.2.5.2 Very high quality and purity level of compost | nm
[7 empty] | WR.2.4.3 Increased use of compost in the private sector | nm
WR.3 | WR.3.1.1 No planned or operation fermentation plants | m | WR.3.2.1 Planning or construction of fermentation plants | nm | WR.3.3.1 Fermentation plants recycle organics | nm |  |  | WR.3.5.1 Biogas plants are an essential component of CE | nm | Currently, there are over 28000 biodigesters, representing 6% of potential households in Cambodia. There are different types of small-scale biodigesters, including fixed dome, floating drum, low-cost polyethylene tube, balloon, horizontal, earth-pit, and ferro-cement [26]. The most widely used model in Cambodia is the fixed dome digester [15]. It consists of a digester with a fixed non-moveable gas holder, which sits on top of the digester. Renewable energy, generated by this biodigester, includes methane and bio-slurry gas that are mainly used in cooking and lighting [15]. (Chinda T. et al., 2022)
[5 empty] | WR.3.3.2 Separation of impurities for energetical use of biogas (e.g. in combined heat and power plants) | nm | WR.3.4.1 Introduction of CO2-separation stage at plants | nm
[7 empty] | WR.3.4.2 Feeding of biomethan into the natural gas grid | nm
[5 empty] | WR.3.3.3 Fermentation residues are used as fertilizers | nm | WR.3.4.3 Very high quality of digestates | nm | WR.3.5.2 Mostly full removal of microplastics from digestates | nm
WR.4 | WR.4.1.1 Manual sorting of recyclables | pm | WR.4.2.1 Partially automated sorting of recyclables (incl. shredding and separation units) | pm | WR.4.3.1 Increase of sorting efficiencies through mechanical separation, screening aggregates | pm | WR.4.4.1 Generation of high-quality fractions through modern sorting facilities | nm | WR.4.5.1 Increasingly digitalized recycling technologies | nm | WR.4.1.1. + WR.4.1.2 + WR.4.2.1 + WR.4.3.1 --> Limited data are available on recycling in Cambodia since a large quantity of waste collected is exported to Thailand and Vietnam due to the lack of domestic recycling infrastructure. Only a few local NGOs currently process waste by recycling and just two composting facilities are known to operate in Phnom Penh. Due to a lack of financial incentives, private sector initiatives remain limited. [4] According to JICA reports (2005), around 7.3% of all waste generated, estimated at over 75,000 tonnes a year (based on 2016 data) was recycled through the informal recycling sector in Phnom Penh. domestic recycling activities within Cambodia are limited due to the lack of recycling industry, recycling infrastructures and market for recyclable materials and recycled products. Therefore, some of the recyclable wastes and materials are exported to neighboring countries for recycling purpose[1].
| WR.4.1.2 Inefficient recovery of valuable materials from electronic waste | pm | WR.4.2.2 Recovery of metals and RDFs in mechanical-biological plants | na | WR.4.3.2 Generation of high quality mono-fractions | na |  |  | WR.4.5.2 Increasing use of digitalization measures to rise recyclability of products | nm
[5 empty] | WR.4.3.3 Use of stabilate processes to separate metals and RDFs | nm | WR.4.4.2 Production of methanol or synthesis gas from raw material plastic recycling | nm
[9 empty] | WR.4.5.3 Safe recycling of waste containing harmful substances | nm
WR.5 | WR.5.1.1 Lack of RDFs recovery from waste | m | WR.5.2.1 Start of RDF recovery from waste treatment plants | pm | WR.5.3.1 Increasing recovery of RDFs from waste | nm |  |  | WR.5.5.1 RDF is decreasing due higher closed loop recycling | nm | WR.5.1.1 --> m; + WR.5.2.1 --> pm: there is a study from GGGI to initiate Waste to Energy in Phnom Penh, which proposed a lower cost alternative from WtE to Waste to Fuel by facilitating investment in Mechnanical and Biological Treatment (MBT) to produce Refuse Derived Fuel. [8] However, there is no other RDFs recovery from waste yet.
WR.6 | WR.6.1.1 Only conventional demolition of buildings | m | WR.6.2.1 Mostly conventional demolition of buildings | nm | WR.6.3.1 Semi-selective demolition occurs predominantly | nm | WR.6.4.1 Predomination of selective demolition | nm | WR.6.5.1 Only selective demolition occurs | nm | WR.6.1.1 + WR.6.1.2 + WR.6.1.3 --> m; WR.6.2.3 -->pm: Sub-decree 113 (Urban Solid Waste Management) stipulates the responsibilities of the generators and contractors of C&D waste for proper storage, collection, transportation and final disposal; and allows the generator to dispose of the generated C&D waste at the final landfill site either by itself or via contractor services. However, in practice, some C&D waste is not brought into the final disposal site. As a result, while some C&D waste is reused or recycled (only pure bricks, soil, rocks and stones) on demand, mixed C&D wastes with no market value are partly mixed with general waste and partly illegally dumped along water bodies or on arable lands or fields. The combustible components are often openly burnt at the time of illegal disposal, although a slight decreasing trend in this practice has been noted. [1]
| WR.6.1.2 Depollution is done rarely | m | WR.6.2.2 More frequent de-pollution | nm |  |  | WR.6.4.2 Depollution is usual practice in demolition | nm
| WR.6.1.3 C&D waste disposal on landfills/dumps predominates | m | WR.6.2.3 Rare use of C&D material as filler or surface excavations | pm | WR.6.3.2 Increased use of C&D materials as filler or for landfill construction | nm | WR.6.4.3 Increased high quality recycled construction material | nm | WR.6.5.2 Almost complete recycling of C&D waste, little is landfilled | nm
[5 empty] | WR.6.3.3 Emerging of recycling routes for C&D materials (road construction) | nm | WR.6.4.4 Thermal treatment or landfilling of non-recyclable construction materials | nm | WR.6.5.3 Prohibition of non-recyclable materials for construction | nm
[7 empty] | WR.6.4.5 Use of robotics for efficient sorting | nm
WR.7 | WR.7.1.1 Precise recycling rate numbers are missing | m | WR.7.2.1 Recycling rates: |  | WR.7.3.1 Recycling rates: |  | WR.7.4.1 Recycling rates: |  | WR.7.5.1 Recycling rates: |  | WR.7.1.1 --> m: Precise recycling rate for specific waste stream are missing. According to UNEP the overall is less than 50%.
|  |  | Metals: ≤ 40 % | na | Metals: > 40 and ≤ 70 % | na | Metals: > 70 and ≤ 90 % | na | Metals: > 90 % | na
|  |  | Paper: ≤ 40 % | na | Paper: > 40 and ≤ 70 % | na | Paper: > 70 and ≤ 90 % | na | Paper: > 90 % | na
|  |  | Glass: ≤ 40 % | na | Glass: > 40 and ≤ 70 % | na | Glass: > 70 and ≤ 90 % | na | Glass: > 90 % | na
|  |  | Composites: ≤ 20 % | na | Composites: > 20 and ≤ 60 % | na | Composites: > 60 and ≤ 90 % | na | Composites: > 90 % | na
|  |  | Plastics: ≤ 20 % | na | Plastics: > 20 and ≤ 60 % | na | Plastics: > 60 and ≤ 90 % | na | Plastics: > 90 % | na
|  |  | WR.7.2.2 Recycling rates: |  | WR.7.3.2 Recycling rates: |  | WR.7.4.2 Recycling rates: |  | WR.7.5.2 Recycling rates:
|  |  | E-Waste: > 10 and ≤ 40 % | na | E-Waste: > 40 and ≤ 70 % | na | E-Waste: > 70 and ≤ 90 % | na | E-Waste: > 90 % | na
|  |  | C&D waste: > 10 and ≤ 40 % | na | C&D waste: > 40 and ≤ 70 % | na | C&D waste: > 70 and ≤ 90 % | na | C&D waste: > 90 % | na
WR.8 | WR.8.1.1 CMUR: ≤ 1 % OR no data | m | WR.8.2.1 CMUR: > 1 % ≤ 10 % | nm | WR.8.3.1 CMUR: > 10 % ≤ 30 % | nm | WR.8.4.1 CMUR: > 30 % ≤ 70 % | nm | WR.8.5.1 CMUR: > 70 % | nm | N/A
| WR.8.1.2 DR: ≤ 0,1 OR no data | m | WR.8.2.2 DR: > 0,1 ≤ 0,2 | nm | WR.8.3.2 DR: > 0,2 ≤ 0,4 | nm | WR.8.4.2 DR: > 0,4 ≤ 0,7 | nm | WR.8.5.2 DR: > 0,7 ≤ 1,0 | nm
m | fully met
pm | partially met
nm | not met
na | not available

## Prevention and Reuse
| Stage 1 |  | Stage 2 |  | Stage 3 |  | Stage 4 |  | Stage 5 |  | Rationale / Source
Prevention and reuse (PR.1 - PR.6)
PR.1 | PR.1.1.1 Prevention is motivated by poverty | pm | PR.1.2.1 Prevention is motivated by lack of resources | pm |  |  |  |  | PR.1.5.1 Decoupling of GDP and waste generation | nm | PR.1.1.1 + PR.1.2.1 + PR.1.3.1 + PR.1.3.2 + Pr.1.3.3 --> pm: Promote decentralised use of food waste (composting and biogas systems) targeting private sectors, particularly large-scale generators such as the food service industry and hospitality industry. A campaign to encourage voluntary actions and training programmes for skills development can be implemented [1]. The MoE introduced Sub-Decree No. 138 on the Management of Plastic Bags in 2017 requiring supermarkets and shopping malls to charge customers 400 riels (about US$ 0.10) per bag. The goal is to change people’s behaviour; distribution of plastic bags by supermarkets has been reduced by 30% as a result. The MoE has also considered introducing a complete ban on plastic bags, but acknowledges that implementing it would be extremely difficult. A new sub-decree to regulate single-use plastics and foam containers is currently being formulated by the MoE, with the support of the United Nations Development Programme, the World Bank and the National Waste Management taskforce. The new regulation aims to reduce the use of plastic bags, straws and styrofoam containers, to find a sustainable alternative to single-use plastics and to raise people’s awareness on the subject. [4]
[5 empty] | PR.1.3.1 Higher political priority for food waste issues | pm | PR.1.4.1 Formulation of food waste avoidance targets and implementation of measures | nm | PR.1.5.2 Food waste is reduced to a minimum | nm
[5 empty] | PR.1.3.2 Few disposables are banned or permitted exceptionnally | pm | PR.1.4.2 All disposables are banned or permitted exceptionnally | nm | PR.1.5.3 CE reduces negative impacts of materials and products by avoiding resources or waste | nm
[7 empty] | PR.1.4.3 Prohibited destruction of unsold durable goods | nm | PR.1.5.4 Increase of bans for substances and products | nm
[5 empty] | PR.1.3.3 Emerging initiatives to educate the population regarding closing-loops | pm |  |  | PR.1.5.5 CE provides long use of raw materials in the cycle | nm
[7 empty] | PR.1.4.4 Ensured lifetime-extension of buildings before construction | nm | PR.1.5.6 Full deconstruction of buildings is ensured before their realization | nm
[9 empty] | PR.1.5.7 Consumption decisions based on waste prevention | nm
PR.2 | PR.2.1.1 Lack of circular business and usage models | pm | PR.2.2.1 Spare parts of End-of-life (EoL) products are used for repair | pm | PR.2.3.1 Increased use of EoL spare parts | pm |  |  | PR.2.5.1 Permanent provision of spare parts through digitalization | nm | PR.2.1.1 --> m; PR.2.2.1 + PR.2.2.2 + PR.2.3.1 + PR.2.3.2 + PR.2.3.4 --> pm: Cambodia is in a strong position to make significant long-term changes and move closer towards achieving sustainable development through a CE, building on robust economic growth and its increasing, young consumer base. The country developed CE Strategy and Action Plan identifies entry points for critical actions and develops a roadmap to enable the country to shift from a linear to a circular system, primarily by focusing on resource use, energy, and waste management which has 5 strategic objectives - that include EPR, promoting resuse and repair and recycling sectors. The transition to CE requires colloboration between stakeholders from all relevant sectors. Therefore, within this section, things are still under development but moving toward direction of CE.Similar to others cities, reuse and repairs are widely operate, however, the impacts of these activities are not documented. [14]
[5 empty] | PR.2.3.2 Small use of professional repair by small part of the population | pm | PR.2.4.1 High use of professional repair by big part of the population | nm
[5 empty] | PR.2.3.3 Minimum one online spare market exists | pm | PR.2.4.2 Various online spare markets exist | nm | PR.2.5.2 Spare part markets are an integral part of CE | nm
[5 empty] | PR.2.3.4 Product service systems (sharing and leasing) are offered | pm |  |  | PR.2.5.3 Sharing and leasing are an integral part of CE | nm
|  |  | PR.2.2.2 Voluntary take-back systems for certain wastes (e.g. pharmaceuticals, batteries) exist | pm | PR.2.3.5 Introduction of take-back or deposit systems for certain wastes (e.g. beverage packaging) | nm | PR.2.4.3 Deposit obligation to all single-use beverage packaging and change of deposit contribution | nm | PR.2.5.4 Innovative take-back and collection systems enable reuse and high-quality recycling | nm
[7 empty] | PR.2.4.4 Introduction of deposits on material relevant products (e.g. tablets, smartphones) | nm
PR.3 | PR.3.1.1 Companies neglect EoL issues of their products | pm | PR.3.2.1 Pioneer companies are considering EoL issues of their products | pm | PR.3.3.1 Through Eco-design several manufacturers are producing in a more environmental friendly way | nm | PR.3.4.1 Increased use of homogenous easy separable, harmfree and secondary materials; less use of disruptive substances | nm | PR.3.5.1 High use of secondary, recyclable or biobased materials for product manufacture | nm
| PR.3.1.2 Innovative composite materials are causing disposal problems due to the negligence of EoL in the product design phase | pm |  |  |  |  | PR.3.4.2 Recyclability, durability and upgradability is generally considered in product design phase | nm | PR.3.5.2 EoL concepts for innovative products prior to market introduction are elaborated to minimize problems at the EoL phase | nm
| PR.3.1.3 Companies neglect recyclability, material saving and substitution of hazardous substances during product design phase | pm | PR.3.2.2 Some companies consider recyclability, material savings and substitution of hazardous substances in product design phase | pm |  |  |  |  | PR.3.5.3 Product recyclability is one basic condition for product marketing | nm
[7 empty] | PR.3.4.3 Increasing life cycle assessment of products | nm | PR.3.5.4 Almost all companies consider all life cycle phases | nm
[5 empty] | PR.3.3.2 Pioneer companies set voluntarly a minimum use rates for secondary resources in their products | na | PR.3.4.4 Legal minimum use rates for recyclates in plastic products: between ≥ 30 % and < 60 % | nm | PR.3.5.5 Legal minimum use rates or recyclates in plastic products: ≥ 60 % | nm
PR.4 | PR.4.1.1 Neglection of issues for proper waste disposal and waste avoidance in companies | pm | PR.4.2.1 Pioneer companies consider issues as improving their waste disposal and prevent waste | pm | PR.4.3.1 Evaluation of production processes | na | PR.4.4.1 Inreased investigation of resource efficiency potentials | nm | PR.4.5.1 Waste avoidance and closing loops practice in companies | nm
[5 empty] | PR.4.3.2 Substitution of some hazardous materials with non or less hazardous materials | na | PR.4.4.2 Several companies are substituting hazardous with non-hazardous substances | nm | PR.4.5.2 Use of pollutants in CE, if controlled circulation considering thresholds is ensured | nm
PR.5 | PR.5.1.1 WG: ≥ 2 kg/cap + d | nm | PR.5.2.1 WG: ≥ 1,5 < 2 kg/cap + d | nm | PR.5.3.1 WG: ≥ 1 < 1,5 kg/cap + d | na | PR.5.4.1 WG: ≥ 0,5 < 1 kg/cap + d | m | PR.5.5.1 WG: < 0,5 kg/cap + d | nm | PR.5.4.1 --> m: In 2013, the average municipal solid waste in Phnom Penh per day was about 1,550 tonnes, or about 0.91 kg of waste generated per person per day.[10] The MoE estimated that approximately 4.78 million tons of MSW were generated in 2020 with per capita generation at 0.78 kg/day. [11]
PR.6 | PR.6.1.1 ZWI: ≤ 0,05 | m | PR.6.2.1 ZWI: > 0,05 ≤ 0,15 | nm | PR.6.3.1 ZWI: > 0,15 ≤ 0,4 | na | PR.6.4.1 ZWI: > 0,4 ≤ 0,9 | nm | PR.6.5.1 ZWI: ≥ 0,9 | nm | PR.6.1.1 --> m: Cambodia categorized in very low zero waste indicator < 0.05 [15]
m | fully met
pm | partially met
nm | not met
na | not available

## References
No | Title | Reference
1 | PPCA, IGES, Nexus, UN Environment, CCCA. (2018). Phnom Penh Waste Management Strategy and Action Plan 2018-2035. Phnom Penh, Cambodia.
2 | Spoann V. et al.,(2019). Assessment of Public–Private Partnership in Municipal Solid Waste Management in Phnom Penh, Cambodia
3 | UNEP & IGES (2018). State of Waste Management in Phnom Pehn, Cambodia
4 | GIZ (2019). Partnership Ready Cambodia: Waste management
5 | Phnom Penh Post (2021). New permanent landfill site, waste transfer station built. Available online: https://www.phnompenhpost.com/national/new-permanent-landfill-site-waste-transfer-station-built
6 | Khmer Times (2023). 7 tonnes of e-waste collected. Available online: https://www.khmertimeskh.com/501238891/7-tonnes-of-e-waste-collected/
7 | OECD (2019). Marine Plasrics pollution Cambodia
8 | GGGI (2021). KH09 Waste to Energy in Phnom Penh.
9 | COMPED (2023). Composting. Available online: https://www.comped-cam.org/compostingone.php
10 | Chinda T. et al., (2022). Long-term food waste management in Phnom Penh utilizing a system dynamics modeling approach.
11 | Pheakdey DV, Quan NV, Khanh TD, Xuan TD. Challenges and Priorities of Municipal Solid Waste Management in Cambodia. Int J Environ Res Public Health. 2022 Jul 11;19(14):8458. doi: 10.3390/ijerph19148458. PMID: 35886307; PMCID: PMC9322170.
12 | Srun, P., Kurisu, K., (2019). Internal and External influential factors on waste disposal behavior in public open spaces in Phnom Penh, Cambodia.
13 | GGGI (2020) Large-scale Management of unsegregated municipal solid waste in Phnom Penh: A cost comparison of three options
14 | GSSD & NCSD & SIDA & UNDP (2021). Circular Economy Strategy and Action Plan for Kingdom of Cambodia.
15 | Zaman, A., Swapan, M. Performance evaluation and benchmarking of global waste management systems, Resources, Conservation and Recycling, Volume 114, 2016, Pages 32-41, ISSN 0921-3449, https://doi.org/10.1016/j.resconrec.2016.06.020. |  | Publication